## RAYBURN
MP/PUN OWNER | Substation | Station Name | Kv Level | Is station a PUN | Number Loads at unobservable Bus | Number of non telemetered Loads at unobservable Bus | Ercot Suggestions for Meeting Observability
RCEC | ANNA_RC | ANNA RC | 138 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | CLMX_RC | CLIMAX | 138 | NO | 1 | 1 | Require all telemetry on loads at station
RCEC | COMBINRC | ROSE HILL CSW | 138 | NO | 1 | 1 | Require all telemetry on loads at station
RCEC | EVANALRC | EAST VAN ALSTYNE | 138 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | KIOWA_RC | KIOWA | 69 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | QUINL_RC | QUINLAND | 138 | NO | 2 | 1 | Require all telemetry on loads at station
RCEC | RAND_RC | RANDADO | 138 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | SCURY_RC | SCURRY POD | 138 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | SHRWD_RC | SHERWOOD RC | 69 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | TALTY_RC | TALTY | 138 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | WIELD_RC | WIELAND | 138 | NO | 2 | 2 | Require all telemetry on loads at station
RCEC | WMUNS_RC | WEST MUNSON RC | 138 | NO | 2 | 1 | Require all telemetry on loads at station

## ONCOR
MP/PUN OWNER | Substation | Station Name | Kv Level | Is station a PUN | Number Loads at unobservable Bus | Number of non telemetered Loads at unobservable Bus | Ercot Suggestions for Meeting Observability
ONCOR | AIRCO | AIRCO TU | 138 | yes | 1 | 1 | load at AIRCO
ONCOR | BBMN2 | BIG BROWNE MINE 2 | 138 | no | 2 | 1 | Require the loads at BBMN1
ONCOR | BBSES | BIG BROWNE SES | 138 | no | 1 | 1 | need load at BBSES
ONCOR | BLKFT | BLACKFOOT | 138 | no | 1 | 1 | need load at BLKFT
ONCOR | CCPMP | CEDAR CREEK PUMP | 138 | no | 2 | 2 | need loads at CCPMP
ONCOR | EFPNR | ELM FORK PUMP NORTH | 138 | no | 1 | 1 | require one of the loads at EEPMP
ONCOR | GDNVL | GORDONVILLE TU | 69 | no | 1 | 1 | load at GDNVL
ONCOR | GPMEP | GRAPELAND MAGNOLIAEXPLORER PIPELINE | 138 | no | 1 | 1 | need load at gpmep
ONCOR | GPLMG | GRAPELAND MAGNOLIA | 138 | NO | 1 | 1 | need load at gplmg
ONCOR | HNYGR | HONEY GROVE | 69 | no | 2 | 1 | load at HNYGR
ONCOR | LHPMP | LAKE HUBBARD RAW WATER PUMP | 138 | no | 1 | 1 | load at LHPMP
ONCOR | NIPAK | NIPAK | 138 | no | 1 | 1 | load at NIPAK
ONCOR | NUCOR | NUCOR | 138 | yes | 1 | 1 | need load at NUCOR
ONCOR | VTRTX | VETROTEX | 138 | no | 1 | 1 | need load at VTRTX

## AEP
MP/PUN OWNER | Substation | Station Name | Kv Level | Is station a PUN | Number Loads at unobservable Bus | Number of non telemetered Loads at unobservable Bus | Ercot Suggestions for Meeting Observability
AEP | AMBR | BRONTE AMBASSADOR | 69 | NO | 1 | 1 | No load telemetry at the station
AEP | ATLB | ATLANTIC BEST | 69 | NO | 1 | 0 | Mapped telemetry at TEXN is suspect,
AEP | ATTA | ATLANTIC TALPA | 69 | NO | 2 | 1 | telemetry provided for only 1 load, second load has no telmetery
AEP | BOBCATH | BOB CAT HILL | 69 | NO | 1 | 0 | need load at SCRS and SME
AEP | CLIM | CLIMAX BRADSHAW | 69 | NO | 1 | 1 | Mapped load at station is suspect
AEP | AEP | COMSTOCK | 69 | NO | 2 | 1 | only one of the two is calculated
AEP | CRIS | CHRISTOVAL | 69 | NO | 1 | 0 | load at PAW2 has to be provided.
AEP | DELT | DELK TAYLOR COOP | 69 | NO | 1 | 0 | need load at ABONand mapped telemetry is suspect
AEP | DUN2 | DUNE FIELD | 69 | NO | 1 | 0 | need 2nd load at GUCA
AEP | ESPY | ESPY WELLS | 69 | NO | 1 | 0 | need load at VALT
AEP | EXHA | EXXON HAWLEY | 69 | NO | 1 | 0 | need ANSO and ABON
AEP | EXKE | EXXON KEMPER | 69 | NO | 2 | 0 | load at TEXN is suspect,
AEP | EXPE | PERKINS PROTHRO | 69 | NO | 1 | 0 | mapped load is suspect, telemtry at CEDH is suspect,mapped load at SPRH is suspect
AEP | FMCK | FORT MCKAVETT | 69 | NO | 1 | 0 | one of the loads in MIDV has no load mappings
AEP | FTFP | FORT PHANTOM PLANT PUMP | 69 | NO | 1 | 1 | no calculations/telemetry provided
AEP | GOMZ | GOMEZ | 69 | NO | 1 | 1 | require,load at PECV,mapped load at mast
AEP | HAPV | HAPPY VALLEY | 69 | NO | 1 | 1 | mapped telemtry is supect
AEP | HARR | HARROLD | 69 | NO | 1 | 1 | mapped telemtry is supect
AEP | HASR | HASKELL REA | 69 | NO | 1 | 1 | mapped telemtry is supect
AEP | HAMILRGE | HAMILTON RGE | 69 | NO | 1 | 0
AEP | HULD | HULLDALE SWTEC | 69 | NO | 1 | 0 | need load at PAW2,
AEP | MAST | MASTERSON FIELD | 69 | NO | 1 | 0 | mapped telemtry is supect
AEP | MDSC | DISCOVERY CANYON | 69 | NO | 1 | 1 | no calculations/telemetry provided
AEP | MERK | MERKEL | 69 | NO | 1 | 1 | no calculations/telemetry provided
AEP | MIDV | MIDDLE VALLEY | 69 | NO | 2 | 1 | one of the loads in MIDV has no load mappings
AEP | NOVC | NOVICE | 69 | NO | 1 | 0 | ATTA telemetry provided for only 1 load, second load no telmetry,need load at HUMB
AEP | NUGE | NUGENT | 69 | NO | 1 | 0 | no calculations/telemetry provided
AEP | ONYS | ONYX SWITCHING STATION | 69 | NO | 1 | 0 | no calculations/telemetry provided
AEP | PAGE | PAGE FIELD | 69 | NO | 1 | 0 | one of the loads in MIDV has no load mappings
AEP | PEAC | PEACOCK | 69 | NO | 1 | 1
AEP | PECV | PECOS VALLEY | 69 | NO | 1 | 1 | Mapped telemetry is suspect,
AEP | PHBA | PHILLIP BARNHART | 69 | NO | 2 | 1 | no calculations/telemetry provided
AEP | POND | PONDER KENEDY | 69 | NO | 1 | 0 | mapped telemtry is supect
AEP | POWF | POWELL FIELD | 69 | NO | 1 | 1 | no calculations/telemetry provided
AEP | PRAIRPMP | PRAIRIE PUMP | 69 | NO | 1 | 0 | mapped telemtry is supect
AEP | ROBL | ROBERT LEE | 69 | NO | 1 | 0 | mapped telemtry is supect
AEP | SAGC | SAN ANGELO GRAPE CREEK | 69 | NO | 1 | 0 | mapped telemtry is supect
AEP | SHBA | SHELL BAILY SONR | 69 | NO | 1 | 0 | mapped load is suspect
AEP | SHPO | SHELL POWELL | 69 | NO | 1 | 1 | mapped load is suspect
AEP | SILR | SILVER REA | 69 | NO | 1 | 1 | mapped load is suspect
AEP | SILV | SILVER | 69 | NO | 1 | 0 | mapped load at SILR is suspect
AEP | SONO | CITY OF SONORA | 69 | NO | 1 | 0 | mapped load at SHBA is suspect, nned loads at
AEP | SPEN | SPENCE PUMP | 69 | NO | 1 | 0 | need load at EDIT
AEP | SPRH | SPADE RANCH | 69 | NO | 1 | 0 | need load at SPRH
AEP | STEVENS | STEVENS | 69 | NO | 2 | 2 | no telemetry has been provided.
AEP | TEXN | TEXON | 69 | NO | 1 | 0 | mapped load is suspect
AEP | TUSC | TUSCOLA | 69 | NO | 2 | 0 | mapped load is suspect
AEP | VALE | VALERA HUMBLE | 69 | NO | 1 | 0 | need a load cal at GLSB,only one load mapped at ATTA and HUMB
AEP | WAGR | WAGGONER | 69 | NO | 1 | 0 | mapped telmetry at HARR is suspect
AEP | WINT | WINTERS | 69 | NO | 1 | 0
AEP/PUN | DUP1_V | VICTORIA DUPONT 1 V4 | 138 | YES | 2 | 2
AEP/PUN | DUP2_V | VICTORIA DUPONT 2 V4 | 138 | YES | 2 | 2

## CNP
MP/PUN OWNER | Substation | Station Name | Kv Level | Is station a PUN | Number Loads at unobservable Bus | Number of non telemetered Loads at unobservable Bus | Ercot Suggestions for Meeting Observability | MP's Comments
CNP | _EP | ENTERPRISE PRODUCTS | 138 | yes | 2 | 1 | _EP, CNP currently provides telemetry for one of the two loads at the station. To make the station observable, we require the load telemetry/calculation for the 2 loads at station CTY (cities) and the 2 loads at station HAT (Hatcher) | RTU is Down for repair. Waiting on ATT
CNP | _RI | RICHMOND IRRIGATION | 69 | yes | 1 | 1 | _RI, are privately owned stations with only feed from station _RS.This issue needs to be further discussed to arrive at a decision | Forecasted Load Values will be published by CNP
CNP | BOR | BORDEN METALS | 138 | yes | 2 | 2 | BOR, CNP could provide the load telemetry/calculation for the 2 loads at station DOL (DOWLAP) and the two loads at station ETH (Enterprise Oil tanking) | Forecasted Load Values will be published by CNP. CNP model has two loads attached to switch BOR T2HS.
CNP | CIN | COLLIN | 69 | yes | 1 | 1 | _RI, are privately owned stations with only feed from station _RS.This issue needs to be further discussed to arrive at a decision | This load is part of the DOW Private Use Network.
CNP | LZB | LUZBAY | 138 | yes | 1 | 1 | LZB, CNP could provide the load telemetry/calculation for the 3 loads at station LYP (LYNPOL). | Forecasted Load Values will be published by CNP
CNP | MIN | MINING | 69 | yes | 5 | 5 | MIN, CNP could provide the load telemetry/calculation at station AGR | Forecasted Load Values will be published by CNP
CNP | SHR | SHORE ACRES | 138 | yes | 2 | 2 | SHR, CNP could provide the load telemetry for the 1 load at station SEP(Septon) and the 1 load at station PWL(Powell reit) | Forecasted Load Values will be published by CNP