DRAFT

Minutes of the Technical Advisory Committee (TAC) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, June 5, 2008 – 9:30am – 4:00pm

Attendance

Members:

| Aldridge, Ryan | AEP Energy Partners | Alt. Rep. for R. Ross |
| --- | --- | --- |
| Barrow, Les | CPS Energy |  |
| Belk, Brad | LCRA |  |
| Bivens, Danny | OPUC |  |
| Boyd, Phillip | City of Lewisville |  |
| Brewster, Chris | City of Eastland |  |
| Bruce, Mark | FPL Energy |  |
| Comstock, Read | Direct Energy |  |
| Dreyfus, Mark | Austin Energy |  |
| Greer, Clayton | J Aron & Company |  |
| Gurley, Larry | Luminant |  |
| Hendrick, Eric | Stream Energy |  |
| Holloway, Harry | SUEZ | Alt. Rep. for C. Seymour |
| Houston, John | CenterPoint Energy |  |
| Jones, Randy | Calpine |  |
| Lange, Clif | South Texas Electric Coop. | Alt. Rep. for H. Wood |
| Lenox, Hugh | Brazos Electric Power Coop. |  |
| Lovelace, Russell | Shell Energy | Alt. Rep. for J. Brown |
| Robinson, Oscar | Austin White Lime Company |  |
| McCalla, David | GEUS |  |
| McClendon, Shannon | Consumers – Residential |  |
| Moss, Steven | First Choice Power |  |
| Pieniazek, Adrian | NRG Texas |  |
| Saenz, Fernando | Brownsville PUB |  |
| Sims, John L. | Nueces Electric Cooperative |  |
| Smith, Bill | Air Liquide |  |
| Whittle, Brandon | DB Energy Trading |  |
| Zlotnik, Marcie | StarTex Power |  |

The following proxies were assigned:

- Kristy Ashley to Brandon Whittle

- Eric Hendrick to Marcie Zlotnik

- Shannon McClendon to Chris Brewster

- John L. Sims to Clif Lange

Guests:

| Adib, Parviz | APX |  |
| --- | --- | --- |
| Brewer, Todd | Texas Regional Entity |  |
| Claiborn-Pinto, Shawnee |  |  |
| Cochran, Seth | Sempra Trading |  |
| Coleman, Katie | TIEC |  |
| Conagan, Fred | BAC |  |
| Daniels, Howard | CenterPoint Energy |  |
| Dohrwardt, Bray | Direct Energy |  |
| Downey, Marty | TriEagle Energy |  |
| Fox, Kip | AEP |  |
| Frederick, Jennifer | Direct Energy |  |
| Gedrich, Brian | DB |  |
| Goff, Eric | Constellation |  |
| Henry, Mark | Texas Regional Entity |  |
| Jones, Dan | Potomac Economics |  |
| Jones, Don | Reliant |  |
| Jones, Liz | Oncor |  |
| Li, Young | PE |  |
| Madden, Steve | StarTex Power |  |
| McAndrews, Neil | Unaffiliated |  |
| McDonald, Mike | EMMT |  |
| Morris, Sandy | LCRA |  |
| Ögelman, Kenan | CPS Energy |  |
| Oldham, Phillip | TIEC |  |
| Reid, Walter | Wind Coalition |  |
| Rexrode, Caryn | Customized Energy Solutions |  |
| Ryall, Jean | Constellation |  |
| Schubert, Eric | BP |  |
| Shumate, Walt | Shumate and Associates |  |
| Siddiqi, Shams | Crescent Consulting |  |
| Starr, Lee | Bryan Texas Utilities |  |
| Sterzing, Ingmar | LCRA |  |
| Tafreshi, Farzaneh | Texas Regional Entity |  |
| Totten, Jess | PUCT |  |
| Torrent, Gary | OPUC |  |
| Trenary, Michelle | Tenaska Power Services |  |
| Trostle, Kay | Chaparral Steel |  |
| Troutman, Jennifer | Direct Energy |  |
| Twiggs, Thane | Direct Energy |  |
| Wagner, Marguerite | PSEG |  |
| Walker, DeAnn | CenterPoint Energy |  |
| Wittmeyer, Bob | DME |  |
| Zlotnik, Kevin | Shumate and Associates |  |

ERCOT-ISO Staff:

Albracht, Brittney

Billo, Jeff

Boren, Ann

Cote, Daryl

Day, Betty

Gallo, Andrew

Goodman, Dale

Hobbs, Kristi

Mickey, Joel

Ply, Janet

Rajagopal, Raj

Roark, Dottie

Smallwood, Aaron

Sullivan, Jerry

Wattles, Paul

Unless otherwise indicated, all Market Segments were present for a vote.

TAC Chair Mark Dreyfus called the meeting to order at 9:34 a.m., and requested that teleconference attendees employ their mute buttons when not speaking, and refrain from placing the call on hold.

Antitrust Admonition

Mr. Dreyfus directed attention to the Antitrust Admonition, which was displayed.  A copy of the Antitrust Guidelines was available for review.  Mr. Dreyfus reviewed assigned proxies and Alternate Representatives, and welcomed new and returning TAC members Danny Bivens of the Office of Public Utility Counsel, and Read Comstock of Direct Energy.

ERCOT Board of Directors (Board) Update

Mr. Dreyfus reported on the May 2008 Board meeting, noting that Independent Board Member Miguel Espinosa was elected to a third term, and that Alton D. Patton or Texas A&M University will also serve as an Independent Board Member.  Mr. Dreyfus noted Board approval of Protocol Revision Request (PRR) 756, Distributed Renewable Generation Modifications; Nodal Protocol Revision Request (NPRR) 108, Fuel Oil Price (FOP) Clarification; Load Profiling Guide Revision Request (LPGRR) 030, Distributed Renewable Generation Modifications; and the Rothwood Substation Project.

Mr. Dreyfus also reported Bob Kahn’s announcement that due to delays in software delivery, which result in compressed testing timelines, the 168 Hour Test would be delayed, and a fully-functional nodal system would not be available on December 1, 2008.  Mr. Kahn also announced that ERCOT will be receiving corrected tax status, and might be able to regain some sales taxes; and that the Capacity Demand Reserve Report was issued, and that capacity numbers are improving.

Mr. Dreyfus also reported the Board proposed the 2009 budget filing of $223.3 million, anticipating 753 employees, and an ERCOT Administrative Fee of $0.57/MWh; and that follow-up efforts relating to the Emergency Electric Curtailment Program (EECP) event of February 26, 2008 had been summarized for the Board, with the help of Randy Jones and Mark Bruce.  Mr. Dreyfus conveyed the Board’s appreciation for Market Participant and ERCOT staff efforts in reviewing, reporting and communicating information related to the February 2008 EECP; Mr. Dreyfus added that findings have been widely circulated to a very positive response.

Market Participants discussed that Jan Newton requested that ERCOT staff present nodal delay budget impacts at the June 2008 Board meeting; that Chairman Mark Armentrout requested Mr. Dreyfus and Mr. Bruce to work with the Transition Plan Task Force (TPTF) to identify elements that may require modification due to the nodal delay; and that TPTF has been asked to reassess the 30 day timeline for system maintenance in Protocol Section 21.12.5, Reinstatement of Zonal Protocol Provisions and to identify any processes that have cycle time longer than 30 days.

Approval of the Draft May 8, 2008 TAC Meeting Minutes (see Key Documents)

Mr. Dreyfus reported that no comments on the draft May 8, 2008 TAC meeting minutes had been received and asked if members had any changes.  Brittney Albracht noted a correction to Les Barrow’s affiliation in the attendance list.  Mr. R. Jones moved to approve the May 8, 2008 TAC meeting minutes as corrected.  John Houston seconded the motion.  The motion carried unanimously.

Credit Work Group (Credit WG) Update (see Key Documents)

Cheryl Yager noted that the Credit WG reported to the Finance and Audit Committee (F&A) that the Credit WG and Market Participants would like to have more time to review the credit model assumptions, and review model output, before establishing a Market Credit Risk Standard with defined limits.  Ms. Yager also noted that the F&A Committee requested that the Credit WG proceed with development of a Standard focused on monitoring; that a revised timeline for the process has not been defined; that staffing would need to be addressed if the model is to be run more than quarterly; and that historical data would be pulled into the model, in addition to high-level assumptions.

Market Participants discussed that assumptions in the model should be reviewed; and that a reporting number should be developed, as well as a process for when the reporting number is exceeded.  Regarding recent Mass Transition events, Market Participants discussed that the Board should be informed of the significant savings realized by the market due to initiatives of the last several years; and that the stakeholders worked diligently to optimize the Mass Transition process.  Ms. Yager noted that while there will still be losses, the timelines mitigated losses dramatically.

Mr. Bruce congratulated Ms. Yager regarding the dialogue around the development of a Market Credit Risk Standard, and requested that she keep TAC and the subcommittees apprised of developments.

Texas Regional Entity (TRE) Report (see Key Documents)

Larry Grimm provided the TRE monthly summary for April 2008, performance highlights and 2009 budget development schedule.  Mr. R. Jones noted that the Reliability and Operations Subcommittee (ROS) has received two requests for Standards Drafting Teams (SDTs), expressed concern that volunteers may not be available to address requests, and requested assistance from Market Participants in filling SDTs.  Mr. Grimm reviewed the Standards Development process and urged participation.  Mr. Grimm reported that all penalties in the ERCOT region have been zero-assessed, as the TRE had discretion from June 18, 2007 to January 1, 2008.

Mr. Dreyfus thanked Mr. Grimm, and requested that Mr. Grimm maintain his monthly background filings, and quarterly reporting schedule with TAC.

Market Participant Identity Management (MPIM) Requirements Update (Possible Vote)

Mr. Dreyfus announced that Market Participants should have received a Market Notice resolving the issue of MPIM Requirements.  Joel Mickey reported that the ERCOT security group was asked to reconsider whether the requirements for Market Participants as communicated were appropriate; that discussions with other Independent System Operator and North American Electric Reliability Corporation (NERC) staff revealed that the intent was not to extend the requirement to Market Participants; and that a Market Notice was distributed as soon as the intent or the requirement was clarified.

Market Participants discussed that TPTF initially vetted the requirement because the necessary software to implement the security program is not unique to either the zonal or nodal markets; where security issues should be properly vetted; and that the Critical Infrastructure Protection Advisory Group (CIPAG) should be integrated into the stakeholder process.  Mr. Dreyfus referred the CIPAG governance issue to the TAC and Subcommittee Organizational Review (TASOR) Task Force.

Protocol Revisions Subcommittee Report (PRS) (see Key Documents)

Steve Madden reported on the recent activities of PRS, presented PRRs and NPRRs for TAC consideration, and provided notice of the withdrawal of NPRR115, Grey-Boxing of Settlement and Billing Related Information Calculation; and NPRR121, System Parameters Posting Frequency.

PRR757, Emergency Interruptible Load Service Formula Correction

Mr. Houston moved to recommend approval of PRR757 as recommended by PRS.  Mr. R. Jones seconded the motion.  The motion carried with two abstentions from the Independent Power Marketer (IPM) Market Segment.

PRR759, Changes to Notification to Customer of Service Establishment

Mr. Houston moved to recommend approval of PRR759 as recommended by PRS.  Mr. Bruce seconded the motion.  Chris Brewster expressed support for the substance of PRR759, but expressed concern with ERCOT staff’s approach to the cost savings in that they were presented as a positive budget variance, rather than a reduction in the line item.  Dale Goodman clarified that the cost savings is anticipated in future budget years; and that the number of notices drives the cost.  Mr. Dreyfus noted that the $450 thousand is an Operations and Management (O&M) savings; Mr. Bruce added that PRRs that impact the budget are regularly approved, and asked if a message to the Board that the Administrative Fee filing should be amended would be sufficient.  Mr. Brewster preferred to have the recommendation as part of the motion.  Jennifer Troutman noted that similar concerns were expressed at the Retail Market Subcommittee (RMS).

Mr. Houston withdrew his motion; Mr. Bruce accepted the withdrawal.

Mr. Brewster moved that TAC recommend approval of PRR759, and that TAC recommend that the Board direct ERCOT to remove costs related to move-in notifications from the 2009 ERCOT System Administrative Fee filing to be made at the Public Utility Commission of Texas later this year.  William Lewis seconded the motion.  Mr. Houston noted that the Board has oversight of the budget and may elect to spend the savings, and expressed concern that a precedent is being set for a plus-minus evaluation of every PRR.  Brad Belk expressed sympathy for Mr. Brewster’s concern, but opined that this level of budget specificity is out of TAC’s purview.  The motion carried by a show of hands, with eight objections from the Cooperative (4), Investor Owned Utility (IOU) (3), and Municipal Market Segments, and two abstentions from the Independent Generator (IG) and IPM Market Segments.

PRR760, Emergency Interruptible Load Service (EILS) Availability Factor

Mr. Bruce moved to recommend approval of PRR760 as recommended by PRS.  Mr. Houston seconded the motion.  The motion carried with one objection and one abstention, both in the IPM Market Segment.

PRR762, West Zone SCE Performance Conditions - Urgent

Clayton Greer moved to recommend approval PRR762 as recommended by PRS.  Mr. Bruce seconded the motion.  Market Participants discussed concerns regarding precedent and the loosening of Schedule Control Error (SCE) requirements.  Bill Blevins stated that while ERCOT had not performed an analysis, its opinion was that the proposal will not adversely affect ERCOT’s ability to meet Control Performance Standard (CPS) – 1 standards.  The motion carried with seven objections in the Consumer (6) and Municipal Market Segments, and one abstention in the IOU Market Segment.

PRR763, Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs – Urgent

Mr. Greer moved to recommend approval of PRR763 as recommended by PRS.  Mr. R. Jones seconded the motion.   Mr. Bruce expressed concern that a Qualified Scheduling Entity (QSE) representing a Wind-powered Generation Resource (WGR) would be at risk for a Protocol violation in intra-day Replacement Reserve Service (RPRS) markets because current Market Participant automated processes would override updates with the ERCOT provided Wind-powered Generation Resource Production Potential (WGRPP) forecast.  Mr. Bruce suggested that the Day Ahead portion be implemented on July 1, 2008 and that the intra-day RPRS markets related language be grey-boxed until September 1, 2008 which will allow time for QSEs representing WGRs to change their automated processes.  Also, Mr. Bruce suggested revisions to allow ERCOT to produce the WGRPP forecast using meteorological forecasts or models from information provided by WGRs to their QSEs.  Mr. Greer and Mr. R. Jones accepted Mr. Bruce’s language as friendly amendments.  The motion to approve PRR763 as revised by TAC carried unanimously.

PRR764, Zonal Congestion and CSCs/CREs – Urgent

Mr. Dreyfus noted that the PUCT directed at the June 5, 2008 Open Meeting that in the event that TAC recommends approval of PRR764, the Board should hold an emergency meeting the next day.  Mr. Dreyfus also noted that extensive care had been given to process PRR764 according to requirements.  Before presenting PRR764 for TAC consideration, Dan Jones provided an explanation of zonal Congestion issues:

Under the current zonal market model, transmission congestion is resolved through a bifurcated process that consists of either (1) zonal balancing energy deployments, or (2) local, unit-specific deployments.

Because the pricing and incentives for both load and resources are better aligned with zonal congestion management techniques under the zonal market model, it is preferable to manage transmission congestion using zonal balancing energy to the extent practical and efficient.

The recent high prices in the South and Houston zones have been due to the existence of transmission congestion and the inability to effectively and efficiently manage the congestion with zonal balancing energy deployments.  The magnitude of the congestion has also been exacerbated by the existence of some key resource outages.

Near-term efforts are underway to better define which transmission constraints are appropriate for resolution with zonal balancing energy, and which are more effectively and efficiently resolved with local, unit-specific deployments.

In the longer-term, the implementation of the nodal market will eliminate the current bifurcated congestion management process by providing a simultaneous unit-specific solution that always presents the most effective and efficient congestion management alternatives to the system operator.

Mr. D. Jones concluded by saying that prices are not necessarily an indication of problems, but that chronic prices may lead the market to consider that there is a problem, and that current conditions seem to indicate that rules, and the application of the rules, are problematic.

Market Participants discussed particular transmission lines involved in significant Congestion; whether as study of pre/post contingency switching is being conducted; that switching solutions cannot simply be added and removed from ERCOT systems; and that current conditions are an opportunity to discuss constraints and limiting elements; and that consideration should be given to unintended consequences.

Mr. Gurley moved to recommend approval of PRR764 with LCRA comments and as revised by TAC, and deem approved the list of contingencies for managing CSC- and CRE-related Congestion  as the current approved CSC/CRE list, and direct WMS through CMWG to develop a mechanism to determine CREs and approve a list of contingencies for managing CSC- and CRE-related congestion.  Mr. R. Jones seconded the motion.

Market Participants discussed the content and benefits of LCRA comments; implementation timelines; that the effectiveness of any contingency would need to be identified, and that a different list of monitored elements would be necessary; that a customized list for each contingency would require software changes involving the vendor; and that testing is already underway to implement a static list.  Market Participants also discussed whether ERCOT is being directed to temporarily alter what they operate to; that the established list does not change until exclusions are adopted; and that the list may be refined after almost immediate implementation.

Mr. Blevins noted that as new elements are added to the system, the list would grow, and a process to evaluate additions could be introduced; and that, as he understands the language, different tables would not be required.  Market Participants discussed whether changes would be justified given the approaching end of the zonal market.  Mr. Dreyfus stated that it is appropriate for the market to direct changes, and that for market integrity, when ERCOT is conducting an operation based on its interpretation of the Protocols, that ERCOT does not change the operation based on a market condition of its own accord.

Market Participants discussed that current testing is looking at CSCs and CREs as contingencies and limiting elements; how changes to the CSC and CRE lists would be reviewed and approved; that the fixed list of contingencies will not be dependent on outages; that the lists need formal titling, as there are many lists that perform different functions; and that ERCOT uses the full list of contingencies for reliability, and while the fixed lists are used to set zonal transfer limits.

The motion carried with one abstention from the IPM Market Segment.

Mr. Dreyfus requested that Mr. D. Jones and other Market Participants with relevant expertise attend the next day’s Board meeting at ERCOT Austin should Board members have specific questions.

Nodal Protocol Revision Requests (NPRRs)

Mr. Greer moved to approve the following NPRRs:

- NPRR105, Section 23, Synchronization of Zonal Protocols

- NPRR106, Section 24, Synchronization of Zonal Protocols

- NPRR109, Section 18, Synchronization of Zonal Protocols

- NPRR110, Section 20, Synchronization of Zonal Protocols

Adrian Pieniazek seconded the motion.  The motion carried unanimously.

Commercial Operations Subcommittee (COPS) Report (see Key Documents)

Lee Starr provided an update on recent COPS activities.  Mr. Dreyfus noted that Liz Jones has been asked to convene the Distributed Generation Task Force (DGTF) to receive and consider information from the Profiling Working Group (PWG).

Load Profiling Guide Annual Validation Update

Mr. Houston moved to approve the Load Profiling Guide Annual Validation Update as recommended by COPS.  Oscar Robinson seconded the motion.  The motion carried unanimously.

Texas Nodal Implementation (see Key Documents)

TPTF Report

Mr. Mickey reported a concerted effort by ERCOT Client Services to reach out to Market Participants regarding nodal readiness, and reviewed the new report format and requested feedback.  Mr. Mickey and Aaron Smallwood provided an update regarding the Emergency Database Failover, and modifications to the Non-Spinning Reserve Service (NSRS) Price Adjustment Procedure.  Mr. Mickey noted that settlement quality prices would be posted the next day; Market Participants expressed appreciation for the work of ERCOT staff on the issue.

Mr. Smallwood spoke to eight extracts that have not been posted, noting that second efforts to fully recover the data did not work, and that additional updates would be provided.  Marcie Zlotnik requested that Mr. Smallwood return to the July 2008 TAC meeting with estimates of system health in light of nodal delays, where systems will be a year from now, and what Market Participants need to consider in light of aging systems.

ERCOT Report

Revised Nodal Transition Outage Management Plan

Daryl Cote announced that hard dates in the Nodal Transition Outage Management Plan had been removed so that additional updates will not be necessary when a new nodal go-live date is determined, and to prevent Market Participants from being artificially restricted from doing necessary in-field transmission work.

Market Participants discussed that unknowns may become problematic; that a limitation period may not be necessary or desirable, depending on when the nodal market goes live; and that a considerable amount of work has been arranged to accommodate the December 1, 2008 go-live date.  Market Participants also discussed that entities need time to schedule outages, contract vendors, and ready equipment; that the revisions have not been reviewed by the ROS; that restrictions need to be accommodated in order to avoid confounding variables; that the nodal delay obviates the plan; and that the item might be tabled until a new nodal go-live date is announced.

Brandon Whittle moved to rescind approval of the Nodal Transition Outage Management Plan, and refer the issue to TPTF for consideration once a revised nodal implementation date has been determined and to seek input from ROS where appropriate.  Mr. Greer seconded the motion.  The motion carried unanimously.

Texas Nodal Market Go-Live Procedure

Mr. Cote noted that the go-live procedure sets expectations from immediately after the 168 Hour Test through the Nodal Transition Outage Plan.

Mr. R. Jones moved to approve the Texas Nodal Market Go-Live Procedure as presented.  Mr. Greer seconded the motion.  The motion carried with one abstention from the IOU Market Segment.

ERCOT Report – Program Update

Jerry Sullivan provided a Nodal Program update, noting schedule revisions, and advising Market Participants that AREVA will not meet the June 13, 2008 revised delivery date for the Common Information Model (CIM); that the 168 Hour Test will be delayed until an operable CIM is delivered; that there is no current resolution to the Single Entry Model (SEM) Validation issue, but that parties continue to work together to move forward; and that a review of staffing needs will be undertaken in light of nodal delays.

In response to questions from Market Participants, Mr. Sullivan noted that a new nodal schedule will determine monthly costs; that the nodal program remains engaged in other efforts while awaiting delivery of the CIM; and that the CIM will require on-site testing before another schedule is announced, for the sake of confidence.  Raj Chudgar added that the SEM approach document will go to ROS first, then TPTF, and then will be brought to TAC.  Mr. Houston emphasized the importance of the accuracy of the models.  Mr. R. Jones noted that starting the nodal market in the middle of summer would reduce consternation over Reliability Unit Commitment (RUC), and may be the best time to start the nodal market.

Wholesale Market Subcommittee (WMS) (see Key Documents)

Mr. Belk provided an update on recent WMS activities, noting that the High Risk Period as related to Ancillary Services (AS) is when the system is exposed to large ramp rates and wind, and is not related to prices.  Mr. Belk also noted that the significant Congestion events of March were related to Transmission maintenance outages, and caused derating of Commercially Significant Constraints (CSCs), oversale of Transmission Congestion Rights (TCRs) and uplift; and were different from Congestion events of the last few weeks due to new North-to-South constraints.

ROS Report

Mr. R. Jones reviewed recent ROS activities, and reported that the Wind Operations Task Force (WOTF) is working to schedule two wind workshops – one for WGR owners and Transmission owners to share insights and technology information, and the other for training.  Mr. R. Jones applauded John Dumas’ and ERCOT staff efforts to run hourly CSC solutions, and optimize Transmission use.  Mr. R. Jones also reported that a PRR, in addition to an Operating Guide Revision Request (OGRR), might be required to make the Emergency Electric Curtailment Program (EECP) Step 2 public appeal for conservation an option before EECP is reached.

RMS Report (see Key Documents)

Mass Transition Update

Ms. Troutman provided an update on recent RMS activities, highlighting recent successful Mass Transition events, including the first automated Mass Transition, which was 99% complete at Day 3.  Asked how a bankruptcy filing would impact transition timelines, Andrew Gallo noted that ERCOT could be ordered to reverse a transition.  Ms. Troutman thanked ERCOT staff on behalf of the market; Mr. Dreyfus echoed her comments, adding that the successful transitions demonstrated that stakeholders can save the market money.

Retail Operations Project Priority List Fund Reallocation

Ms. Troutman reported that RMS is comfortable with the reallocation, and thanked ERCOT staff for gathering additional information.

TASOR Task Force Report (see Key Documents)

Mr. Bruce reported that TASOR will bring recommendations for consideration at the August 2008 TAC meeting to address standardized voting procedures, voting structures, and the number of standing members on subcommittees; and a recommendation that TAC request that the Board place the Credit WG into the stakeholder process as a working group of WMS.  Mr. Bruce also reported that items such as emergency conditions, seated representatives, and abstentions may be resolved with revisions to the TAC Procedures, rather than changes to the ERCOT Bylaws.

Operations and Planning Reports (see Key Documents)

Unannounced Generation Capacity Testing Status Report

Mr. Blevins presented the Unannounced Generation Capacity Testing status report, and noted that automated testing is just beginning, and that a Reserve Discount Factor (RDF) adjustment for under 85 degrees is expected sometime in Summer 2008.

Other Business

Mr. Gurley announced that the family of David Gill has established a scholarship fund in his memory through the YMCA.  Mr. Gurley requested that those needing more information contact him.

Adjournment

Mr. Dreyfus adjourned the meeting at 3:45 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2008/06/20080605-TAC