Date: 	June 20, 2008

To:	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:	Consideration of Protocol Revision Requests and Nodal Protocol Revision Requests

The Protocol Revision Subcommittee (PRS) met and discussed several revision requests and presents the following Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs) to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR761, Inadvertent Energy Account Revision [ERCOT].  Proposed effective date:  August 1, 2008.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations. This PRR corrects the definition for an Inadvertent Energy Account.  PRR761 was posted on 4/16/08.  On 5/22/08, PRS unanimously voted to recommend approval of PRR761 as submitted.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

NPRRs Recommended for Approval

- NPRR097, Changes to Section 8, Performance Monitoring and Compliance (formerly titled “ Changes to Section 8 to Incorporate Role of TRE, the IMM, and the Concept of Market Compliance”) [TPTF].  Proposed effective date:  upon Texas Nodal Market Implementation.  Estimated cost in the $100,000 to $250,000 range; staffing impacts, if any, will be determined through the normal budgeting process; system impacts to the Energy Management System (EMS), Electronic Data Warehouse (EDW), Management Information System (MIS), and Enterprise Information Project (EIP); NPRR097 will require ERCOT to measure and post QSE and QSE Resources performance to the MIS Certified Area; NPRR097 will improve performance monitoring for various in EMS.     This NPRR incorporates relevant concepts from the TAC-approved Energy Management System (EMS) and Market Management System (MMS) Business Requirements and Conceptual Design Documentation to bring Section 8, Performance Monitoring and Compliance, language addressing Ancillary Service qualification testing and performance monitoring into conformance with the current nodal market Ancillary Service deployment design.  NPRR097 was posted on 1/8/08.  On 2/21/08, PRS unanimously voted to remand NPRR097 to TPTF.  On 3/20/08, PRS unanimously voted to table NPRR097.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR097 as amended by the 040108 ERCOT Comments.  On 5/22/08, PRS unanimously voted to table NPRR097 until the 06/19/08 PRS meeting.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR107, Nodal Emergency Interruptible Load Service (EILS) [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation.  Estimated cost less than $50,000; staffing impacts, if any, will be determined through the normal budgeting process; ERCOT Market Information Distribution (MID), Market Information Repository (MIR) and MIS systems will be modified for implementation of this NPRR; no significant additional high-level impacts to business functions or grid operations and practices are anticipated.  This NPRR documents that, in the Nodal Market, EILS is deployed during an Emergency Electric Curtailment Plan (EECP), after all available Generation Resources and Loads acting as Resources (LaaRs) have been deployed.  NPRR107 was posted on 2/29/08.  On 3/20/08, PRS unanimously voted to refer NPRR107 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR107 as amended by TPTF comments.  On 6/19/08, PRS unanimously voted to endorse and forward the Impact Analysis and the PRS Recommendation Report as amended by ERCOT 061808 comments to TAC for approval.

- NPRR111, Timelines for Response by ERCOT to TSP Requests [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation.  No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.   This NPRR revises the table in item (1) of Section 3.1.5.3, Timelines for Response by ERCOT for TSP Requests to: (1) make the timeline internally consistent and (2) increase the “approval window” for the 45-day timeline.  NPRR111 was posted on 3/4/08.  On 3/20/08, PRS unanimously voted to refer NPRR111 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR111 as submitted.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR112, Emergency Base Point Price Revision [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation.   No incremental cost to ERCOT is anticipated; Staff impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated. This NPRR clarifies the calculation of the Emergency Base Point Price per QSE per Resource by interval variable.  NPRR112 was posted on 3/5/08.  On 3/20/08, PRS voted to recommend approval of NPRR112 as submitted. There were three abstentions from the Consumer (1) and the IPM (2) Market Segments.  On 4/18/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC.  On 5/8/08, the TAC Chair remanded NPRR112 to PRS to review and reconcile inconsistencies between the graphs and the text in the relevant Nodal Protocol language.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR112 as amended by TPTF comments and to forward to TAC for approval.

- NPRR117, Resource Registration Clarification [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation. No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.  This NPRR clarifies the obligations of a Resource Entity to register Resource data with ERCOT and the obligations of a Qualified Scheduling Entity (QSE) to submit Resource Parameters for operational purposes to ERCOT.  This NPRR also deletes a QSE’s obligation to submit Private Use Network design and engineering data and places the obligation on a Generation Entity with a Generation Resource located within a Private Use Network.  NPRR117 was posted on 3/26/08.  On 4/18/08, PRS unanimously voted to refer NPRR117 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR117 as amended by TPTF comments.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR118, Section 14, Synchronization of Zonal Protocols [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation.  No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.  This NPRR synchronizes zonal Protocol Section 14, State of Texas Renewable Energy Credit Trading Program, with the current Nodal Protocols.  NPRR118 was posted on 3/27/08.  On 4/18/08, PRS unanimously voted to refer NPRR118 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR118 as amended by ERCOT comments.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR119, Resource Limit Calculator [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation. No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.  This NPRR changes the Low Dispatch Limit (LDL) calculation to ensure that the LDL and High Dispatch Limit (HDL) limit sent to the Security Constrained Economic Dispatch (SCED) software do not exceed the High Sustained Limit (HSL) under any circumstance.  NPRR119 was posted on 3/27/08.  On 4/18/08, PRS unanimously voted to refer NPRR119 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR119 as submitted. On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR120, Corrections and Clarifications for Real Time Settlements [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation. No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated. This NPRR makes corrections and clarifications to existing formulas for Real-Time Settlement.  NPRR120 was posted on 3/27/08.  On 4/18/08, PRS unanimously voted to refer NPRR120 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR120 as submitted.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR122, Simplify Ancillary Services Settlement Formulas [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation. No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.  This NPRR replaces the Ancillary Service trades and self-supply in the Settlement formulas and replaces them with the self-arranged quantities.  This NPRR also proposes editorial changes to variables and subscripts and adds clarifying language.  NPRR122 was posted on 4/7/08.  On 4/18/08, PRS unanimously voted to refer NPRR122 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR122 as submitted.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR123, Inadvertent Energy Account Revision [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation. No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.  This NPRR corrects the definition for an Inadvertent Energy Account.  NPRR123 was posted on 4/9/08.  On 4/18/08, PRS unanimously voted to refer NPRR123 to TPTF for review.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR123 as submitted.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

- NPRR130, CRR Settlements Revenue Equalization [TPTF].  Proposed effective date:  upon Texas Nodal Market Implementation.  Estimated cost in the $50,000 to $100,000 range; staffing impacts, if any, will be determined through the normal budgeting process; ERCOT CSI, Lodestar, Rome, and Appworx systems will be modified for implementation of this NPRR; no significant additional high-level impacts to business functions or grid operations and practices are anticipated.   This NPRR adds an accounting provision to assure revenue neutrality in the Day Ahead Market financial activity while refunding the proper funds later through the CRR Balancing Account.  NPRR130 was posted on 5/9/08.  On 5/22/08, PRS unanimously voted to recommend approval of NPRR130 as submitted.  On 6/19/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.

Revision Requests Rejected

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending PRRs (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the July 17, 2008 PRS Meeting

- NPRR114, Section 11, Synchronization of Zonal Protocols [ERCOT].  Impact Analysis pending.  This NPRR synchronizes zonal Protocol Section 11, Data Acquisition and Aggregation, with the current Nodal Protocols.  NPRR114 was posted on 3/14/08.  On 4/18/08, PRS unanimously voted to refer NPRR114 to TPTF for review.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR114 as amended by TPTF comments.  Credit review is pending.

- NPRR127, Section 22 Attachments A, I, J & M, Synchronization of Zonal Protocols [ERCOT]. Impact Analysis pending.  This NPRR synchronizes Attachments A, I, J and M of zonal Protocol Section 22 with the current Nodal Protocols.  NPRR127 was posted on 4/23/08.  On 5/22/08, PRS unanimously voted to refer NPRR127 to TPTF for review.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR127 as submitted.  Credit Review is pending.

- NPRR128, Combined Cycle Power Blocks with Multiple Voltage Interconnections [Calpine]. Impact Analysis pending. This NPRR eliminates the unnecessary restriction that requires all Generation Resources in a combined cycle power block to be connected to the bulk electric system at the same voltage level.  This change must be made for similarly-situated combined cycle units to effectively participate in the very important nodal 168-hour test.  Re-done Resource Asset Registration Forms (RARFs) must also be constructed and validated prior to implementing these changes.  NPRR128 was posted on 4/25/08.  On 5/22/08, PRS unanimously voted to refer NPRR128 to TPTF for review.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR128 as submitted.  Credit review is pending.

  - NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].  Impact Analysis pending.  This NPRR allows all QSEs, whether they represent Resources, Loads, or both, to procure Ancillary Services in the Day-Ahead Market.  NPRR131 was posted on 5/15/08.  On 5/22/08, PRS unanimously voted to refer NPRR131 to TPTF for review.  On 6/19/08, PRS voted to recommend approval of NPRR131 as amended by TPTF comments.  There were two abstentions from the Independent Retail Electric Provider (IREP) (1) and Consumer (1) Market Segments.  Credit review is pending.

  - NPRR132, Outage Clarification [ERCOT].  Impact Analysis pending.  This NPRR changes the use of the defined term “Outage” to generic “outage” to clarify that the Protocol language regarding outages in the CIM model includes known normal operating status outages, not Outages as defined in Section 2.1, Definitions.  NPRR132 was posted on 5/16/08.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR132 as submitted.  Credit review is pending.

- NPRR133, Addition of PSSE Format [ERCOT]. Impact Analysis Pending.  This  NPRR adds the requirement to post Annual Planning Models and Congestion Revenue Rights (CRR) Network Models in the Power System Simulator for Engineering (PSS/E)format.  NPRR133 was posted on 5/16/08.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR133 as submitted.  Credit review is pending.

- NPRR134, Section 7 Cleanup [TPTF].  Impact Analysis Pending.  This NPRR adds clarifications to the variables that are used in setting McCamey flowgates and proposes corrections to flowgate formulae and clarifying variables and subscripts.  This NPRR also proposes revisions that streamline the OBLRACT and OPTRACT calculations, but maintain the intent of the original calculations.  NPRR132 was posted on 6/5/08.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR134 as submitted.  Credit review is pending.

Revision Requests Deferred or Tabled

- NPRR091, Scarcity Pricing and Mitigated Offer Cap During the Period Commencing on the Nodal Market Implementation Date and Continuing for a Total of 45 Days [TPTF].  Proposed effective date:  upon Texas Nodal Market Implementation.   Estimated cost in the $50,000 to $100,000 range; temporary staffing impacts to develop functionality; ERCOT Market Management System (MMS) and Market Information System (MIS) will be modified for implementation of NPRR091; no significant additional high-level impacts to business functions or grid operations and practices are anticipated.  This NPRR adds: (1) a provision in Section 3.19, Constraint Competitiveness Tests, to treat transmission constraints as non-competitive constraints during an initial 30 Operating Day period beginning with the Texas Nodal Market Implementation Date; and (2) a new Subsection 4.4.11.2, Scarcity Pricing and Mitigated Offer Cap During Nodal Startup, to require that the System-Wide Offer Cap (SWCAP) be set to the higher of $180 per MWh or 18 mmBtu Heat Rate times the Fuel Index Price (FIP), with a -$50 floor, during an initial 45 Operating Day period beginning with the Texas Nodal Market Implementation Date.  NPRR091 was posted on 12/5/07.  On 12/13/07, PRS unanimously voted to table NPRR091.  On 1/17/08, PRS again voted to table NPRR091 until the 2/21/08 PRS meeting.  The motion passed with one abstention from the Independent Retail Electric Provider (IREP) Market Segment.  On 2/21/08, PRS voted to recommend approval of NPRR091 as revised by PRS.  The motion passed with four opposing votes (Consumers) and three abstentions (Electric Cooperative (Cooperative), Investor Owned Utility (IOU), and Independent Power Marketer (IPM)).  On 3/20/08, PRS unanimously voted to table NPRR091 pending development of the final Impact Analysis.  On 5/22/08, PRS unanimously voted to table NPRR091 until the pending the development of the final Impact Analysis.  The Credit WG has reviewed NPRR091 for credit implications and concluded that this NPRR would effectively reduce price exposure which should have positive credit implications.

- NPRR102, Implementation of PUC SUBST. R. 25.505(f), Publication of Resource and Load Information [TPTF].  Proposed effective date:  upon Texas Nodal Market Implementation.  Impact Analysis is pending.  This NPRR incorporates the disclosure requirements pursuant to paragraph (f) of P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region.  NPRR102 was posted on 2/12/08.  On 2/21/08, PRS unanimously voted to recommend approval of NPRR102 as revised by ERCOT comments.  On 3/20/08, PRS unanimously voted to table NPRR102 pending the development of the final Impact Analysis.  On 5/22/08, PRS unanimously voted to table NPRR102 until the 6/19/08 PRS meeting pending the development of the final Impact Analysis.

- NPRR113, Load Resource Type Indicator for Ancillary Service (AS) Trades and Self-Arranged AS [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation.  Impact Analysis pending.   This NPRR adds an indicator to Self-Arranged Ancillary Services (AS) and AS Trades to reflect if Responsive Reserve Services (RRS) are being provided from a Generation Resource, Controllable Load Resource, or non-controllable Load Resource.  NPRR113 was posted on 3/11/08.  On 3/20/08, PRS unanimously voted to refer NPRR113 to TPTF for review.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR113 as revised by TPTF comments.  On 5/22/08, PRS unanimously voted to table NPRR113 until the 6/19/08 PRS meeting pending the development of the final Impact Analysis.

- PRR754, Resource Settlement Due To Forced Transmission Outage [FPL Energy].  Impact Analysis is pending.  This PRR clarifies that QSEs scheduling Generation Resources will receive Out of Merit Energy (OOME) Down to zero Verbal Dispatch Instructions (VDIs) when a Transmission Facility Forced Outage trips a Generation Resource Off-line. PRR754 was posted on 2/4/08.  On 3/20/08, PRS voted to refer PRR754 to WMS.  There was one abstention from the Consumer Market Segment.  On 5/22/08, PRS unanimously voted to table PRR754 until the 6/19/08 PRS meeting.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

- NPRR124, Resource Node Updated Definitions [ERCOT]. Impact Analysis pending.  This NPRR clarifies the definition of Resource Node and specifies the different Resource Node types that meet the Nodal Protocol requirements.  NPRR124 was posted on 4/10/08.  On 4/18/08, PRS unanimously voted to refer NPRR124 to TPTF for review.  On 6/19/08, PRS unanimously voted to refer NPRR124 to TPTF.  Credit review is pending.

- NPRR126, Section 19, Synchronization of Zonal Protocols [ERCOT]. Impact Analysis pending. This NPRR synchronizes zonal Protocol Section 19 with the current Nodal Protocols.  NPRR126 was posted on 4/14/08.  On 5/22/08, PRS unanimously voted to refer NPRR126 to TPTF for review.  Credit review is pending.

- NPRR129, Section 15, Synchronization of Zonal Protocols [ERCOT].  Impact Analysis pending.  This NPRR synchronizes zonal Protocol Section 15 with the current Nodal Protocols and moves Section specific definitions and acronyms to Nodal Protocol Section 2, Definitions and Acronyms.  NPRR129 was posted on 5/1/08.  On 5/22/08, PRS unanimously voted to refer NPRR129 to TPTF for review.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the July 17, 2008 PRS Meeting

- PRR765, Time of Use Revisions [PWG].  Impact Analysis is pending.  This PRR revises existing Protocol language to comply with the latest PUCT Ruling on approval of Time of Use Schedules (TOUS) and updates to comply with administrative Nodal Protocol language standards.  PRR765 was posted on 6/10/08.  Credit review is pending.