ROS Action Plan Summary:  EECP Step #2 (Feb.26th, 2008)

WOTF (Wind Operations Task Force)

Open Issues

| 1a: Interconnection Process: Better defined voltage support requirements 1b: Interconnection Process: Better defined SCADA control on generation breakers 1c: Interconnection Process: ERCOT/TSP/Generator voltage management practices |  |  |  |
| --- | --- | --- | --- |
| See Protocol 6.5.7.2 Phase 1: Find out what reactive operating capabilities exist. ERCOT staff to query each wind plant. Phase 2: Identify what the capabilities should be from both an operations and planning standpoint. Hold another wind workshop. Phase 3: Modify the Operating Guides or Protocols as needed to include results of Phase 2. |  |  |  |
| Target Date to ROS: | Ph 1: June-July Ph 2: Sept Ph 3: Nov | ROS Completion Date: |  |

| 1d: Interconnection Process: Generation Interconnection Synchronization checklist (how will generation unit’s provide reactive support/voltage control) |  |  |  |
| --- | --- | --- | --- |
| ERCOT staff will propose a voltage control test at wind workshop #2 (late Aug?). Protocol or Guide change proposal to follow. |  |  |  |
| Target Date to ROS: | Sept | ROS Completion Date: |  |

| 2a: Compliance/Performance Measures: 24/7 communication must be available for TSP to reach wind generators |  |  |  |
| --- | --- | --- | --- |
| WOTF provided a document detailing communication criteria to ROS in May. ROS directed the WOTF to further develop and also provide documentation for the criteria for the timing criteria for 24/7 communication between ERCOT and Wind Farms. WOTF will draft a PRR and/or NPRR to implement the compliance issue changes necessary for all generators. Retrofitting is an issue for further discussion. |  |  |  |
| Target Date to ROS: | Draft PRR: Aug (wjr) | ROS Completion Date: |  |

| 3a: Changes to Protocols/Guides: Wind Generation ramp rate limitations |  |  |  |
| --- | --- | --- | --- |
| ERCOT staff will be providing a tabulation from PI data indicating how often this has been a problem. While the QMWG is discussing market issues of implementing a ramp rate limitation, the WOTF needs to review reliability issues of same. |  |  |  |
| Target Date to ROS: |  | ROS Completion Date: |  |

| 3c: Changes to Protocols/Guides: Ancillary Service procurement methodology (Increase RGS,RRS,NSRS during high-risk periods) [assigned to ROS & WMS] |  |  |  |
| --- | --- | --- | --- |
| The WOTF will review recommendations from the WMS for reliability concerns. (Randy, is that correct?) |  |  |  |
| Target Date to ROS: | Begin review after WMS’s action | ROS Completion Date: |  |

| 3e: Changes to Protocols/Guides: Evaluate transmission line and wind power production outage criteria |  |  |  |
| --- | --- | --- | --- |
| The ROS / WOTF should review any WMS / CMWG recommendations on this issue for reliability considerations. |  |  |  |
| Target Date to ROS: | Begin review after CMWG action | ROS Completion Date: |  |

| 3g: Changes to Protocols/Guides: Dynamic line ratings |  |  |  |
| --- | --- | --- | --- |
| The WOTF requests TSP participation to describe current practices. The WOTF believes the implementation of current technology for dynamic line rating on selected lines can possibly / probably reduce the cost of congestion without affecting reliability. The WOTF requests the RPG explore the potential benefits of installing tension devices on selected lines. Also, the WOTF is still exploring practices in other markets. |  |  |  |
| Target Date to ROS: |  | ROS Completion Date: |  |

| 4: Training: wind generator knowledge of plant equipment/controls/best practices |  |  |  |
| --- | --- | --- | --- |
| (a) Wind workshop #3 will cover certain topics. (b) A list of topics for training of wind plant operators is being developed. |  |  |  |
| Target Date to ROS: | List of topics: June; WW#3: Sept.; Training to follow | ROS Completion Date: |  |

Concluded Issues

| PDCWG 1: What can be done to improve STLF performance when previous day load profile and current day load profiles are obviously different? Can a ‘similar day’ profile be substituted for the previous day profile? |  |  |  |
| --- | --- | --- | --- |
| WOTF recommended no further action on STLF to ROS in May. This is addressed by Item 3b below, which ROS in May endorsed the language of a draft PRR. |  |  |  |
| Target Date to ROS: | Complete | ROS Completion Date: | May, 2008 |

| PDCWG 2: All QSEs including wind QSEs MUST be vigilant in updating their Resource Plan and keeping it accurate. |  |  |  |
| --- | --- | --- | --- |
| This is addressed by Item 3b below, which ROS in May endorsed the language of a draft PRR. In addition, the QMWG is addressing the issue of further updating of the Resource Plans after the RPRS is run. |  |  |  |
| Target Date to ROS: | Complete | ROS Completion Date: | May, 2008 |

| 3b: Changes to Protocols/Guides: PRR to mandate use of AWST 80% forecast in wind Resource Plans |  |  |  |
| --- | --- | --- | --- |
| ERCOT ISO presented a draft PRR for “Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs” to ROS in May. ROS endorsed the language. See also Issue # PDCWG1. |  |  |  |
| Target Date to ROS: | Complete | ROS Completion Date: | May, 2008 |

| 3d: Changes to Protocols/Guides: Mid Term and Short Term Load Forecast weather sensitivity |  |  |  |
| --- | --- | --- | --- |
| WOTF recommended no further action on STLF & MTLF to ROS in May. This is addressed by Item 3b above, which ROS in May endorsed the language of a draft PRR. |  |  |  |
| Target Date to ROS: | Complete | ROS Completion Date: | May, 2008 |

| 3f: Changes to Protocols/Guides: Run multiple CSC limit studies |  |  |  |
| --- | --- | --- | --- |
| Increase the frequency of calculating the CSC limits; no Protocol change necessary. This is now complete for all five CSCs. See Market Notice # W-A052808-01 Operations. However, PRR 764 requires further software changes to post the results. Also, ERCOT staff has said the procedure changes would be documented. |  |  |  |
| Target Date to ROS: | Complete | ROS Completion Date: | June 2008 |

OWG (Operations Working Group)

| 3a: Changes to Protocols/Guides: Wind Generation ramp rate limitations [assigned to ROS & WMS] |  |  |  |
| --- | --- | --- | --- |
| Target Date to ROS: |  | ROS Completion Date: |  |

| 3c: Changes to Protocols/Guides: Ancillary Service procurement methodology (Increase RGS,RRS,NSRS during high-risk periods) [assigned to ROS & WMS] |  |  |  |
| --- | --- | --- | --- |
| Target Date to ROS: |  | ROS Completion Date: |  |

| 3h: Changes to Protocols/Guides: Re-examine the EECP Steps (should ERCOT's obligation to issue a public appeal for conservation be optional?) |  |  |  |
| --- | --- | --- | --- |
| OWG reported to ROS in May that an OGRR will be drafted to make the public appeal for conservation in EECP Step 2 optional, instead of required. |  |  |  |
| Target Date to ROS: |  | ROS Completion Date: |  |

PDCWG (Performance Disturbance Compliance Working Group)

| 1e: Interconnection Process: System Inertia (generator governor response) [with inertia data from DWG] |  |  |  |
| --- | --- | --- | --- |
| Target Date to ROS: |  | ROS Completion Date: |  |