## Slide 1: Wind Operations Task Force - overview
Status as of 10 July 2008
WOTF is holding monthly meetings
WOTF has addressed and settled issues #PDCWG1, PDCWG2, 3b, 3d, and 3f with ROS. (#PDCWG2 & #3b = PRR 763.)
Although ERCOT is still working on fully posting #3f results
WOTF is asking ROS’ guidance (vote?) on issue #3g
Wind Workshop #2 is set for Fri Aug 22 (part of #1a, 1b, and 1c)
WOTF has set 2008 target dates for issues # 1a, 1b, 1c, 1d, 2a, 3a, and 3c
WOTF will address issue #3e after CMWG recommendation
Further WOTF action is required on issue # 4

## Slide 2
Wind Operations Task Force – status on #3f, 10 July 2008
Issue 3f: “Run multiple CSC limit studies”
ROS endorsed WOTF recommendation – 12 June 2008
ERCOT has increase the frequency of calculating CSC limits to hourly, with no Protocol change necessary.
All five CSCs completed
First on May 27, last on June 10
ERCOT calculates all CSC limits at least hourly, and posts MW limit at http://mospublic.ercot.com/ercot/jsp/csc_cre.jsp
Posting of outage & overload contingency pairs still “two weeks away”
Compliance with PRR 764 ?
Use of WtoN Dynamic Stability limit ?