## Slide 1: Wind Operations Task Force requesting ROS guidance / possible vote on Issue #3g, 10 July 2008
Issue 3g: “Dynamic Line Ratings: changes to protocols / guides”
Current dynamic line rating practices in West:
  Oncor: Virtually all line have ambient thermal real-time ratings. A tension device for inherently incorporating wind speed, ambient, etc, is being tested on a few lines.
  AEP: A tension device for inherently incorporating wind speed, ambient, etc, is being tested on a few lines.
Protocols & guides allow complete flexibility
Can more be accomplished ? Can the existing network be further utilized to get more wind power to the market and reduce energy costs and fossil fuel emissions ? How can the market participants make recommendations, etc ?
The network wires are owned by the TSPs.
Should WOTF continue on this or is the Regional Planning Group a better forum ?