## Slide 1: TAC June 26th Meeting Update to ROS 0n July 10th
ROS Report to TAC
NOGRR018, Synchronization of OGRR204, Hotline Technology Update
NOGRR019, Synchronization of OGRR206, Black Start Satellite Phones
[Both passed on a unanimous voice vote under a single motion]
ROS Report to TAC included a status report of the work of the WOTF.
WMS Report to TAC
Included a proposal by ERCOT staff to create two additional CREs for the control of voltage stability limits on W-N and N-H CSCs. TAC voted on two motions but failed to “act”, so the ERCOT proposal may be implemented in 7 days.
ERCOT Operations & Planning Reports to TAC
TAC endorsed a proposed transmission project, AEP Presidio Transmission Project, which includes a new auto at Alamito, some line upgrades, and two 2.4 MW NaS battery units at Presidio.