Draft OWG Meeting Notes 06/18/08

9:30 Meeting opened with Antitrust Admonition

- ROS Meeting Notes

  - Public Appeal agreements done away with in Step 2 for voluntary energy conservation.

  - NOGRR018 passed but with a directive (to be detailed in ROS meeting minutes) to change wording to make the language clearer on OPS and new digital technologies.

  - NOGRR019 passed.

  - EECP 2 event on February 26th – 3a wind ramp (moved onto ERCOT and WOTF), 3c Ancillary service methodologies does not need OWG consideration, 3h public appeal for energy conservation and has been addressed.

  - NDSWG is working on the Single Entry Model (SEM) and will work with ERCOT to resolve differences.

- Meeting notes approved from May.

- Thuy Huynh gave the highlights of the May Operations Report.

  - MPs would like to have the CSC limits that are updated through the ICCP link that will go through the MPs systems.

  - 33 minutes on 5/14 – however the 348 MW level of deployed RRS does not remain for 33 minutes for the bad offset.

- Operations Task Force update.

  - Currently no report.  Reviewing the results from the Hurricane Drill.

    - John Jonte gave the Black Start Task Force update for Glenn Hemperley.

  - Black Start training: Continue to proceed as usual and may be in Taylor – Nodal will come first and then will continue the training.

- Brent Torgrimson gave the Texas RE update

  - RSAWs for CIP 2- 9  have published and it is online.

- Colleen Frosch gave the new bulletins from System Operating Report

  - 376: Note under Ancillary Service Requirement – operator will check the posting to see if it correct.

  - Run study to see if unit will cause any congestion during unannounced testing..

  - 374: Frequency will put on constant frequency if AGC is adversely affecting the system.

  - For hotline test: Both the hotlines from Taylor and Austin – and had issues with the lines.  Every other time to test the Taylor line and then the Austin line.  A number a MP can call to test their backup facility.  The MP would like to check the lines due to the fact that backup centers are not manned all the time.  Hotline will be made from both centers every Monday.

- John Jonte gave the Operating Guides Task Force update.

  - Performance metrics is currently coming: NPRR 97.

  - OGRR 208 - Low Voltage Ride Through:

    - Issues discussed and will go through with different options to ROS.

    - Should see how the NERC SAR has proceeded.

  - OGRR 211 – EECP Step 1: Change Generation to Resources in terms of LaaRs.  However this would be addressed in the OGRR for the media appeal issue.

  - NOGRR 20 & 21 – Synchronization and no impact.

- John Jonte and Leo Villanueva addressed the Relay Misoperation Market Notice

  - Whenever there was a relay misoperation – Leo needs to know once a MP realizes it is a relay misoperation – ERCOT must receive information within 5 days of their realization.

  - If primary relays are out and backup relays will take more out than expected – then ERCOT needs to know about it due to the fact that contingencies may need to be redefined.  Five business days for Leo to provide a response to the relay misoperation list.  Generation relay definitions are welcome to be sent to ERCOT and defined in the document.

Meeting is at the Taylor Room TCC1 253 on July 16th, 2008.  Next few meetings will be at the Taylor (through October).