| NPRR Number | 124 | NPRR Title | Resource Node Updated Definition |
| --- | --- | --- | --- |
| Date |  | July 7, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Joel Mickey on behalf of TPTF |  |
| E-mail Address |  | jmickey@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3925 |  |
| Cell Number |  | 512-639-0224 |  |
| Market Segment |  | n/a |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

On July 7, 2008, TPTF endorsed forwarding these comments for NPRR124 to PRS to replace the first sentence of the definition of Resource Node with the sentence “Either a logical construct required to model a Combined-Cycle Configuration or an Electrical Bus defined in the Network Operations Model, at which a Generation Resource’s Settlement Point Price is calculated and used in Settlement.”

The endorsement carried by roll-call vote with 100% in favor and two abstentions from the Municipally Owned Utility (MOU) and Investor Owned Utility (IOU) Market Segments. The Consumer Market Segment was not represented for the vote. Please see the voting spreadsheet for details.

Revised Proposed Protocol Language

Section 2.1	Definitions

Resource Node

.

Either a logical construct required to model a Combined-Cycle Configuration or an Electrical Bus defined in the Network Operations Model, at which a Generation Resource’s Settlement Point Price is calculated and used in Settlement.  For a Generation Resource that is connected to the ERCOT Transmission Grid only by one or more radial transmission lines that all originate at the Generation Resource and terminate in a single substation switchyard, the Resource Node is an Electrical Bus in that substation. For all other Generation Resources, the Resource Node is the Generation Resource's side of the Electrical Bus at which the Generation Resource is connected to the ERCOT Transmission Grid