## Slide 1
WMS Update
Demand Side Working Group
July 16, 2008
Mary Anne Brelinsky
1

## Slide 2: Demand Side Working Group Agenda
2

## Slide 3: 2008 DSWG Goals
3

## Slide 4: Update Interim LaaR RRS Bidding and Credit Issue
At the March WMS Meeting, DSWG and CWG requested that WMS support a stop gap measure to resolve the credit issue created by the current ancillary service procurement methodology and lack of a RRS zero price floor in the Nodal protocols.
WMS requested DSWG to file an NPRR for split bid stack clearing mechanisms, with the DSWG approach as the interim solution.
DSWG has discussed the request at length. When asked for a show of hands for support, the DSWG members unanimously failed to support the split bid stack solution.
DSWG members voiced numerous reasons for not supporting the NPRR, specifically that the NPRR:
  Was discriminatory against LaaRs providing RRS (MCPC for LaaR would always be lower than the Generation MCPC for supplying Responsive Reserve when over 1,150 MWs participate)
  Creates an arbitrage opportunity for generation at the expense of LaaR
  Solution would decrease LaaR participation in the RRS market and in the long term result in higher ancillary costs to the market (clearing price will be set deeper in the generation offer stack)
  Increased cost to support additional MCPC prices (there would be 3 MCPCs for Responsive Reserve Service)
  Creates market power for largest of LaaR providers
Ultimately, DSWG believes there are better market based, long term solutions to resolve this credit issue that do not result in lower levels of Demand Side Participation.
4

## Slide 5: Current Procurement Method Used for LaaR Award
2,300 MW of RRS
=
Single Bid Stack
LaaR1
LaaR2
= LaaR offer
= Gen offer
LaaR3
Prices Stacked from lowest to highest offer.
Today most LaaR offered at zero dollars.
= Self Arranged
Less than 1,150 MWs of LaaRs Offered Below MCPC
2,300 MW of RRS
=
Single Bid Stack
100%
100%
Gen RRS sets MCPC
More than 1,150 MWs of LaaRs Offered Below MCPC
Last MW of LaaR Awarded
Offer price determines
Capacity allocation.
X
$0.00
$$$
$0.00
$$$
5

## Slide 6: DSWG Proposed LaaR RRS Solution
LaaRs Offered Below MCPC are Prorated when Market Oversubscribed:
Solution awards LaaRs offered below the cleared MCPC and allocates LaaR RRS capacity across all awards. Solution removes any incentive to submit negative bids.
2,300 MW of RRS
=
Single Bid Stack
LaaR1
LaaR2
= LaaR offer
= Gen offer
LaaR3
Prices Stacked from lowest to highest offer.
Most LaaR offered at zero dollars.
= Self Arranged
Less than 1,150 MWs of LaaRs Offered Below MCPC
2,300 MW of RRS
=
Single Bid Stack
90%
90%
Gen RRS sets MCPC
More than 1,150 MWs of LaaRs Offered Below MCPC
All LaaR bid below MCPC are awarded capacity.
90%
$0.00
$$$
$0.00
$$$
6

## Slide 7: DSWG Proposed LaaR RRS Solution
Proposed Solutions: Award LaaR capacity offered below the cleared RRS MCPC with an even allocation percentage across awards.
Pros:
  Removes any incentive to submit negative bids and eliminates the need for a zero floor
  Impact on ERCOT and Market Participants’ systems is minor and cost to implement is expected to be minor
  Easy to implement and administer
  Provides market insight on the estimated cost for LaaRs to provide RRS capacity in the market, LaaRs now are incentivized to offer capacity at actual cost rather than $0
  Maintains pricing continuity to help justify capital expenditures and additional investment in Demand Response programs in Texas
  Need for secondary RRS solicitations unlikely
Cons:
  Proration of all LaaR offers are likely and individual Load Resources will be required to closely manage the amount of LaaR armed at any one time to conform to Protocol limits (not perceived at this time to be a significant problem)
DSWG is still investigating system impacts and expects to have draft protocol language for review by WMS after the next DSWG meeting
7

## Slide 8: EECP and LaaR Deployment Update
During the initial minutes of the February 26 EECP event, two separate QSE hotline calls were made by ERCOT operators
  The first call initiated Step 2 of the EECP
  The second hotline call during the event included a VDI to deploy all LaaR RRS
As written in the Operating Guides, under Step 2 of an EECP, in addition to Step 1 procedures, the ERCOT operator shall “deploy all Responsive Reserve, which is supplied from Load acting as a Resource (controlled by high-set under-frequency relays) to remove such Load.”
As a point of clarification for future events, ERCOT staff confirmed that upon entering Step 2 the ERCOT operator will give the QSEs the scripted VDI to deploy the LaaR as dictated by the Operating Guides.
The VDI is used to determine performance of the LaaR and for compliance purposes.
8

## Slide 9: EILS Update
9

## Slide 10: EILS in Nodal
10

## Slide 11: EILS in Nodal Continued
11

## Slide 12: DWG LaaR Study Update
The current ERCOT rule allows for 50% of the ERCOT 2300 MW Responsive Reserve Service (RRS) Obligation, or 1150 MW, of Loads Acting as a Resource (LaaRs) tripped at 59.7 HZ to be substituted for Responsive Spinning Reserve.
The general objective of the engineering study is to analyze the system behavior when both the responsive reserve level and the percentage of LaaR tripping change.
Study was originally expected to be completed in February 2008
  Phase 1 studies the system stability after tripping 1400 MWs LaaR following an STP trip; if 1400 MWs OK, then higher levels of LaaR deployment will be analyzed; if 1400 MWs a problem, then lower levels will be analyzed; expected end of July
  Phase 2 will look at setting up frequency tiers w/ different % LaaR deployments expected end of August
Major delay has been due to tuning the governor models, which is critical to obtaining reliable results.
The governor tuning task can take several weeks, or more, assuming the availability of man-hours is favorable. The reality for this study has been three DWG members working on the governor tuning task during their spare time over the last three months. Resources working on model have been busy working on other studies critical to operations and planning at their own companies.
Substantial progress has been made on the governor tuning task and the remainder of the study should move along relatively quick after the governor models are complete.
http://www.ercot.com/content/meetings/ros/keydocs/2008/0313/12._DWG_LAAR_Study_Scope_3-4-08.doc
12

## Slide 13: Next DSWG Meeting
Next DSWG Meeting currently scheduled for Friday, August 8th
13