## Slide 1: Congestion Management Work Group Update
Presented to WMS July 2008
Marguerite Wagner, PSEG

## Slide 2: June/July Work Summary
Progress Report
Met 6/19, 6/25, 7/11
Discussed
  Closely Related Element Definitions for 2008 and criteria for defining elements as a CRE
  Outage Scheduling & Evaluation Draft Proposal from ERCOT
  CSC development schedule for 2009
Notes:   Cancelled 6/13 due to emergency WMS/TAC meeting on offer caps

## Slide 3: CRE Discussions
Background – TAC Discussions on PRR 764 instructed CMWG to review CREs/Definition
Evaluations from ERCOT and Luminant to show zonal shift factor impact on potential CREs
  Discussions around effectiveness of 3% vs. 5% impact
Status: ERCOT proceeding with NH, NS, and SN, re-evaluating WN

## Slide 4: Outage Evaluation
April WMS Instructed to look at improvements to coordinating TO and wind outages
  Broad proposal from ERCOT to conduct economic evaluation process for outage scheduling
    Different acceptance criteria depending on time ahead of outage that request was submitted and reliability/economic impact
  Proposal is significant departure from existing practice
MPs divided on need and usefulness of changes
Status: ERCOT to coordinate calls with concerned parties

## Slide 5: Nodal Maximum SP Cap & Status of Competitive Constraint Test
SP Cap Proposals
  ERCOT proposed differing caps based on kV level of constraint
  Other proposal: two piece construct where penalties for violating the constraint vary with the degree of violation
  Discussions continue on specifics around proposal and feasibility for implementation
CCT
  ERCOT striving to evaluate existing CSCs

## Slide 6: Status
Status of SP Cap: goal is to have proposal for August or September WMS
Status of CCT: ERCOT to finish initial analysis of existing CSCs under the CCT
Notes: 3.19 (3)

## Slide 7: 2009 CSCs
Comprehensive ERCOT evaluation/presentation including congestion costs for existing CREs
ERCOT presented analysis showing multiple scenarios with 4 zone clustering, one with 5 zones (new zone between W and N) and one with three zones (Houston merging into South zone)
ERCOT continuing to evaluate WN
MP comments due 7/18
Discussion to continue 7/22

## Slide 8: Upcoming Meetings
July 22 - discuss 2009 CSCs; Nodal Shadow Price caps; and N_S 1 MW limit
August 1 - develop 2009 CSCs recommendation for WMS; continue Nodal Shadow Price discussions