PWG Agenda July 23, 2008 Open Item List - Action Item # 2

ERCOT Staff - Double check what is happening when no IDR data exists for an ESIID that just switched to an Advanced Meter.  Monthly data may exist but no IDR data exists.  What happens in settlement?

Summary of Protocol Revisions

Effective:  November 17, 2005

Section 11:

PRR 514-	Twelve Month Window for Non-IDR Scaling

This revision changes the window used in data aggregation for estimating non-IDR meter reads when data for an Operating Day is not present in ERCOT systems from six months to twelve months.

Revised subsection:	11.4.2
[language unboxed due to system implementation]

PRR 544-	Twelve Month Window for Scaling NIDR to IDR ESI IDs

This revision modifies the window for Non-Weather Sensitive Proxy Day selection from six months to twelve months.  This will make the profile scaling methodology for ESI IDs that have changed from non-Interval Data Recorder (NIDR) to IDR meters the same as the methodology used for all other profiled ESI IDs.

Revised subsection:	11.4.3.3
[language unboxed due to system implementation]

Protocol Language

11.4.3.3	Non-Weather Sensitive (NWSIDR) Proxy Day Method

For ESI IDs designated as NWSIDR, ERCOT will use a method for proxy day determination.  This method incorporates the following:

(1)	Use the most recent proxy day for which data is available as the estimate for the target Operating Day.  From historical ESI ID specific interval data, choose the most recent occurrence of the appropriate day of the week (Su, M, T, W, Th, F, Sa) corresponding to the day of the week of the Operating Day (Holidays are treated as Sundays) within the most recent twelve (12) months of the Operating Day; or

(2)	If there is no historic interval data available according to (1) above, the IDR data will be estimated using the default profile assigned to the ESI ID for the Operating Day.  If non-interval consumption data with a meter read within twelve (12) months of the Operating Day is available, and if the ESI ID was profiled with a non-interval meter data type code within ninety (90) days of the Operating Day, the default profile shall be estimated and/or scaled in accordance with Section 11.4.2, Non-Interval Missing Consumption Data Estimation.