Wind Issue – Switchable WGRs:

On October 16, 2007, the ERCOT Board discussed NPRR045, Wind Power Forecasting. It was noted that in the future, Wind-Powered Generation Resources (WGRs) may become switchable to other transmission grids besides ERCOT. Some concerns were expressed that switchable WGRs may pose reliability or settlement issues not currently addressed by ERCOT processes or system logic.

On May 7, 2008, TPTF discussed this Wind Issue and determined that:

- No switchable WGRs currently operate in the ERCOT region, so no reliability or settlement issues need to be addressed at this time.

- When switchable WGRs begin to operate in the ERCOT region, they will be able to make adjustments to the status of units that are available to ERCOT in the Current Operating Plan (COP).

- Selections for WGR status may need to be expanded in COP to indicate where capacity will be available for any given period

- Switchable WGRs may also prorate their capacity available to ERCOT by reflecting corresponding Outages in the Outage Scheduler.

- If the number of switchable WGRs or the frequency of their switching activity indicates the need for a future solution that is more robust than what can be accommodated via the COP or the Outage Scheduler, then ERCOT may need to revisit the RUC capacity credit in Settlements and other potential issues.

- 07/21/08 Should stipulate that switchable WGRs need to be reflected in the RARF information that is requested of WGRs

- Nodal Protocol Section 16.5.4 (2) states that a RE that has a switchable Gen RE must report to ERCOT by April 1st its availability during the Peak period (Jul – Aug)—question as to whether this Protocol is sufficient

- TPTF does not believe that further action is required at this time.