## Sheet1
Contingency # | Element | Contingency | PTDF
Base Case | MURRY_P8_GRAHAMSES1_8_138_Line | Base Case | 3.6
Base Case | PAIP4B_MURRY_P8_138_Line | Base Case | 3.6
1 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham-Parker/ Graham-Benbrook 345-kV double circuit [CSC] | 3.6
1 | PAIP4B_MURRY_P8_138_Line | Graham-Parker/ Graham-Benbrook 345-kV double circuit [CSC] | 3.6
2 | MURRY_P8_GRAHAMSES1_8_138_Line | Tonkawa-Graham 345-kV line | 4.2
2 | PAIP4B_MURRY_P8_138_Line | Tonkawa-Graham 345-kV line | 4.2
3 | MURRY_P8_GRAHAMSES1_8_138_Line | Murray-Graham 138-kV line | 0
3 | PAIP4B_MURRY_P8_138_Line | Murray-Graham 138-kV line | 0
4 | MURRY_P8_GRAHAMSES1_8_138_Line | Long Creek-Graham 345-kV line ckt 2 | 4.2
4 | PAIP4B_MURRY_P8_138_Line | Long Creek-Graham 345-kV line ckt 2 | 4.2
5 | MURRY_P8_GRAHAMSES1_8_138_Line | Willow Creek-Jacksboro 345-kV line | 3.6
5 | PAIP4B_MURRY_P8_138_Line | Willow Creek-Jacksboro 345-kV line | 3.6
6 | MURRY_P8_GRAHAMSES1_8_138_Line | Willow Creek-Parker 345-kV line | 3.6
6 | PAIP4B_MURRY_P8_138_Line | Willow Creek-Parker 345-kV line | 3.6
7 | MURRY_P8_GRAHAMSES1_8_138_Line | Bowman-Jacksboro 345-kV line | 3.6
7 | PAIP4B_MURRY_P8_138_Line | Bowman-Jacksboro 345-kV line | 3.6
8 | MURRY_P8_GRAHAMSES1_8_138_Line | Oklaunion-Fisher Road 345-kV line | 4.3
8 | PAIP4B_MURRY_P8_138_Line | Oklaunion-Fisher Road 345-kV line | 4.3
9 | MURRY_P8_GRAHAMSES1_8_138_Line | Jacksboro-West Denton 345-kV line | 3.6
9 | PAIP4B_MURRY_P8_138_Line | Jacksboro-West Denton 345-kV line | 3.6
10 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham-Jacksboro 345-kV line | 3.6
10 | PAIP4B_MURRY_P8_138_Line | Graham-Jacksboro 345-kV line | 3.6
11 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham-Benbrook 345-kV line | 3.6
11 | PAIP4B_MURRY_P8_138_Line | Graham-Benbrook 345-kV line | 3.6
12 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham-Graham East 138-kV line | 3.5
12 | PAIP4B_MURRY_P8_138_Line | Graham-Graham East 138-kV line | 3.5
13 | MURRY_P8_GRAHAMSES1_8_138_Line | Long Creek-Graham 345-kV line | 4.2
13 | PAIP4B_MURRY_P8_138_Line | Long Creek-Graham 345-kV line | 4.2
14 | MURRY_P8_GRAHAMSES1_8_138_Line | Abilene Mulberry Creek-Long Creek 345-kV line | 4.4
14 | PAIP4B_MURRY_P8_138_Line | Abilene Mulberry Creek-Long Creek 345-kV line | 4.4
15 | MURRY_P8_GRAHAMSES1_8_138_Line | Parker-Benbrook 345-kV line | 3.6
15 | PAIP4B_MURRY_P8_138_Line | Parker-Benbrook 345-kV line | 3.6
16 | MURRY_P8_GRAHAMSES1_8_138_Line | Comanche Switch-Comanche Peak 345-kV line | 4
16 | PAIP4B_MURRY_P8_138_Line | Comanche Switch-Comanche Peak 345-kV line | 4
17 | MURRY_P8_GRAHAMSES1_8_138_Line | Red Creek-Comanche Switch 345-kV line | 4.3
17 | PAIP4B_MURRY_P8_138_Line | Red Creek-Comanche Switch 345-kV line | 4.3
18 | MURRY_P8_GRAHAMSES1_8_138_Line | Lake Arrowhead-Newport 138-kV line | 3.6
18 | PAIP4B_MURRY_P8_138_Line | Lake Arrowhead-Newport 138-kV line | 3.6
19 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham Southwest-Barton 138-kV line | 3.4
19 | PAIP4B_MURRY_P8_138_Line | Graham Southwest-Barton 138-kV line | 3.4
20 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham East-Graham Southwest 138-kV line | 3.5
20 | PAIP4B_MURRY_P8_138_Line | Graham East-Graham Southwest 138-kV line | 3.5
21 | MURRY_P8_GRAHAMSES1_8_138_Line | Barton-Oran 138-kV line | 3.3
21 | PAIP4B_MURRY_P8_138_Line | Barton-Oran 138-kV line | 3.3
22 | MURRY_P8_GRAHAMSES1_8_138_Line | Leon-Flat Creek 138-kV line | 3.5
22 | PAIP4B_MURRY_P8_138_Line | Leon-Flat Creek 138-kV line | 3.5
23 | MURRY_P8_GRAHAMSES1_8_138_Line | Lingleville-Stephenville 138-kV line | 3.5
23 | PAIP4B_MURRY_P8_138_Line | Lingleville-Stephenville 138-kV line | 3.5
24 | MURRY_P8_GRAHAMSES1_8_138_Line | Flat Creek-Lingleville 138-kV line | 3.5
24 | PAIP4B_MURRY_P8_138_Line | Flat Creek-Lingleville 138-kV line | 3.5
25 | MURRY_P8_GRAHAMSES1_8_138_Line | Paint Creek-Murray 138-kV line | 0
25 | PAIP4B_MURRY_P8_138_Line | Paint Creek-Murray 138-kV line | 0
26 | MURRY_P8_GRAHAMSES1_8_138_Line | Bluff Creek-Abilene Mulberry Creek 345-kV line | 3.7
26 | PAIP4B_MURRY_P8_138_Line | Bluff Creek-Abilene Mulberry Creek 345-kV line | 3.7
27 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham-Long Creek 345-kV double circuit | 6.3
27 | PAIP4B_MURRY_P8_138_Line | Graham-Long Creek 345-kV double circuit | 6.3
28 | MURRY_P8_GRAHAMSES1_8_138_Line | Long Creek-Abilene Mulberry Creek 345-kV double circuit | 5.6
28 | PAIP4B_MURRY_P8_138_Line | Long Creek-Abilene Mulberry Creek 345-kV double circuit | 5.6
29 | MURRY_P8_GRAHAMSES1_8_138_Line | Mulberry Creek-Bittercreek 345-kV double circuit | 3.9
29 | PAIP4B_MURRY_P8_138_Line | Mulberry Creek-Bittercreek 345-kV double circuit | 3.9
30 | MURRY_P8_GRAHAMSES1_8_138_Line | Sweetwater-Morgan Creek/ Sweetwater-Long Creek 345-kV double circuit | 3.8
30 | PAIP4B_MURRY_P8_138_Line | Sweetwater-Morgan Creek/ Sweetwater-Long Creek 345-kV double circuit | 3.8
31 | MURRY_P8_GRAHAMSES1_8_138_Line | Sweetwater-Bittercreek 345-kV double circuit | 3.9
31 | PAIP4B_MURRY_P8_138_Line | Sweetwater-Bittercreek 345-kV double circuit | 3.9
32 | MURRY_P8_GRAHAMSES1_8_138_Line | Oklaunion-Fisher Road-Bowman 345-kV line | 4.3
32 | PAIP4B_MURRY_P8_138_Line | Oklaunion-Fisher Road-Bowman 345-kV line | 4.3
33 | MURRY_P8_GRAHAMSES1_8_138_Line | Graham-Benbrook/ Parker-Benbrook 345-kV double circuit | 3.6
33 | PAIP4B_MURRY_P8_138_Line | Graham-Benbrook/ Parker-Benbrook 345-kV double circuit | 3.6
34 | MURRY_P8_GRAHAMSES1_8_138_Line | Comanche Switch-Comanche Peak 345-kV / 138-kV double circuit | 4
34 | PAIP4B_MURRY_P8_138_Line | Comanche Switch-Comanche Peak 345-kV / 138-kV double circuit | 4