| PRR Number | 766 | PRR Title | Interim Solution for 15-Minute Settlement of Advanced Meters |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Date of Decision |  | July 17, 2008 |  |  |
| Protocol Sections Requiring Revision |  | 9.2.6, True-Up Statement 10.3.3.1, Data Responsibilities 10.3.3.3, Method for Interfacing with MDAS 10.12.3, ERCOT Distribution of Settlement Meter Data 11.2.2, Data provision and verification of Non EPS Metered Points 18.2, Methodology 18.6.7, IDR Optional Removal Threshold 18.7.2, Load Profiling of ESI IDs Under Direct Load Control 19.7, Advanced Meter Interval Data Format and Submission (new) |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | PR80027_01: Advanced Metering – Market changes for PUCT Project 34610. Priority 1 – Rank 2 |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) will support the interim settlement of all provisioned Advanced Meters using actual fifteen minute data, the same way Interval Data Recorder (IDR) meters are settled today, until the long-term solution developed by Project 34610, Implementation Project Relating to Advanced Metering, or future rulemakings is implemented. |  |  |
| Overall Market Benefit |  | Allows retail Customers to more effectively respond to price signals by supporting innovating retail product offerings, such as demand response, dynamic pricing, and time of use pricing and accelerates the timeline for the market to take advantage of the benefits of Advanced Metering Systems (AMS). |  |  |
| Consumer Impact |  | Allows Customers to take advantage of new product offerings that may be offered by Competitive Retailers (CRs) and gives Customers visibility into their electrical usage patterns. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 6/20/08, PRR766 was posted. - On 7/03/08, ERCOT comments were posted. - On 7/08/08, COPS comments were posted. - On 7/09/08, RMS comments were posted. - On 7/11/08, PRS granted Urgent status to PRR766 via e-mail vote. - On 7/16/08, an Impact Analysis was posted. - On 7/17/08, PRS considered PRR766. |  |  |
| PRS Decision |  | On 7/17/08, PRS unanimously voted to recommend approval of PRR766 as amended by RMS comments and endorsed the Impact Analysis as revised by PRS. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 7/17/08, PRS made edits to the Impact Analysis to be consistent with the language proposed by PRR766. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Settling Advanced Meters on a fifteen minute basis allows Retail Electric Providers (REP) to design innovative products |  |
|  | 2 | Advanced Meter settlement plans will be approved and deployment will begin in 2009 |  |
|  | 3 | Improved ability for market price signals to mitigate reliability events |  |
|  | 4 | All Advanced Meters must be settled using 15-minute data |  |
|  | 5 | This will not change how Non-Opt In Entities (NOIEs) submit interval data to ERCOT. |  |
|  | 6 | Deployment of Advanced Meters will be gradual and laid out in approved deployment plans, however less than one million meters are expected by the summer of 2009. |  |
|  | 7 | No Texas Standard Electronic Transaction (TX SET) changes will be required by this PRR. |  |
|  | 8 | Provisioned Advanced Meters will be assigned a weather sensitive IDR Load Profile. |  |
|  | 9 | Customers that enroll in retail products or purchase home area network (HAN) devices can more effectively manage their energy use, and should receive individually quantifiable benefits. |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Market Participant’s using SCR 727, ESI ID Service and History Usage Extracts, extracts for IDR data must use web services to retrieve interval level data in the future. | $XX each for less than 20% of CRs |
|  | 2 | Optional product development. |  |
|  | 3 | Optional hedging and forecasting changes |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Settlement accuracy |  |
|  | 2 | End use Customers able to realize operating efficiencies |  |
|  | 3 | Increase portion of market that can respond to price signals |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Increase portion of market that can respond to price signals |  |
|  | 2 | Having an interim solution helps facilitate earlier development of demand response programs and other new time-based products. |  |
|  | 3 | Increase portion of market that can respond to price signals |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 070308 | Proposed language changes. |
| COPS 070808 | Endorsed PRR766 as amended by ERCOT comments and as revised by COPS. |
| RMS 070908 | Endorsed PRR766 as amended by COPS comments and recommended that PRR766 be granted Urgent Status. |

| Original Sponsor |  |
| --- | --- |
| Name | Blake Gross |
| Company | AEP Texas |
| Market Segment | IOU |

Proposed Protocol Language Revision

9.2.6	True-Up Statement

ERCOT will use all available settlement data, as described in Section 9.2, Settlement Statements, to produce the True-Up Statement for each Statement Recipient for each given Operating Day.

True-Up Statements will be issued six (6) months following the Operating Day providing at least that ERCOT has received and validated at least ninety-nine percent (99%) of the total number of ESI IDs with a BUSIDRRQ profile type code and that ERCOT has received and validated at least ninety percent (90%) of the IDR data from each Meter Reading Entity (MRE) representing at least twenty (20) IDR ESI IDs.  If the above conditions have not been met, True-Up Statements will be issued as soon as the IDR data becomes available.  If no True-Up Statement has been issued twelve (12) months after the Operating Day, a True-Up Statement will be issued.  In the event that any True-Up settlement date does not fall on a Business Day, then the True-Up Statement will be issued on the following Business Day.

A True-Up Statement will reflect differences to financial records generated on the previous Statement for the given Operating Day.

10.3.3.1	Data Responsibilities

TDSPs shall be responsible for the following:

(1)	Providing consumption data for each ESI ID and RID on at least a monthly basis according to the data timeliness and accuracy standards defined in this Section and in the SMOG;

(2)	Providing start date, stop date, ESI ID or RID, and consumption data in kWh as well as an identifier for “estimated” reads as applicable;

(3)	Submitting a single demand value for each non-IDR ESI ID that has a demand register to ERCOT if, and only if, a demand value is required for TDSP tariffs or for CR customer billing.  If the CR and TDSP do not require a demand value, then the TDSP shall not submit a demand value to ERCOT even if the meter has a demand register;

(4)	Validation, Editing, and Estimation of meter data (VEE) according to the standards in this Section before submitting data to the settlement process;

(5)	Calculating consumption for any unmetered services by ESI ID and submitting such data monthly to ERCOT, subject to ERCOT audit.  These calculations must be made pursuant to TDSP approved tariffs; and

(6)	Metering all Loads, unless the Load meets the following criteria:

(a)	Energy consumption by substation Facilities and equipment for the purpose of transporting electricity (e.g., substation transformers, fans, etc.).

(b)	Unmetered energy consumption represented by an ERCOT-approved Load Profile.

10.3.3.3	Submission of Settlement Quality Meter Data to ERCOT

(1) 	Settlement Quality Meter Data shall be submitted to ERCOT on a periodic cycle, but no later than monthly:

(a) 	For provisioned Advanced Meters, Settlement Quality Meter Data will be submitted using an ERCOT specified file format for the interval data only, which will be used for settlement.

In addition, the monthly non-interval or total consumption values for these ESI IDs shall be provided to ERCOT and Load Serving Entities (LSEs) using the appropriate Texas Standard Electronic Transactions (TX SET) in order to effectuate the registration transactions outlined in Section 15, Customer Registration.  These non-interval or total consumption values will not be used for settlement.

(b) 	For all other meters, Settlement Quality Meter Data will be submitted using the appropriate TX SET transaction.

(2) 	Each TDSP shall ensure that consumption meter data submitted to ERCOT is in intervals of:

(a)	15-minutes for those ESI IDs and RIDs served by IDRs; and

(b)	Monthly or on an ERCOT-approved meter reading cycle for non-IDR meters.

(3) 	The Settlement Quality Meter Data submitted by TDSPs must be in kWh and kVarh values (as applicable).

10.12.3	ERCOT Distribution of Settlement Quality Meter Data

ERCOT shall distribute Settlement Quality Meter Data to Market Participants via:

(1)	MIS (Market Information System) Pass-Through – When a TDSP submits meter consumption data to ERCOT via a Texas Standard Electronic Transaction (TX SET), information pertaining to specific Market Participants shall be removed and automatically forwarded on to that specific Market Participant (i.e., a Competitive Retailer (CR) will automatically receive the meter consumption data and other information for the ESI IDs that the CR represented during the meter data timeframe).

(2)	Whenever a TDSP submits meter data to ERCOT via an ERCOT specified file format for Advanced Meters, upon certified request by a Market Participant, ERCOT shall make that data available to the Market Participant in a secure manner.

(3)	On Request – A Market Participant may submit an electronic request via the MIS for specific meter consumption data.  ERCOT will receive and validate the request and, if appropriate, automatically forward the appropriate information to the Market Participant.

11.2.2	Data provision and verification of Non EPS Metered Points

The TDSP will provide data for TDSP Metered Entities as defined in Section 10, Metering, of these Protocols.

The TDSP will provide data in accordance with the TDSP meter data responsibilities detailed in Section 10, Metering, and will conform to data formats specified in Section 19, Texas Standard Electronic Transaction.

ERCOT will:

(1)	Provide the TDSP a notification of successful/unsuccessful data transfer for the meter data submitted.  At the ESI ID level, the TDSP will be notified of successful and unsuccessful validations;

(2)	Validate that the correct TDSP is submitting meter consumption data on an individual ESI ID basis.  At the ESI ID level, the TDSP will be notified of unsuccessful validations;

(3)	Provide a report to the TDSP listing each ESI ID for which ERCOT has not received consumption data for thirty-eight (38) days; and

(4)	Synchronize the MDAS data with the Customer registration system on a daily basis to ensure the appropriate relationship between the ESI ID, LSE and/or Power Generation Entity, and the meter.  MDAS will provide versioning to ensure ESI ID characteristic changes are time stamped.

18.2	Methodology

ERCOT has developed Load Profiles for both non-interval metered loads and Non-Metered Loads.  A Load Profiling Methodology is the fundamental basis on which Load Profiles are created.  The implementation of a Load Profiling Methodology may require statistical Sampling, engineering methods, econometric modeling, or other approaches.

The following Load Profiling methods will be used:

| Type of Load | Load Profiling Methodology |
| --- | --- |
| non-interval metered | adjusted static models |
| non-interval metered with Distributed Renewable Generation | adjusted static models and engineering estimates |
| non-metered | engineering estimates |

Load Profiles will also be developed for Interval Data Recorders (IDRs) and Advanced Mmters for use in settlements when actual 15-minute data is not available.  All Load Profiles shall conform to the ERCOT-defined Settlement Interval length.

Adoption of a new methodology requires approval of TAC, without the necessity of complying with the procedures in Section 21, Process for Protocols Revision.  TAC shall establish the implementation date for approved changes, as TAC deems appropriate, recognizing the magnitude of the impacts on Market Participants.

18.6.7	IDR Optional Removal Threshold

The CR, upon a Customer’s request or with a Customer’s authorization, may request, in accordance with PUCT rules and regulations, removal of an IDR at the Customer’s Premise unless service to the Premise is provided at transmission voltage (above 60 kV).   However, once the Customer’s demand at the Premise either meets or exceeds the IDR Mandatory Installation Threshold identified in Section 18.6.1(1), the IDR will no longer qualify for removal.

The IDR Optional Removal Threshold for a Premise is established as follows:

(1)	for an existing Customer with a profile type code of BUSIDRRQ, where the Load at the Premise has not exceeded the IDR Optional Removal Threshold of one hundred and fifty (150) kW (kVA) during the most recent twelve (12) consecutive months unless the existing Customer requested or authorized installation of an IDR pursuant to Section 18.6.1(2) in which case the existing Customer may not request removal of the IDR for a period of twelve (12) consecutive months following such installation; or

(2)	for a new Customer move-in, where the request is communicated to the CR within one hundred and twenty (120) consecutive days of the move-in provided the new Customer’s Demand at the Premise has remained below the IDR Mandatory Installation Threshold between the move-in date and the date the request is received, and that meter readings covering at least forty five (45) consecutive days of usage at the Premise have been registered for the new Customer.

Once an IDR has been removed at a Premise by request, an IDR may not be reinstalled at that Premise for a period of twelve (12) consecutive months following such removal, unless a change in Customer(s) has taken place at that Premise during the twelve (12) month period or unless the IDR Mandatory Installation Threshold pursuant to Section 18.6.1(1) has been met.  Removal or re-installation of an IDR is subject to applicable tariff charges.

19.7	Advanced Meter Interval Data Format and Submission

TDSPs will provide 15-minute interval data to ERCOT from provisioned Advanced Meters using an ERCOT specified file format submitted via North American Energy Standards Board (NAESB) on at least a monthly basis.