## ERCOT rec to TAC 20080801
2008 Closely Related Elements
CSC_1: West to North & North to West
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
1048 | TONKAWAWI_5 | 1430 | GRAHAMSES1_5 | CSC_1 | New | Improved Operational control.
1371 | MURRY_P8 | 1431 | GRAHAMSES1_8 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
1420 | SWEETWTR_5 | 1430 | GRAHAMSES1_5 | CSC_1 | Existing | Improved Operational control.
1421 | WILLOWCK_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1421 | WILLOWCK_5 | 1436 | PARKER_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1422 | BOWMAN_5 | 1425 | FISHRDSS1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1422 | BOWMAN_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1425 | FISHRDSS1_5 | 6100 | OKLA7A | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1429 | JACKSBRO_5 | 988 | W_DENT_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1430 | GRAHAMSES1_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1431 | GRAHAMSES1_8 | 1601 | GRAHAME_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1435 | LONGCREK_5 | 1430 | GRAHAMSES1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1435 | LONGCREK_5 | 6230 | ABMULCE7 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
1436 | PARKER_5 | 1869 | BENBRK_A_T5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1440 | COMCHESS1_5 | 1900 | COMCHPKW_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1440 | COMCHESS1_5 | 6444 | SARC7A | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1468 | LKAROWHD_8 | 1470 | NEWPRT_P8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1596 | GRAHAMSW_8 | 1599 | BARTON_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1596 | GRAHAMSW_8 | 1601 | GRAHAME_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1599 | BARTON_8 | 1571 | ORAN1_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1624 | LEONSW_8 | 1642 | FLATCRK_T8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1640 | LINGLVLL_P8 | 1641 | STPHNVIL_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1642 | FLATCRK_T8 | 1640 | LINGLVLL_P8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
6169 | PAIP4B | 1371 | MURRY_P8 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
6230 | ABMULCE7 | 60040 | BLF_CRK7A | CSC_1 | New | Improved Operational control.
For CSC West to North
the sum of flows for these six lines
LONG CREEK SWITCHING STATION – GRAHAM SES (345KV double circuit)
TONKAWA SWITCH – GRAHAM SES (345KV)
BOWMAN SWITCH – GRAHAM SES (345KV)
BOWMAN SWITCH – JACKSBORO SWITCHING (345KV)
SAN ANGELO CREEK – COMANCHE SWITCH TU (345KV)
CSC_2: South to North & North to South
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
1655 | BRNWDSW_8 | 7070 | L_GOLDTH8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
3405 | THOUSE__5 | 3409 | LAKE_CRK1_5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3409 | LAKE_CRK1_5 | 3414 | TEMP_SS__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3410 | LAKE_CRK1_8 | 3420 | TEMP_PEC__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3410 | LAKE_CRK1_8 | 3420 | TEMP_PEC__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3412 | TEMP_PEC__5 | 3405 | THOUSE__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3412 | TEMP_PEC__5 | 3414 | TEMP_SS__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3415 | TEMP_SS__8 | 3675 | ROGERS1A_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3420 | TEMP_PEC__8 | 3415 | TEMP_SS__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3430 | SANDOW1_8 | 3650 | ELGIN_SS__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3430 | SANDOW1_8 | 3661 | SALTY_P_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
7040 | L_AUSTRO5_1Y | 3429 | SANDOW__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
7040 | L_AUSTRO5_1Y | 7045 | L_ZORN__5_2Y | CSC_2 | New | Improved Operational control.
7040 | L_AUSTRO5_1Y | 7048 | L_GARFIE5_1Y | CSC_2 | New | Improved Operational control.
7040 | L_AUSTRO5_1Y | 13429 | SAND_TXU_5 | CSC_2 | New | Passed Protocols Section 7.2.3 criteria.
7068 | L_EVANT_8_1Y | 7066 | L_ADAMSV8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
7070 | L_GOLDTH8_1Y | 7068 | L_EVANT_8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
13430 | SAND_TXU_8 | 3675 | ROGERS1A_8 | CSC_2 | New | Passed Protocols Section 7.2.3 criteria.
CSC_4: North to Houston
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
3391 | JEWETT_N5 | 46500 | TOMBAL__345B | CSC_4 | Existing | Passed Protocols Section 7.2.3 criteria.
7272 | L_WALLER8_1Y | 7668 | L_PRAIVI8_1Y | CSC_4 | Existing | Improved Operational control.
40600 | ROANS___345C | 45972 | KUYDAL755010 | CSC_4 | Existing | Improved Operational control.
40900 | KING____345A | 45971 | KUYDAL745005 | CSC_4 | Existing | Improved Operational control.
40900 | KING____345A | 45972 | KUYDAL755010 | CSC_4 | Existing | Improved Operational control.
45971 | KUYDAL745005 | 46500 | TOMBAL__345B | CSC_4 | Existing | Improved Operational control.
the sum of flows for these four lines
Jewett to TH Wharton
Jewett to Tomball
Gibbons Creek to O’Brien
Roans Prairie to Kuykendahl
Notes: | Elements in red font are being deleted from the list of 2008 CREs.
| Boundary Generators |  | Zone
| STP |  | Houston
| Colorado Bend |  | Houston

## ERCOT rec to TAC 20080626
2008 Closely Related Elements
CSC_1: West to North & North to West
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
1048 | TONKAWAWI_5 | 1430 | GRAHAMSES1_5 | CSC_1 | New | Improved Operational control.
1371 | MURRY_P8 | 1431 | GRAHAMSES1_8 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
1420 | SWEETWTR_5 | 1430 | GRAHAMSES1_5 | CSC_1 | Existing | Improved Operational control.
1421 | WILLOWCK_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1421 | WILLOWCK_5 | 1436 | PARKER_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1422 | BOWMAN_5 | 1425 | FISHRDSS1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1422 | BOWMAN_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1425 | FISHRDSS1_5 | 6100 | OKLA7A | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1429 | JACKSBRO_5 | 988 | W_DENT_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1430 | GRAHAMSES1_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1431 | GRAHAMSES1_8 | 1601 | GRAHAME_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1435 | LONGCREK_5 | 1430 | GRAHAMSES1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1435 | LONGCREK_5 | 6230 | ABMULCE7 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
1436 | PARKER_5 | 1869 | BENBRK_A_T5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1440 | COMCHESS1_5 | 1900 | COMCHPKW_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1440 | COMCHESS1_5 | 6444 | SARC7A | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1468 | LKAROWHD_8 | 1470 | NEWPRT_P8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1596 | GRAHAMSW_8 | 1599 | BARTON_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1596 | GRAHAMSW_8 | 1601 | GRAHAME_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1599 | BARTON_8 | 1571 | ORAN1_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1624 | LEONSW_8 | 1642 | FLATCRK_T8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1640 | LINGLVLL_P8 | 1641 | STPHNVIL_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1642 | FLATCRK_T8 | 1640 | LINGLVLL_P8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
6169 | PAIP4B | 1371 | MURRY_P8 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
6230 | ABMULCE7 | 60040 | BLF_CRK7A | CSC_1 | New | Improved Operational control.
For CSC West to North
the sum of flows for these six lines
LONG CREEK SWITCHING STATION – GRAHAM SES (345KV double circuit)
TONKAWA SWITCH – GRAHAM SES (345KV)
BOWMAN SWITCH – GRAHAM SES (345KV)
BOWMAN SWITCH – JACKSBORO SWITCHING (345KV)
SAN ANGELO CREEK – COMANCHE SWITCH TU (345KV)
CSC_2: South to North & North to South
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
1655 | BRNWDSW_8 | 7070 | L_GOLDTH8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
3405 | THOUSE__5 | 3409 | LAKE_CRK1_5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3409 | LAKE_CRK1_5 | 3414 | TEMP_SS__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3410 | LAKE_CRK1_8 | 3420 | TEMP_PEC__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3410 | LAKE_CRK1_8 | 3420 | TEMP_PEC__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3412 | TEMP_PEC__5 | 3405 | THOUSE__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3412 | TEMP_PEC__5 | 3414 | TEMP_SS__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3415 | TEMP_SS__8 | 3675 | ROGERS1A_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3420 | TEMP_PEC__8 | 3415 | TEMP_SS__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3430 | SANDOW1_8 | 3650 | ELGIN_SS__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3430 | SANDOW1_8 | 3661 | SALTY_P_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
7040 | L_AUSTRO5_1Y | 3429 | SANDOW__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
7040 | L_AUSTRO5_1Y | 7045 | L_ZORN__5_2Y | CSC_2 | New | Improved Operational control.
7040 | L_AUSTRO5_1Y | 7048 | L_GARFIE5_1Y | CSC_2 | New | Improved Operational control.
7040 | L_AUSTRO5_1Y | 13429 | SAND_TXU_5 | CSC_2 | New | Passed Protocols Section 7.2.3 criteria.
7068 | L_EVANT_8_1Y | 7066 | L_ADAMSV8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
7070 | L_GOLDTH8_1Y | 7068 | L_EVANT_8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
13430 | SAND_TXU_8 | 3675 | ROGERS1A_8 | CSC_2 | New | Passed Protocols Section 7.2.3 criteria.
CSC_4: North to Houston
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
3391 | JEWETT_N5 | 46500 | TOMBAL__345B | CSC_4 | Existing | Passed Protocols Section 7.2.3 criteria.
7272 | L_WALLER8_1Y | 7668 | L_PRAIVI8_1Y | CSC_4 | Existing | Improved Operational control.
40600 | ROANS___345C | 45972 | KUYDAL755010 | CSC_4 | Existing | Improved Operational control.
40900 | KING____345A | 45971 | KUYDAL745005 | CSC_4 | Existing | Improved Operational control.
40900 | KING____345A | 45972 | KUYDAL755010 | CSC_4 | Existing | Improved Operational control.
45971 | KUYDAL745005 | 46500 | TOMBAL__345B | CSC_4 | Existing | Improved Operational control.
the sum of flows for these four lines
Jewett to TH Wharton
Jewett to Tomball
Gibbons Creek to O’Brien
Roans Prairie to Kuykendahl
Notes:
| Boundary Generators | Zone
| STP | Houston
| Colorado Bend | Houston

## Board Approved 20071016
2008 Closely Related Elements
CSC_1: West to North & North to West
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
1048 | TONKAWAWI_5 | 1430 | GRAHAMSES1_5 | CSC_1 | New | Improved Operational control.
1371 | MURRY_P8 | 1431 | GRAHAMSES1_8 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
1420 | SWEETWTR_5 | 1430 | GRAHAMSES1_5 | CSC_1 | Existing | Improved Operational control.
1421 | WILLOWCK_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1421 | WILLOWCK_5 | 1436 | PARKER_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1422 | BOWMAN_5 | 1425 | FISHRDSS1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1422 | BOWMAN_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1425 | FISHRDSS1_5 | 6100 | OKLA7A | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1429 | JACKSBRO_5 | 988 | W_DENT_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1430 | GRAHAMSES1_5 | 1429 | JACKSBRO_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1431 | GRAHAMSES1_8 | 1601 | GRAHAME_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1435 | LONGCREK_5 | 1430 | GRAHAMSES1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1435 | LONGCREK_5 | 6230 | ABMULCE7 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
1436 | PARKER_5 | 1869 | BENBRK_A_T5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1440 | COMCHESS1_5 | 1900 | COMCHPKW_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1440 | COMCHESS1_5 | 6444 | SARC7A | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1468 | LKAROWHD_8 | 1470 | NEWPRT_P8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1596 | GRAHAMSW_8 | 1599 | BARTON_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1596 | GRAHAMSW_8 | 1601 | GRAHAME_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1599 | BARTON_8 | 1571 | ORAN1_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1624 | LEONSW_8 | 1642 | FLATCRK_T8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1640 | LINGLVLL_P8 | 1641 | STPHNVIL_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1642 | FLATCRK_T8 | 1640 | LINGLVLL_P8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
6169 | PAIP4B | 1371 | MURRY_P8 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria.
6230 | ABMULCE7 | 60040 | BLF_CRK7A | CSC_1 | New | Improved Operational control.
CSC_2: South to North & North to South
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
1655 | BRNWDSW_8 | 7070 | L_GOLDTH8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
3405 | THOUSE__5 | 3409 | LAKE_CRK1_5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3409 | LAKE_CRK1_5 | 3414 | TEMP_SS__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3410 | LAKE_CRK1_8 | 3420 | TEMP_PEC__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3410 | LAKE_CRK1_8 | 3420 | TEMP_PEC__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3412 | TEMP_PEC__5 | 3405 | THOUSE__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3412 | TEMP_PEC__5 | 3414 | TEMP_SS__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3415 | TEMP_SS__8 | 3675 | ROGERS1A_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3420 | TEMP_PEC__8 | 3415 | TEMP_SS__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3430 | SANDOW1_8 | 3650 | ELGIN_SS__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
3430 | SANDOW1_8 | 3661 | SALTY_P_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
7040 | L_AUSTRO5_1Y | 3429 | SANDOW__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria.
7040 | L_AUSTRO5_1Y | 7045 | L_ZORN__5_2Y | CSC_2 | New | Improved Operational control.
7040 | L_AUSTRO5_1Y | 7048 | L_GARFIE5_1Y | CSC_2 | New | Improved Operational control.
7040 | L_AUSTRO5_1Y | 13429 | SAND_TXU_5 | CSC_2 | New | Passed Protocols Section 7.2.3 criteria.
7068 | L_EVANT_8_1Y | 7066 | L_ADAMSV8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
7070 | L_GOLDTH8_1Y | 7068 | L_EVANT_8_1Y | CSC_2 | New for this CSC. | Passed Protocols Section 7.2.3 criteria.
13430 | SAND_TXU_8 | 3675 | ROGERS1A_8 | CSC_2 | New | Passed Protocols Section 7.2.3 criteria.
CSC_4: North to Houston
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE? | CRE Selection Reason
3391 | JEWETT_N5 | 46500 | TOMBAL__345B | CSC_4 | Existing | Passed Protocols Section 7.2.3 criteria.
7272 | L_WALLER8_1Y | 7668 | L_PRAIVI8_1Y | CSC_4 | Existing | Improved Operational control.
40600 | ROANS___345C | 45972 | KUYDAL755010 | CSC_4 | Existing | Improved Operational control.
40900 | KING____345A | 45971 | KUYDAL745005 | CSC_4 | Existing | Improved Operational control.
40900 | KING____345A | 45972 | KUYDAL755010 | CSC_4 | Existing | Improved Operational control.
45971 | KUYDAL745005 | 46500 | TOMBAL__345B | CSC_4 | Existing | Improved Operational control.
Notes: | Elements in red font are being deleted from the list of 2008 CREs.
| Boundary Generators |  | Zone
| STP |  | Houston
| Colorado Bend |  | Houston