## Slide 1: ROS Report for August 7, 2008 TAC Meeting
Paul Rocha
ROS Chair

## Slide 2: TAC Voting Items (approved at ROS July meeting)
NOGRR020
  Synchronization of OGRR198
  “Firm Load Shed Implementation Time Periods”
NOGRR021
  Synchronization of OGRR205
  “Black Start Satellite Phones”

## Slide 3: EECP 20080226 ROS Action Plan / Wind Workshop Follow-Up Items
Changes to Protocols/Guides: Wind Generation ramp rate limitations [Item 3a, assigned to ROS & WMS ]
  ROS has submitted PRR771, Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources (July 25, 2008). This PRR is scheduled for consideration at the August 21, 2008 PRS meeting.
  Ramp rate limitations “when responding to increasing wind speed” deleted from ERCOT proposal by ROS, but ROS directed WOTF to return with recommendation to be voted on by ROS at September, 2008 meeting
  TAC to review it after PRR is further vetted by PRS

## Slide 4: EECP 20080226 ROS Action Plan / Wind Workshop Follow-Up Items
“Changes to Protocols/Guides: Dynamic line ratings” [Item 3g].
  After discussion at July ROS meeting, it was decided that the issue would be vetted through ERCOT Regional Planning Process (with concurrence of ERCOT Planning)

## Slide 5: Other ROS Meeting Highlights
Steady State Working Group (SSWG) Procedures Revision
  Appendix I revised to add procedures for modeling Wind Generation
  Revised procedures APPROVED by ROS
Reserve Discount Factor (RDF) Revision
  ERCOT Operations presented an overall summary of Unannounced Unit Testing.
  Discussed ERCOT Operations planned proposal to revise the RDF for temperatures less than 85 degrees
Draft Single Entry Model (SEM) Approach Document
  Update provided by the NDSWG Chair.

## Slide 6: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
OWG (Operations Working Group)
Item 3h | Changes to Protocols/Guides: Re-examine the EECP Steps (should ERCOT's obligation to issue a public appeal for conservation be optional?) | Target: October 2008
At the June meeting, ROS concurred with the OGGR wording proposed by the OWG to eliminate the requirement that an appeal must be made in Step 2. OWG has submitted PRR769, NPRR142, OGRR212 and NOGRR022, EECP Media Appeal Change (July 22, 2008). PRR769 and NPRR142 are scheduled for consideration at the August 21, 2008 PRS meeting. OGRR212 and NOGRR022 are scheduled for consideration at the August 20, 2008 OWG meeting. |  | 

## Slide 7: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
PDCWG (Performance Disturbance Compliance Working Group)
Item 1e | Interconnection Process: System Inertia (generator governor response) [with inertia data from DWG] | Target: Work-in-Progress
A PDCWG meeting was held on July 8 -9, 2008. The PDCWG continues analysis of Wind Generator inertia and governor response. The next meeting is August 12 and 13. |  | 

## Slide 8: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force)
Item PDCWG 1 | What can be done to improve STLF performance when previous day load profile and current day load profiles are obviously different? Can a ‘similar day’ profile be substituted for the previous day profile? | COMPLETE May 2008
WOTF recommended no further action on STLF to ROS in May. This is addressed by Item 3b below, which ROS in May endorsed the language of a draft PRR. |  | 
Item PDCWG 2 | All QSEs including wind QSEs MUST be vigilant in updating their Resource Plan and keeping it accurate. | COMPLETE May 2008
This is addressed by Item 3b below, which ROS in May endorsed the language of a draft PRR. In addition, the QMWG is addressing the issue of further updating of the Resource Plans after the RPRS is run. PRR 763 has been passed and implemented. |  | 

## Slide 9: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 1a | Interconnection Process: Better defined voltage support requirements | Target: December 2008
Item 1b | Interconnection Process: Better defined SCADA control on generation breakers | 
Item 1c | Interconnection Process: ERCOT/TSP/Generator voltage management practices | 
See Protocol 6.5.7.2 Phase 1: Find out what reactive operating capabilities exist. ERCOT staff is in the midst of querying each wind plant. [JA] Phase 2: Identify what the capabilities should be from both an operations and planning standpoint. Hold another wind workshop. Wind Workshop #2 has been scheduled for August 22, 2008. Phase 3: Review issues from WW #2 within WOTF. Develop plans and proposals. Issue proposals to modify the Operating Guides or Protocols as needed to include results of Phase 2. |  | 
TARGET DATES Phase 1: August; Phase 2: August 22; Phase 3: November – December |  | 

## Slide 10: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 1d | Interconnection Process: Generation Interconnection Synchronization checklist (how will generation unit’s provide reactive support/voltage control) | Target: October 2008
Part (1) -- WOTF will develop a Nodal readiness metric for TPTF consideration on wind meteorological telemetry provision requirements. [FT, VB, WJR] Part (2) -- ERCOT staff [JA & JD] will propose a voltage control test, prequalification, and synchronization test requirements – following the wind workshop #2 (Aug 22). Protocol or Guide change proposal to follow. |  | 
TARGET DATES (1) to TPTF by 7/8 (2) Proposal to WOTF by September, forward to ROS by October |  | 

## Slide 11: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 2a | Compliance/Performance Measures: 24/7 communication must be available for TSP to reach wind generators | Target: August 2008
WOTF provided a document detailing communication criteria to ROS in May. ROS directed the WOTF to further develop and also provide documentation for the criteria for the timing criteria for 24/7 communication between ERCOT and Wind Farms. WOTF will draft a PRR and/or NPRR to implement the compliance issue changes necessary for all generators. Retrofitting is an issue for further discussion. [WJR] |  | 

## Slide 12: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 3a | Changes to Protocols/Guides: Wind Generation ramp rate limitations [assigned to ROS & WMS] | Target: September 2008
See draft Protocol 6.5.13, under consideration. The WOTF and the QMWG and ERCOT staff jointly developed a protocol change recommendation for implementing a 10% per minute maximum ramp rate. John Dumas presented this draft PRR to ROS in July, and the ROS endorsed it for up and down dispatch conditions only. ROS remanded the single issue of non-dispatch conditions (increasing wind) back to WOTF for a resolution by the September ROS meeting. ROS has submitted PRR771, Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources (July 25, 2008). This PRR is scheduled for consideration at the August 21, 2008 PRS meeting. No performance metric, nor any consideration of grandfathering or timeline for compliance, has been addressed. |  | 

## Slide 13: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 3b | Changes to Protocols/Guides: PRR to mandate use of AWST 80% forecast in wind Resource Plans | COMPLETE May 2008
ERCOT ISO presented a draft PRR for “Use of WGRPP as Planned Operating Level in Day-Ahead Resource Plan for WGRs” to ROS in May. ROS endorsed the language. See also Issue # PDCWG1. PRR 763 has been passed and implemented. |  | 
Item 3c | Changes to Protocols/Guides: Ancillary Service procurement methodology (Increase RGS, RRS, NSRS during high-risk periods) [assigned to ROS & WMS] | Target: September 2008
The WOTF will coordinate with QMWG to deal with the reliability concerns. ERCOT Operations will prepare a summary of the impact of these ancillary services on Net Load, and whether “locational” reserves are of great value. The WOTF expects to incorporate the necessary changes into the 2009 ancillary services procurement method. [JD] |  | 

## Slide 14: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 3d | Changes to Protocols/Guides: Mid Term and Short Term Load Forecast weather sensitivity | COMPLETE May 2008
WOTF recommended no further action on STLF & MTLF to ROS in May. This is addressed by Item 3b above, which ROS in May endorsed the language of a draft PRR. |  | 
Item 3e | Changes to Protocols/Guides: Evaluate transmission line and wind power production outage criteria | Target: After CMWG
The ROS / WOTF will review any WMS / CMWG recommendations on this issue for reliability considerations. |  | 
TARGET DATES Begin review after CMWG completes their recommendations. |  | 

## Slide 15: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 3f | Changes to Protocols/Guides: Run multiple CSC limit studies | COMPLETE June 2008
Increase the frequency of calculating the CSC limits; no Protocol change necessary. This is now complete for all five CSCs, as of June 10, 2008. See Market Notice # W-A052808-01 Operations. However, PRR 764 requires further software changes to post the results. Also, ERCOT staff has said the procedure changes would be documented. |  | 
Item 3g | Changes to Protocols/Guides: Dynamic line ratings | COMPLETE Assigned to ERCOT RPG
After discussion at July ROS meeting, it was decided that the issue would be vetted through ERCOT Regional Planning Process (with concurrence of ERCOT Planning). |  | 

## Slide 16: ROS Action Plan Summary: EECP Step #2 (Feb.26th, 2008)
WOTF (Wind Operations Task Force) [Continued]
Item 4 | Training: wind generator knowledge of plant equipment/controls/best practices | Target: After Wind Workshop 2
(a) Wind Workshop #3 will cover certain topics. (b) A list of topics for training of wind plant operators is being developed. |  | 
TARGET DATES To be discussed further after Wind Workshop #2 (scheduled August 22, 2008). |  | 

## Slide 17
Questions