OPERATING PROCEDURE

MANUAL

Day-Ahead Market Desk

Version 1.0 Rev 1

August 05, 2008

Document Control

Preparation

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| August 4, 2008 | 1.0 | Revision 1 | Y. Ren, X. Ma, K. Methaprayoon, M. Patterson |
| August 4, 2008 | 1.0 | Original draft | Y. Ren, X. Ma |

Table of Contents

Document Control	2

1.	Introduction	3

2.1.1	Purpose	3

2.1.1	Scope	3

2.1.1	Roles/Responsibilities	3

2.1.1	General Duties	3

2.	Tasks	3

2.1	Review ERCOT System Conditions	3

2.1.1	Review Network Conditions	3

2.1.3	Monitor / Review External System Data Interfaces	3

2.1.4	Review Peaker Net Margin and System-Wide Offer Cap	3

2.2	Phase II Validations of DAM Submissions	3

2.2.1	Review Counter-Party’s Credit Limits	3

2.2.2	Execute Counter-Party’s Credit Limit Adjustments	3

2.2.3	Initiate Phase II Validation Process	3

2.2.4	Review Phase II Validation Report	3

2.3	Updated Day-Ahead Network Model	3

2.3.1	Review CIM/XML Files and Outage Schedule Data	3

2.3.2	Generate Updated Day-Ahead Network Model in study APP server	3

2.3.3	Validate Updated Day-Ahead Network Model in study APP server	3

2.3.4	Activate the Day-Ahead Updated Network Model in production system APP server	3

2.4	Daily Constraint Competitiveness Test (CCT)	3

2.4.1	Perform Daily CCT Process	3

2.4.2	Post Daily CCT Competitive Constraint List	3

2.5	CRR Simultaneous Feasibility Test (SFT)	3

2.5.1	Review CRR Ownership Data	3

2.5.2	Review CRR SFT Configuration Parameter Settings	3

2.5.3	Conduct CRR Simultaneous Feasibility Test	3

2.5.4	Allocate McCamey Flowgate Rights (MCFRI)	3

2.6	DAM Input Data Process	3

2.6.1	Monitor / Review DAM Submissions and Validations	3

2.6.2	Review RMR Needs for Each Hour of the Next Operating Day	3

2.6.3	Create RMR Three-Part Supply Offers	3

2.6.4	Verify Current Operating Plan	3

2.6.5	Verify DAM Configuration Parameter Settings	3

2.7	DAM Clearing Process	3

2.7.1	Check DAM Submission Close Event	3

2.7.2	Conduct PTP Option Derating	3

2.7.3	Perform Ancillary Service Insufficiency Check	3

2.7.4	Notify QSEs of Ancillary Service Insufficiency condition	3

2.7.5	Clear Day-Ahead Market	3

2.7.6	Verify DAM Result Posting	3

2.8	Post-DAM Processes	3

2.8.1	Review / Monitor QSE Ancillary Service Supply Responsibilities	3

2.8.2	Monitor / Review Trade/Schedule Submissions and Validations	3

2.8.3	Conduct DAM Clearing Run in Study Mode	3

2.8.4	Prepare the Day-Ahead Market Summary Report (Prior to end of shift)	3

2.8.5	Validate / Correct DAM Prices	3

2.9	DAM Timeline deviations	3

2.9.1	PostponeDelay/Abort Day-Ahead SFT & MCFRI AllocationProcess	3

2.9.2	Abort Day-Ahead SFT & MCFRI Allocation	3

2.9.3	Postpone Day-Ahead Market Submission Close Timeline	3

2.9.4	Postpone of Day-Ahead Market Solutions Posting	3

2.9.5	Abort the Day-Ahead Market Clearing	3

3	Attachments/Appendices	3

3.2.1	Attachment 1:  ERCOT Day Ahead Market Report (Typical)	3

3.2.2	Appendix 1:  Methodology for Determining Non-Spin Requirement	3

# Introduction

## Purpose

This procedure provides the ERCOT Day-Ahead Market (DAM) Desk with the detailed procedures required for performing DAM duties. The DAM Desk position is responsible for the oversight of the DAM operation in full compliance with Nodal Protocols and ERCOT procedures. The DAM Desk is also responsible for monitoring participant submission validations and posting the DAM results to participants.

The Day-Ahead Market normally commences at 0600 on the day prior to the operating day, and normally concludes at 1330 on the day prior to the operating day.

## Scope

The instructions contained in this procedure document are limited to those required for the DAM Desk.  Instructions for other ERCOT nodal market positions are contained in separate procedure documents, one for each position.  This procedure does not imply that the duties contained herein are the only duties to be performed by this position.  The individuals assigned to this position will be required to follow other instructions and to perform other duties as required or requested by appropriate ERCOT supervision.

## Roles/Responsibilities

DAM Desk Shift Supervisor

The DAM Desk Shift Supervisor is responsible for supervision of the DAM Desk position and may at times be responsible for performing the procedures contained in this manual.

DAM Desk Operator

The DAM Desk Operator is responsible for carrying out the subsequent tasks that are described in this document.

## General Duties

- Operate the DAM market procedures starting from 0600 to 1330 one day ahead of the Operating Day.

- Respond to Market Participant Questions and Issues.

- Receive questions and issues from Market Participants as they are submitted.

- Respond to Market Participant questions and issues when appropriate information is available.

- Refer any questions or issues for which information is not available to the Shift Supervisor and request that appropriate information is provided.

# Tasks

## Review ERCOT System Conditions

On a daily basis in the Day-Ahead, the DAM Desk reviews the following ERCOT system conditions:

  - Review Network Conditions

  - Determine Ancillary Service (AS) Requirements and QSE AS Obligations

  - Monitor / Review External System Data Interfaces

  - Review Peaker Net Margin and System-Wide Offer Cap

| ## Review Network Conditions |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | This task is performed prior to 0700. |
| 1 | Navigate to the relevant Market Operator Interface (MOI) displays. |
| 2 | Review transmission network conditions for the DAM period: - Planned Transmission line and equipment outages - Weather assumptions used to provide the system conditions forecast - Hourly load zone distribution factors - Hourly distribution Loss Factors and forecasted ERCOT-wide Transmission Loss Factors - A current list of all Settlement Points - A mapping of Settlement Points to Electrical Buses - A list of transmission constraints that have a high probability of binding in the Security-Constrained Economic Dispatch (SCED) or DAM |
| 3 | REVIEW the ERCOT load demands for the DAM period: - Hourly load forecasts by Weather Zones and hourly ERCOT System load forecasts - Minimum load and peak load forecast hours - Weather assumptions used to provide the load forecasts |
| NOTE | In reviewing the above list of system conditions, as needed, - Coordinate with Day-Ahead System Operation Desk for clarification of issues related to transmission network conditions. - Coordinate with Outage Scheduling Desk for clarifications of issues related to transmission outages. |

| #### Review Ancillary Service Requirements |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | The Day-Ahead System Operation Desk develops the Ancillary Service (AS) Requirement Plans for each type of AS and each hour of the next Operating Day for the use in DAM. It is also responsible for publishing the QSE AS Obligation. |
| 1 | Navigate to the MOI display for AS Plans. |
| 2 | determine and Review the hourly ERCOT system total Ancillary Service requirements for each type of AS: - DRS – Down Regulation Services - URS – Up Regulation services - RRS – Responsive reserve Services - Non-Spin – Non-Spin Reserve Services |
| 3 | review the following percentages of Load Resources providing Responsive Reserve Services (RRS): - the percentage of Load Resources excluding Controllable Load Resources that are allowed to provide RRS - the percentage of Controllable Load Resources that are allowed to provide RRS |
| NOTE | If ERCOT determines that an Emergency Condition may exist that would adversely affect ERCOT System reliability, it may change the percentage of Load Resources that are allowed to provide RRS from the monthly amounts determined and published previously. A textual message explaining any changes to the percentage of Load Resources that are allowed to provide RRS shall be posted on the MIS Public Area. |
| 4 | execute and Review the ASOC execution log messages to ensure that - ASOC has executed without error - QSEs are notified of the AS Obligation Assignments |

| ## Monitor / Review External System Data Interfaces |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | MMS data interfaces from External Systems shall be monitored and reviewed to resolve any data interface problems as soon as possible. |
| 1 | Navigate to the MOI display for the External System Interface event logs. |
| 2 | Check for the existence of any Warning or Error messages pointing to potential problems with the following External System interfaces: - Network Model Management System (NMMS) - Energy Management System (EMS) - Congestion Revenue Right (CRR) System - Credit System - Outage Scheduler (OS) - Settlement System - Registration - Mid-Term Load Forecast - eTag |
| 3 | Resolve any External System Interface problems. |
| 4 | Record the actions or a workaround measures that the DAM Desk operator takes to ensure the normal operation of External System Interfaces. |

| ## Review Peaker Net Margin and System-Wide Offer Cap |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Prior to 0700 on a daily basis, accumulative Peaker Net Margin (PNM) is calculated to determine whether the High or Low System-Wide Offer Cap shall be applied in validations of Energy Offers and Ancillary Service Offers by participant. |
| 1 | Navigate to the MOI display for accumulative PNM calculations. |
| 2 | Review the following parameter settings: - The PNM is $175,000 for an annual resource adequacy cycle from January 1 to December 31 of each year. - For the first two months of the Nodal market, the high system-wide offer cap (HCAP) is $2,250 per MWh for Energy and $2,250 per MW per hour for AS. - The HCAP is $3,000, beginning two months after Nodal market implementation. - The LCAP is a daily value equal to the higher of $500 per MWh for Energy and $500 per MW per hour for Ancillary Services; or 50 * FIP of the previous Operating day. |
| 3 | Verify that the PNM is reset to zero at the beginning of each annual resource adequacy cycle, i.e., on January 1 of each year. |
| Note | The PNM shall be reset to 0 at the start of the Nodal market, even if the Nodal market launch date may not be on the first day, i.e., January 1. |
| 4 | Review the Real-Time energy price and the Fuel Index Price (FIP) for the PNM calculations: - The Real-Time energy price (RTEP) is the ERCOT Hub Average 345 kV Hub price for each Real-Time Market Settlement interval of the previous Operating Day. - The FIP of the previous Operating Day. |
| 5 | Execute the PNM calculation procedure. |
| Note | The PNM is calculated in dollars per megawatt (MW) on a cumulative basis for all past intervals in the annual resource adequacy cycle: ∑((RTEP – 10*FIP) * (.25)) for each settlement interval where (RTEP – POC) >0 |
| 6 | Review the updated cumulative PNM. If the PNM is less than or equal to $175,000 per MW, then SWCAP = HCAP for the next Operating Day Else if the PNM exceeds $175,000 then SWCAP = LCAP = max($500/MWh, 50 * FIP of the previous Operating Day |
| 7 | Review and approve the PNM and the SWCAP. |
| 8 | - Verify that The PNM and PNM and SWCAP are posted on the MIS Secure Area. - Verify that a market notice is issued when SWCAP is changed from HCAP to LCAP. |

## Phase II Validations of DAM Submissions

Prior to 0700 in the Day-Ahead, the DAM Desk performs the following procedures to prepare the data required for Phase II validation of DAM submission:

  - Review Counter-Party’s Credit Limits

  - Execute Counter-Party’s Credit Limit adjustment process

  - Initiate Phase II Validation Process

  - Review Phase II Validation Reports

| ## Review Counter-Party’s Credit Limits |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | - Normally, Counter-Party’s Credit Limits are transferred to MMS from the Credit System on each Business Day. DAM Desk reviews Counter-Party’s credit limits prior to 0700. |
| 1 | Navigate to the MOI display showing Counter-Party’s Credit Limits. |
| 2 | Verify that Counter-Party’s Credit Limits are updated from the Credit System. On Business Days other than ERCOT observed Holiday Days, if any Counter-Party’s Credit Limits are not updated from the Credit System, the DAM Desk - first checks for and corrects any potential problems with Credit System interface; - Then triggers the Counter-Party Credit adjustment process, refer to Section 2.2.2 Execute Counter-Party’s Credit Limit Adjustment process. On Weekends and ERCOT observed Holiday Days, Counter-Party’s Credit Limits may not be updated from the Credit System. |

| ## Execute Counter-Party’s Credit Limit Adjustments |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | When Counter-Party’s Credit Limits are not updated, Counter-Party’s Credit Limits provided on the most recent Business Day are adjusted for accepted bids and offers for markets cleared since the last receipt of the credit limit update, until a new credit limit for DAM participation is available. DAM Desk executes the procedure prior to 0700. |
| 1 | Navigate to the MOI display for Counter-Party’s Credit Limit adjustments. |
| 2 | Verify that the Counter-Party Credit Limit Adjustment procedure is a working state. |
| 3 | Verify that the following data in the MI Database for the Credit Limit Adjustment calculations: - QSE’s Ancillary Services not Self-Arranged, cleared PTP Obligation Bids, cleared DAM Energy Bids and Offers and cleared Three-Part Supply Offers for each DAM cleared since the last receipt of Counter-Party’s credit Limits from the Credit System. - DAM hourly MCPC for Ancillary Services and DAM hourly LMP for all Settlement Points for each DAM cleared since the last receipt of Counter-Party’s credit Limits from the Credit System. - Real-Time Settlement Point Price and Day-Ahead Settlement Point Price over the previous 30 days for each Settlement Interval since the last receipt of Counter-Party’s credit Limits from the Credit System. |
| 4 | Execute the Credit Limit Adjustment procedure prior to 0700. |
| 5 | Verify that the Credit Limit Adjustment procedure completes successfully. |
| 6 | Review the adjusted Counter-Party’s Credit Limits. |
| Note | In case that some Counter-Party’s adjusted Credit Limits are low or go negative, the DAM Desk shall double check Credit Limit Adjustment calculations and the input data used for the calculations. |

| ## Initiate Phase II Validation Process |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Phase II validation of DAM submissions is initiated by 0700. |
| 1 | Verify that the following data have been updated for the DAM: - CRR Ownership information from the CRR System - Counter-Party’s Credit Limits - SWCAP |
| 2 | Navigate to the MOI display for Phase II validation initiation. |
| 3 | activate the Phase II validation procedure for 0700 initiation. |
| 4 | Verify that the Phase II validation has been successfully initiated. |

| ## Review Phase II Validation Report |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | DAM Desk monitors and reviews the Phase II validation reports from its initiation up to the close of DAM submission. |
| 1 | Navigate to the MOI display for Phase II validation reports. |
| 2 | Monitor/review the Phase II validation reports. When a Counter-Party’s credit limit is reached, DAM submissions from all the QSEs associated with the Counter-Party shall be rejected. PTP Option Offers can only be submitted from the Non-Opt In Entities (NOIEs) who own the PTP CRR Options. |
| 3 | review no price for an energy/AS offer or energy bid exceeds the SWCAP. |

## Updated Day-Ahead Network Model

The ERCOT base Network Model may be updated on a daily basis. An updated base Network Mode is first applied to the DAM processes in the day-Ahead before it is used during the Operating Day.

DAM Desk performs the following procedures associated with the Updated Day-Ahead Network Model process:

  - Review CIM/XML Files

  - Generate Updated Day-Ahead Network Model

  - Activate the Updated Day-Ahead Network Model

  - Perform Energy Management System Data Initialization (EMSI)

| ## Review CIM/XML Files and Outage Schedule Data |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | The CIM/XML files for an updated Network Model are made available five days prior to the Operating Day. DAM Desk reviews the availability of the CIM/XML files for updated Network Model for a future Operating Day on a daily basis. |
| 1 | Log onto the designated common file servers. |
| 2 | verify the CIM/MMS profile for Market Management System (MMS) is up-to-date to the latest CIM and its extension definitions. |
| 3 | check the availability of the CIM/XML files for the updated Network Model for the target Operating Day D (the current Operating day plus 5). The model shall be used for real-time process of target Operating Day D and DAM process of Operating Day D+1 If the CIM/XML files for the updated Network Model are not available at the scheduled time, DAM Desk confirms with the NMMS Desk the delivery time of the CIM/XML files. |
| 4 | verify that outage schedule information from Outage Schedule system covers the period between the current Operating Day and a day after target Operating Day D+1 of the updated CIM/XML file |
| 5 | Transfer the updated CIM/XML files from common file servers into study APP server to perform Day-Ahead Network Model certification |

| ## Generate Updated Day-Ahead Network Model in study APP server |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | The Day-Ahead Network Model update process starts five days prior to the Operating Day when the CIM/XML files are made available. |
| 1 | Log onto the study APP server for Day-Ahead Network Model analysis. |
| 2 | check the directory structure for the CIM/XML importer. VERIFY that the updated CIM/XML file for an updated Network Model locates under CIMImporter/data directory. |
| 3 | create the CIM Database Schema: - Execute CIMSchemaBuilder to generate script files, CreateCIMTables.sql and AddCIMConstraints.sql, to be used for CIM database definition and integrity enforcement. The CIMSchemaBuilder also generates CIM Database SQL*Loader Control Files for data population into CIM Database Schema. - Execute CreateCIMTables.sql to create the CIM Database schema using Oracle SQLPlus environment - Verify the above two processes are completed without any errors - Verify that control files are created CIMImporter/staging/CIM2ORA/ctl/*.ctl |
| 4 | - populate the CIM database Schema: - Execute CIM2ORA to extract the CIM/XML input files according to the MMS CIM/XML profile to generate the flat input files for CIM database - Execute LoadCIM.sh script to populate the CIM Database. - Execute AddCIMConstraints.sql to enforce the data integrity constraints using Oracle SQLPlus environment - Verify the above three processes are completed without any errors - verify MMS-specific data classes in the CIM database: - Log onto the CIM Database - Verify all the database tables for MMS-specific data classes are created using the Oracle SQLPlus or an equivalent environment - Verify the table and number of records in CIM database schema are consistent with information in CIM/XML file |
| 5 | - POPULATE the Run-time application database (RDB): - Check that the RDB database is for populating the updated Day-Ahead Network Model - Execute CIM2RDB to generate flat input files and SQL scripts for RDB database population - Execute LoadRDB.sh to populate the RDB - Verify the above two processes are completed without any errors - verify the updated Network Model in RDB: - Lon onto the study APP server - Execute data_validation.sh script to validate network topology - Examine the log files (dbi_lobinit.log and dbi_post.log) for warning and error messages. - Using the Oracle SQLPlus or an equivalent tool, validate, against the same information in the XML files using a selected tool (such as CIMSpy supplied by the vendor), the following model details: - Number of records in each table in the RDB - Containment hierarchy - Data model topology - Voltage Regulation Terminals - CIM class attributes and RDB columns - Settlement Points to Electrical Bus mappings - Contingency List - Load Rollover Schemes - Special Protection Schemes (SPD)/Remedial Action Plans (RAP) - Generic Constraints including Flowgates - Swing Bus Definition - Tap Changer Neutral Angles - Transmission Equipment ID (TEID) - Modeling of Non-ERCOT Non Conforming Load - Secured/Monitored Flag of the transmission equipement |
| 6 | POPULATE the related CIM tables into the MI Interface (MIINF) database in the study Database server. - Check that the MI Database is ready for populating the updated Day-Ahead Network Model - Execute CIM2RDB to generate flat input files and SQL scripts for MIINF (CIM_XX tables) database population Note: This step can be skipped if previous step 5.b was executed - Execute LoadMIINF.sh to populate the MIINF Database - Verify the above two processes are completed without any errors verify the data in MIINF - Log onto MIINF Database - Using the Oracle SQLPlus or an equivalent tool, validate, against the same information in the XML files using a selected tool (such as CIMSpy supplied by the vendor), the following model details - Settlement Points to Electrical Bus mappings - Combined Cycle configurations - Split Generation Resources - Resource parameters - EPS Meter modeling |

| ## Validate Updated Day-Ahead Network Model in study APP server |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | The updated Network Model is verified in the study APP server before transferring to the production APP server. |
| 1 | OPEN the Data Management display in MOI of study APP server. SWITCH the connecting schema to OFFLINE environment. |
| 2 | initialize the EMS data for the Market Applications (MA) by executing the EMSI process in the OFFLINE environment: - Execute the EMSI process from EMSI workflow display - Verify the above processes are completed without any errors - reivew the dynamic rating limit and generic constraint limits are retrieved from the EMS correctly. |
| 3 | validate the updated Network Model files by executing a SFT process: - Execute the SFT process - Verify the above processed are completed without any errors - Verify the SAVECASE for the SFT successful run was created |
| 4 | validate the updated Network Model files by executing a POD process: - Execute the POD process - Verify the above processed are completed without any errors - Verify the SAVECASE for the POD successful run was created |
| 5 | validate the updated Network Model files by executing a DAM process: - Execute the DAM process - Verify the above processed are completed without any errors - Verify the SAVECASE for the DAM successful run was created |
| 6 | validate the updated Network Model files by executing a DRUC process: - Execute the DRUC process - Verify the above processed are completed without any errors - Verify the SAVECASE for the DRUC successful run was created |
| 7 | validate the updated Network Model files by executing a HRUC process: - Execute the HRUC process - Verify the above processed are completed without any errors - Verify the SAVECASE for the HRUC successful run was created |
| 8 | validate the updated Network Model files by executing a WRUC process: - Execute the WRUC process - Verify the above processed are completed without any errors - Verify the SAVECASE for the WRUC successful run was created |
| 9 | COPY the verified SAVECASE files from study APP server to designated folder in the production system APP server. |
| 10 | OPEN the Data Management display in MOI of production system APP server. SWITCH the connecting schema to OFFLINE environment. |
| 10 | RESTORE the above created SAVECASE files. The OFFLINE schema in production system APP server is now ready to become ONLINE upon Operator Action. |

| ## Activate the Day-Ahead Updated Network Model in production system APP server |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | The Day-Ahead Updated Network Model is activated prior to 0700 in the Day-Ahead for use in the DAM process. |
| 1 | Navigate the MOI display for switching the Day-Ahead Updated Network Model. |
| 2 | verify that the Day-Ahead Updated Network Model savecase has been restored into the Offline schema of production system APP server. |
| 3 | set the current Online MA database application server as the new Offline MA database. |
| 4 | set the current Offline MA database application server as the new Online MA database. |
| 5 | verify the new Online MA database is in a working state. |

## Daily Constraint Competitiveness Test (CCT)

Prior to 0700 in the Day-Ahead, the DAM Desk performs the Daily CTT task to determine and post the Competitive Constraint List for the next Operating Day.

- Perform Daily CCT Process

- Post Daily CCT Competitive Constraint List

| ## Perform Daily CCT Process |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | - Normally, the Daily CCT process is performed prior to 0700 to determine the Competitive constraint List for the next Operating Day. The Competitive Constraint List for the next Operating day is posted by 0700. |
| 1 | Navigate to the MOI display for Daily CCT. |
| 2 | review the daily CCT configuration parameter settings: - Element competitiveness Index (ECI) threshold on import side = 2500 - Element competitiveness Index (ECI) threshold on export side = 3000 - MVar Flow Scaling Factor applied to MVA Dynamic Rating Limits = 95% - Base Case Limit is set to base case ratings - Contingency Limit is set to contingency ratings - Electrical Bus Shift Factor Cutoff Threshold = 0.000001 |
| 3 | verify that the hour with the highest load forecast is selected to determine the network model. |
| 4 | execute the data initialization module to read daily CCT input data. |
| 5 | review that the following data are read correctly: - Resource High Sustained Limits (HSL) from the Current Operating Plan (COP) for the peak hour of the next Operating Day is used as available resource capacities. - Resource Low Sustained Limits (LSL) from the Current Operating Plan (COP) for the peak hour of the next Operating Day is used as the minimum energy amounts of Coal and lignite generation resources. - Resource – Managing Entity mapping data. - Resource types – Nuclear generation resources are flagged as such. |
| 6 | review the initial competitive constraint list. The initial competitive constraint list for Daily CCT is the same as determined in the Monthly CCT. This initial competitive constraint list can only be modified by DAM Desk operators with the right privilege and the approval of the DAM Desk shift supervisor. |
| 7 | execute the Daily CCT module. Check the Daily CCT execution has completed successfully without error. |
| 8 | review that a competitive constraint is flagged as non-competitive - if either the ECI on the import side or the export side is greater than the given ECI threshold; or - if a pivotal player exists on the import side of the constraint. |
| 9 | modify the competitiveness/non-competitiveness status of certain constraints according to TAC’s specific decisions. |
| 10 | approve the Daily CCT results. |
| 11 | archive the Daily CCT case. |

| ## Post Daily CCT Competitive Constraint List |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | - The competitive constraint list as determined in the Daily CCT process is posted by 0700. |
| 1 | Navigate to the MPI display for the Daily CCT Competitive Constraint List. |
| 2 | Verify that the competitive constraint list as determined from the Daily CCT process is posted correctly. |

## CRR Simultaneous Feasibility Test (SFT)

The CRR (Congestion Revenue Right) SFT process starts at 0700 to ensure that the Day-Ahead McCamey Flowgate Right allocations are posted no later than one hour prior to the scheduled execution of the DAM clearing process. DAM Desk performs the following Day-Ahead CRR SFT processes:

  - Review CRR ownership data

  - Review CRR SFT Configuration Parameter Settings

  - Conduct CRR Simultaneous Feasibility Test

  - Allocate McCamey Flowgate Rights

| ## Review CRR Ownership Data |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Prior to execution of the Day-Ahead CRR SFT process at 0700, DAM Desk reviews the CRR Ownership data. |
| 1 | Navigate to the MOI display for CRR Ownership information. |
| 2 | Verify that the CRR Ownership data has been transferred from the CRR System. Notes: CRRs in the CRR System are in the Time-Of-Use (TOU) blocks. The CRR Ownership data received in the MMS shall conform on an hourly basis to the TOU hours corresponding to the DAM day. |

| ## Review CRR SFT Configuration Parameter Settings |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Prior to execution of the Day-Ahead CRR SFT process at 0700, DAM Desk reviews the CRR SFT configuration parameter settings. |
| 1 | Navigate to the MOI displays for setting CRR SFT configuration parameters. |
| 2 | Verify the CRR SFT system configuration parameter settings: - Network Security Monitor configuration parameter settings: - MVar Flow Scaling Factor applied to MVA Dynamic Rating Limits = 95% - Base Case Limit is set to base case ratings - Contingency Limit is set to contingency ratings - Electrical Bus Shift Factor Cutoff Threshold = 0.000001 - Load Zone/Hub Shift Factor Cutoff Threshold = 0.0 - Percentage of McCamey Flowgate Capacity for MCFRI Allocation = 90% - SPS/RAP Trigger Factor (%) = 5% - Constraint Monitor Margin (%) = 90% - Constraint reliability Margin (MW) = 0 - Constraint Selection Factor = 0 - Absolute Bus Maximum MW Power Mismatch = 0.5 - Max Number of Nonlinear Power Flow Iterations = 50 - Of the Workflow parameters, the “Publish to MI” flag should be initially checked off to prevent the CRR SFT solution from being published prior to operator review. The flag shall be checked on and re-run the Dispatch Schedule Publishing (DSP) module when the CRR SFT solution is ready to be published to the MI Database. |
| Notes | The above CRR SFT configuration parameters can only be modified by DAM Desk operator with the right previlige and the approval of the DAM Desk shift supervisor. Any changes to these configuration parameters shall be posted on the MIS Secure Area along with the reason for the changes. |

| ## Conduct CRR Simultaneous Feasibility Test |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | CRR SFT normally starts at 0700. CRR SFT also includes the task – Allocate McCamey Flowgate Rights, which has a 0900 posting requirement. |
| 1 | Navigate to the CRR SFT MOI display. |
| 2 | - Verify that the statuses shown on the MOI for all the CRR SFT functional modules are normal. - Resolve any potential system problems indicated on the MOI display including the event log messages. |
| 3 | - Check all the execution mode parameter settings. - SET the “Publish to MI” flag to “No”. |
| 4 | Execute the Dispatch Schedule Initialization module on the MOI. verify all the following input data are read correctly: - CRR Ownership information - Maximum Rated Outputs for Wind-powered Generation Resource (WGR) qualified for Day-Ahead MCFRI Allocations - Outage Schedules - Dynamic Rating Limits - Generic constraints - Load zone data - Hub definitions - Contingency list - SPS/RAP data - Load rollover schemes |
| 5 | - execute the network data processing (NDP) module. - Review whether the de-energized electrical buses in the Day-Ahead Updated Network Model topology cause any Settlement Points to be totally de-energized. - Check whether any CRR is sourced or sunk at a totally de-energized Settlement Point. - The DAM Desk operator shall record any CRRs that are sourced or sunk at a totally de-energized Settlement Point. - Review the de-energized transmission lines, or transformer branches. - Check whether any of the de-energized transmission lines, or transformer branches are associated with a Generic Constraint or McCamey Area Flowgate. - The constraint limits for Generic Constraints or McCamey Area Flowgates including de-energized transmission lines, or transformer branches may need corresponding modifications after removing the de-energized transmission elements from the constraint definition. |
| 6 | execute the SFT module. - Verify the SFT execution is completed successfully for each of the DAM hours. - If the base case non-linear DC power flow fails, investigate the reasons and resolve the problems. - After resolution of the fatal problems, re-execute the SFT module. |
| 7 | execute the DSP module. - Verify the DSP execution is completed successfully for each of the DAM hours. - Verify the oversold quantities of violating Constraints - Verify the shift factors of the violating Constraints for all the Settlement Points |
| 8 | SET the “Publish to MI” flag to “Yes” after DAM Desk have competed verification of the SFT and DSF results. |
| 9 | re-execute the DSP module. - Verify the DSP execution is completed successfully for each of the DAM hours. |
| 10 | Verify that the SFT solutions are published to the MI Database. |
| 11 | Create a save case for the Day-Ahead CRR SFT. - Continue to the McCamey Fowgate Right Allocation process. |

| ## Allocate McCamey Flowgate Rights (MCFRI) |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Day-Ahead MCFRI allocations are performed following the execution of the CRR SFT process. The Day-Ahead MCFRI Allocations are posted no later than one hour prior to the scheduled execution of the DAM clearing process (normally at 1000). |
| 1 | Navigate to the MOI display for Day-Ahead MCFRI Allocations in the CRR SFT environment. |
| 2 | Verify that the reported remaining capacity over each McCamey Area flowgate is greater than 0. - If the reported remaining capacity over each McCamey Area flowgate is less than or equal to 0, the day-Ahead MCFRI Allocation is not needed. The procedure stops here. |
| 3 | - Review the shift factors for all the WGRs eligible for MCFRIs. |
| 4 | - execute the MCFRI allocation module and review the execution messages to confirm successful completion. |
| 5 | - Review the capacity impact of each McCamey Area WGR eligible for MCFRIs on each McCamey Area flowgate. - The capacity impact of each McCamey Area WGR eligible for MCFRIs on each McCamey Area flowgate shall be non-negative. |
| 6 | - Review the allocation factor for each McCamey Area WGR eligible for MCFRIs for the corresponding McCamey Area flowgate - The allocation factors for all McCamey Area WGRs shall be summed up to 1.0. |
| 7 | - Review the MCFRI allocations. - The MCFRI allocations for all McCamey Area WGRs shall be summed up to the reported remaining capacity over each McCamey Area flowgate. |
| 8 | - re-execute the DSP module and verify the DSP execution is completed successfully for each of the DAM hours. |
| 9 | - Verify that the Day-Ahead MCFRI Allocations are published to the MI Database. |
| 10 | - Create a save case for the Day-Ahead MCFRI Allocation. |

## DAM Input Data Process

Prior to the close of DAM submissions, DAM Desk ensures that the DAM input data from both participants and prepared by ERCOT are verified for the execution of the DAM clearing process. To ensure the scheduled execution of the DAM clearing process, DAM Desk performs the following processes:

  - Monitor / Review DAM Submissions and Validations

  - Review RMR Resource Needs

  - Create RMR Three-Part Offers

  - Verify COP  at 0900

  - Review DAM Configuration Parameter Settings

| ## Monitor / Review DAM Submissions and Validations |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Participants submit bids and offers for the DAM prior to 100. DAM Desk shall monitor and review the submission validations continuously and resolve any problems as soon as possible. This task include the following activities: - Monitor/Review participant submission related processes and messages - Respond to participant inquiries related to data submissions - Take necessary actions to ensure normal processing of data submissions |
| 1 | Navigate to the MOI displays showing the market submission and validation event logs. |
| 2 | Review the submission and validation messages. In case that submission/validation error messages are reported in the event log, the DAM Desk operator shall take pro-active actions to investigate and resolve the reported problems as soon as practical. |
| 3 | Respond to participant inquiries related to data submissions and validations. In case the participant request is of time essence, the DAM Desk operator shall take immediate actions to resolve the problem. In this case, the DAM Desk Shift Supervisor may be consulted to seek additional help for timely resolution of the issue. |
| 4 | Record the actions or a workaround measure that the DAM Desk operator takes to ensure the normal processing of data submissions and validations. |

| ## Review RMR Needs for Each Hour of the Next Operating Day |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | On a daily basis, DAM Desk shall coordinate with Day-Ahead System Operations Desk to determine the needs of RMRs for each hour of the next Operating Day. This task should be conducted around 0800. |
| 1 | Navigate to the MOI display for the COP data. |
| 2 | - Verify that QSEs representing RMR Resources have reported the availability of the RMR Resources in the COP for each hour of the next Operating Day. - Check whether the RMR Resources whose availabilities have not been reported in the COP for each hour of the next Operating Day are on ERCOT approved Outages If the RMR Resources whose availability has not been reported in the COP for each hour of the next Operating Day are not on ERCOT approved Outages, the DAM Desk operator shall contact the QSEs representing such RMR Resources for verification. |
| 3 | Coordinate with the Day-Ahead System Operations Desk to define the needs of RMR Resources for each hour of the next Operating Day. |
| Note | The defined needs of RMR Resources for each hour of the next Operating Day will be applied to activate RMR Offers for the DAM Clearing. |

| ## Create RMR Three-Part Supply Offers |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | RMR Three-Part Energy Offers are created for each hour of the next Operating Day for which RMRs are likely to be needed. This task includes the following activities: - Review input data - Execute the RMR Three-Part Supply Offer creation function - Review the created RMR Three-Part Supply Offers This task shall be performed prior to 0800. |
| 1 | Navigate to the MOI display for RMR Resource Three-Part Supply offer creation. |
| 2 | Review the heat rate curves and limits of RMR Resources retrieved from the Settlement System. |
| 3 | Execute the RMR Three-Part Supply Offer creation procedure. |
| 4 | Verify that the RMR Three-Part Supply Offers are created for each hour of the next Operating day that the RMR Resources are indicated as available in the COP. |
| 5 | Review and approve the created RMR Three-Part Supply Offers. |
| 6 | Activate the RMR Three-Part Supply Offers for each hour that the needs of RMR Resources are determined in 2.9 Review RMR Needs for Each Hour of the Next Operating Day. |

| ## Verify Current Operating Plan |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | - Current Operating Plan should be verified at 0900 to ensure that Resources’ HSL and LSL are available for the DAM clearing process. |
| 1 | Navigate to the MOI display for the COP. |
| 2 | Flag those QSEs representing Generation Resources that have not submitted a COP for each hour of the next Operating Day. |
| 3 | Notify these QSEs of submitting a COP for each hour of the next Operating Day. |

| ## Verify DAM Configuration Parameter Settings |  |  |
| --- | --- | --- |
| ###### Step # | ###### Procedural Steps |  |
| NOTE | Prior to execution of the DAM Clearing process at 1000, DAM Desk reviews the DAM Clearing configuration parameter settings. |  |
| 1 | Navigate to the MOI displays for setting DAM Clearing configuration parameters. |  |
| 2 | review the DAM Clearing configuration parameter settings are set as follows: - Network Security Monitor configuration parameter settings: - MVar Flow Scaling Factor applied to MVA Dynamic Rating Limits = 95% - Base Case Limit is set to base case ratings - Contingency Limit is set to contingency ratings - Electrical Bus Shift Factor Cutoff Threshold = 0.000001 - Load Zone/Hub Shift Factor Cutoff Threshold = 0.0 - Percentage of McCamey Flowgate Capacity for MCFRI Allocation = 90% - SPS/RAP Trigger Factor (%) = 5% - Constraint Monitor Margin (%) = 90% - Constraint reliability Margin (MW) = 0 - Constraint Selection Factor = 0 - Absolute Bus Maximum MW Power Mismatch = 0.5 - Max Number of Nonlinear Power Flow Iterations = 50 - Network Constrained Unit Commitment configuration parameter settings: - UC Algorithm = Mixed Integer Programming (MIP) - Tie-breaking penalty = 0.000001 - System deficit / surplus generation penalty = 600000 - Transmission base case constraint penalties = 500000 - Transmission contingency constraint penalties = 400000 - Non-thermal constraint penalty = 500000 - Reg-Up deficit penalty = 300000 - Reg-Down deficit penalty = 300000 - RRS deficit penalty = 200000 - Non-Spin deficit penalty = 100000 - Constrained or Unconstrained mode = Constrained - The following Workflow configuration parameters are set as follows: - DAM execution mode shall be set to DAM/ASIC - “Publish to MI” flag shall be initially checked off to prevent the CRR SFT solution from being published prior to operator review. The flag shall be checked on and re-run the Dispatch Schedule Publishing (DSP) module when the CRR SFT solution is ready to be published to the MI Database. |  |
| Notes | The above DAM Clearing configuration parameters can only be modified by DAM Desk operator with the right previlige and the approval of the DAM Desk shift supervisor. Any changes to these configuration parameters shall be posted on the MIS Secure Area along with the reason for the changes. |  |

## DAM Clearing Process

At the scheduled close of DAM submissions and upon completion of the DAM submission validations, the DAM Clearing process starts. The DAM Clearing Process includes the following tasks:

  - Check DAM Submission Close Event

  - Conduct PTP Option Derating

  - Perform Ancillary Service Insufficiency Check

  - Notify QSEs of Ancillary Service Insufficiency condition

  - Clear Day-Ahead Market

  - Post DAM Result Posting

| ## Check DAM Submission Close Event |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | ERCOT shall reject any offers/bids for DAM after DAM closesubmission closes, which is usually at 1000. This process will check the DAM close event is in “Completed” status. The task includes performing the following activities: - Check the status of “DAM close” event - Check is any timing deviation from 1000 - Manually trigger this event if it is necessary |
| 1 | Login to MI MOI. |
| 2 | Check the status of “DAM close” event. Normally, this event shall be automatically executed at 1000 and the status show “Completed” then. |
| 3 | If “DAM close” event is “Normal” or “Hold”, check whether ERCOT issueissued any notification of extending DAM close time. Refer process: Day-Ahead Market Submission Timeline Deviations |
| 4 | If DAM still in normal time line, report event failure to DamDAM log and manually change status to “Start now”. |
| 5 | Monitor the status change for this event to “Completed” |

| ## Conduct PTP Option Derating |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | POD is conducted after DAM bid/offer submissions closes at 1000 and DAM submission validations have completed. The task includes performing the following activities: - Check Day-ahead dynamic rate data, generic constraints, and flowgates are updated - Check POD clearing market application system status and configurations - Verify all the input data - Perform/monitor the executions of the POD application functions - Take any actions necessary to ensure on-time completion of the POD process - Review the POD solutions - Publish/store the POD solutions to the MI database - Archive the POD case |
| 1 | Login to MA MOI |
| 2 | - Go to “Market Operation” - “EMS Interface” - “EMSI Workflow”. |
| 3 | - Check “Study Time” and “End Time” which shall cover tomorrow. |
| 4 | - Check “Workflow” status which shall be “Completed”. If it is not, go and check “EMSI Workflow Messages” and refer process: Perform EMS Data Initialization. |
| 5 | - Go to “Day-Ahead Market” – “POD Displays” – “Workflow” – “POD Workflow” |
| 6 | - Shut down system through click “Shut Down” button. |
| 7 | - Start up system clickby clicking “Start Up” button |
| 8 | - Go to “POD Workflow Parameters” and change the “Execute” for “SAV” to be “OFF” |
| 9 | - Go to “Execution Control Parameters” of “DSP Displays” and set “Publish Data to MI” to “NO” |
| 10 | - Go to “POD Workflow” |
| 11 | - Click “Run All” and monitor the execution of the application |
| 12 | - Go to “POD Workflow Messages” to check the details if any ERROR occurs in execution. |
| 13 | verify all the following input data are read correctly: - Outage Schedules - Dynamic Rating Limits - Generic constraints - Load zone data - Hub definitions - Contingency list - SPS/RAP data - Load rollover schemes - If all POD processes are successful, go and check the following results at “POD Displays”: - Violated Constraint Summary - Derated CRR Summary - Invalid CRR Sumamry - If there are any suspicions of the solution, check the inputs and network data. After data correction, go back to step# 5 |
| 14 | - Go to “Execution Control Parameters” of “DSP Displays” and set “Publish Data to MI” to “YES” |
| 15 | - Go to “POD Workflow Parameters” and change the “Execute” for “SAV” to be “ON” |
| 16 | - Go to “POD Workflow” and click “DSP” button to publish POD results |
| 17 | - Click “SAV” button to make save case |

| ## Perform Ancillary Service Insufficiency Check |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | ASIC starts after the task – PTP Option Derating has completed successfully. The task includes performing the following activities: - Set DAM Run Type to the ASIC mode - Run “Clear DAM Process” - Perform/monitor the executions of the ASIC application functions - Review the ASIC clearing solutions - Notify the ancillary service insufficiency - Archive the ASIC case - Check DAM reclose time - Review / Monitor QSE AS offers resubmission - Set DAM Run Type to DAM only mode - Run “Day-ahead Market Clear” process |
| 1 | Login to MA MOI |
| 2 | Go to “Day-Ahead Market” – “DAM Displays” – “Workflow” – “DAM Workflow” |
| 3 | Go to “DSI Execution Control Parameters” of “DSI Displays” and set: DAM Run Type – “ASIC/DAM” |
| 4 | Execute DAM through following “Clear Day-Ahead Market” step 1 – step 15 |
| 5 | If all DAM processes are successful, check following results at “Output Display Menu” of “UC Displays”: - Reduced AS Plan And AS Insufficiency - Reserve Summary If all AS types are sufficient for all hours, complete DAM execution through following “Clear Day-Ahead Market” step 16 – end. |
| 6 | If any AS type is insufficient in any hour, - Verify Reduced AS Plan And AS Insufficiency - Edit “AS Insufficiency Information” - Set “Publish Data to MI” to “YES” |
| 7 | Go to “DAM Workflow Parameters” and change the “Execute” for “SAV” to be “ON” |
| 8 | Go to “DAM Workflow” and click “DSP” and “DSP2” buttons to publish AS insufficient information |
| 9 | Click “SAV” button to make save case |
| 10 | Verify and send AS insufficiency alert to QSE. Refer process “Notify QSEs of Ancillary Service Insufficiency condition” |
| 11 | Check DAM reclose time which shall be automaticautomatically set at the current time plus 30 minutes |
| 12 | Review / Monitor QSE resubmission of AS offers |
| 13 | After 30 minutes, login to MI MOI |
| 14 | Check the status of “DAM reclose” event. Normally, this event shall be automatically executed at 1000 and the status shows “Completed”. |
| 15 | If “DAM reclose” event is “Normal” or “Hold”, check whether ERCOT extending DAM reclose time. |
| 16 | If DAM still in normal time line, report event failure to DAM log and manually change status. |
| 17 | Monitor the status change for this event till become to “Completed” |
| 18 | Login to MA MOI |
| 19 | Go to “Day-Ahead Market” – “DAM Displays” – “Workflow” – “DAM Workflow” |
| 20 | Go to “DSI Execution Control Parameters” of “DSI Displays” and set: DAM Run Type – “DAM Only” |
| 21 | Execute DAM through following process - “Day-ahead Market” |
| 22 | Check the DAM AS insufficiency. |
| 23 | Notify operations RUC Desk pre-DRUC if DAM AS insufficiency exists. |

| ## Notify QSEs of Ancillary Service Insufficiency condition |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | If Ancillary Service Insufficiency exists, this task performs the following procedures: - An Alert message is composed - QSEs are notified of the Ancillary Service Insufficiency Alert message. - Following this notification, QSEs may submit new Ancillary Service Offers during a submission time period of at least 30 minutes. - The new Ancillary Service Offers shall be subject to additional submission validations. |
| 1 | Login to MI MOI |
| 2 | Go to “Participant Messages” in folder “Monitoring” |
| 3 | Verify / Review AS insufficiency report |
| 4 | Verify that AS insufficiency alert has been sent out |

| ## Clear Day-Ahead Market |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | The task includes performing the following activities: - Check DAM clearing market application system status - Check DAM clearing market application configurations - Verify that submission validations, including AS resubmission validations under the condition of Ancillary Service Insufficiency, has completed - Verify all the input data - Perform/monitor the executions of the DAM clearing application functions - Take any actions necessary to ensure on-time completion of the DAM clearing process - Review the DAM clearing solutions - Take necessary actions to ensure validity/clarity of the DAM Clearing results - Approve the DAM Clearing solutions - Publish/store the DAM clearing solutions to the MI database - Archive the DAM Clearing case DAM Clearing results shall be ready for posting by 1330. |
| 1 | Login to MA MOI |
| 2 | Go to “Market Operation” - “EMS Interface” - “EMSI Workflow” |
| 3 | Check “Study Time” and “End Time” which shall cover tomorrow. |
| 4 | Check “Workflow” status which shall be “Completed”. If it is not, go and check “EMSI Workflow Messages” and refer process: Perform EMS Data Initialization. |
| 5 | Go to “Day-Ahead Market” – “DAM Displays” – “Workflow” – “DAM Workflow” |
| 6 | Shut down system through click “Shut Down” button. |
| 7 | Start up system through click “Start Up” button |
| 8 | Go to “DAM Workflow Parameters” and change the “Execute” for “SAV” to be “OFF” |
| 9 | Go to “DSI Execution Control Parameters” of “DSI Displays” and set: - Retrieve MF Interface Data – “Yes” - Retrieve MI Interface Data – “Yes” - Retrieve EMS Interface Data – “Yes” - Use Save Case – “No” |
| 10 | Go to “Execution Control Parameters” of “DSP Displays” and set “Publish Data to MI” to “NO” |
| 11 | Go to “DAM Workflow” and click “Run All” and monitor the execution of the application |
| 12 | Go to “DAM Workflow Messages” to check the details in execution. If error occurs in any module, go to the message display for that module to check the details of the error, such as “DSI Messages”, “UC Messages”, “NDP Messages”, “NSM Messages’, and “DSP Messages” |
| 13 | If all DAM processes are successful, check the following results at “Output Display Menu” of “UC Displays”: - Resource Outputs - System Outputs - Transmission Constraints If there are any suspicions of the solution, check the inputs and network data. After data correction, go back to step# 5 |
| 14 | Go to “Execution Control Parameters” of “DSP Displays” and set “Publish Data to MI” to “YES” |
| 15 | Go to “DAM Workflow Parameters” and change the “Execute” for “SAV” to be “ON” |
| 16 | Go to “DAM Workflow” and click “DSP” and “DSP2” buttons to publish POD results |
| 17 | Click “SAV” button to make save case |
| 18 | Login to MI MOI |
| 19 | - Go to “Market Results” to check DAM solutions |

| ## Verify DAM Result Posting |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | DAM Desk should verify that the DAM clearing results are posted and ready for participant access. This task include the following verifications: - DAM Clearing result XML files are ready for download |
| 1 | Login to MI MOI |
| 2 | Go to “DAM” of “Market Results” |
| 3 | Verify the DAM solution display: - DAM Energy-Only Awards - Three-Part Supply Awards - CRR Awards - PTP Obligation Awards - AS Awards |
| 4 | Go to “Participant Messages” of “Monitoring” |
| 5 | Verify / Review DAM awards report XML |
| 6 | Verify that the notification of DAM results has been sent out |

## Post-DAM Processes

After the DAM Clearing process, the DAM Desk shall perform the following tasks::

  - Review/Monitor QSE Ancillary Service Supply Responsibilities

  - Monitor / Review Trade Submissions and Validations

  - Conduct DAM Clearing Run in Study Mode

  - Complete the Day-Ahead Market Summary Report

  - Validate / Correct DAM Prices

| ### Review / Monitor QSE Ancillary Service Supply Responsibilities |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | DAM Desk should review / monitor the COP updated by QSEs following the posting of the DAM Clearing Results. Ancillary Service Schedules in the updated COP of a QSE should match the QSE’s Ancillary Service Supply Responsibility for each hour of the next Operating Day. - Review Ancillary Service Supply Responsibility check results - Flag the QSEs that violate their Ancillary Service Supply Responsibilities - Notify the selected QSEs of such violations |
| 1 | Login to MI MOI. |
| 2 | Go to “Market Participants Submissions” of “Physical Market”. |
| 3 | Review “AS Trades” for tomorrow. |
| 4 | Go to “Market Operator Data” of “Physical Market”. |
| 5 | Review and check “COP Update check” and “COP Update AS check”. |
| 6 | Go to display “AS Responsibility – QSE” of “Market Operator Data”. |
| 7 | Set the notification flag to “Yes” by QSE by AS type by Hour if a QSE violates its Ancillary Service Supply Responsibilities |
| 8 | Click “Send Notification” button to send out the waning message |
| 9 | Go to “Participant Messages” of “Monitoring”. |
| 10 | Verify that the notification has been sent out. |

| ### Monitor / Review Trade/Schedule Submissions and Validations |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Participants submit trade information continuously throughout the whole Operating Day. Trades include Capacity Trade, Energy Trade, Energy-Self Schedule, Ancillary Service Trade and DC Tie schedules. DAM Desk shall monitor and review the trade submission validations and resolve any problems as soon as possible. This task include the following activities: - Monitor/Review trade submission related processes and messages - Respond to participant inquiries related to trade submissions - Take necessary actions to ensure normal processing of trade submissions |
| 1 | Navigate to the MOI displays showing the market submission and validation event logs. |
| 2 | Review the submission and validation messages. In case that submission/validation error messages are reported in the event log, the DAM Desk operator shall take pro-active actions to investigate and resolve the reported problems as soon as practical. |
| 3 | Respond to participant inquiries related to data submissions and validations. In case the participant request is of time essence, the DAM Desk operator shall take immediate actions to resolve the problem. In this case, the DAM Desk Shift Supervisor may be consulted to seek additional help for timely resolution of the issue. |
| 4 | Record the actions or a workaround measure that the DAM Desk operator takes to ensure the normal processing of data submissions and validations. |

| ### Conduct DAM Clearing Run in Study Mode |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | The DAM Desk may conduct a DAM clearing run in the study mode. The study mode execution of a DAM clearing is used for what-if analysis/ detailed investigations of certain difficult cases. The DAM clearing results generated in the study mode shall not be reported to participants or used for settlement. This task include the following activities: - Set up the DAM Study Mode environment. - Set up the data sources for the study mode DAM run - Make sure that the study DAM clearing results will not be published to the MI database unintentionally. - Execute the DAM Clearing functions step by step or in Run-ALL mode - Monitor/Review the DAM clearing process and messages - Review/study the DAM clearing results |
| 1 | Login to MA MOI |
| 2 | Go to “System Administration” - “Data Management” |
| 3 | Select SD1 or SD2 as “Connect to Schema”. Make sure selected schema not to be used by other DAM study |
| 4 | Check “SD1” shown on all display |
| 5 | Go to “Day-Ahead Market” – “DAM Displays” – “Workflow” – “DAM Workflow” |
| 6 | Shut down system through clicking “Shut Down” button. |
| 7 | Start up system through clicking “Start Up” button |
| 8 | Go to “Savecase Management” and find the savecase which you are going to study |
| 9 | Restore the savecase and monitor the process |
| 10 | Go to “DSI Execution Control Parameters” of “DSI Displays” and set: - Retrieve MF Interface Data – “No” - Retrieve MI Interface Data – “No” - Retrieve EMS Interface Data – “No” - Use Save Case – “Yes” |
| 11 | Go to “Execution Control Parameters” of “DSP Displays” and set “Publish Data to MI” to “NO” |
| 12 | Modify the configuration or input data as needed to analyze the DAM. Please refer “Clear Day-Ahead Market”. |

| ### Prepare the Day-Ahead Market Summary Report (Prior to end of shift) |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| ###### Note | DAM Operators assigned to the DAM Desk shall log all actions related to data error corrections, market application execution abnormalities and measures taken, changes to market application configurations, etc. After DAM clearing, DAM Operators shall review their actions and complete the DAM Operation Summary Report. DAM operators shall also complete other daily internal/external DAM clearing reports. (Details will be added later.) (Check with Matt whether any NPRR102 posting procedures needs to be covered by DAM operators) |
| 1 | Go to DAM Operator log. |
| 2 | Review operation actions have been taken. Complete the log if it is necessary. |
| 3 | Complete Daily internal/external DAM clearing report. |
| 4 | Publish the external report to MIS |

| ### Validate / Correct DAM Prices |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| Note | After the DAM Clearing results have been posted to the market, any findings, either by market participants or DAM Desk, with incorrect DAM Clearing results shall be reported to the Board of Directors to request for DAM price corrections. (Currently, LECG is working on price validation / correcting process. This process will be provideprovided later.) |
| 1 |  |
| 2 |  |

## DAM Timeline deviations

This section establishes the conditions that DAM Desk may deviate from the scheduled DAM process timelines and the procedures to be followed when the DAM timeline deviations occur:

  - Postpone Day-Ahead SFT & MCFRI Allocation

  - Abort SFT & MCFRI Allocation

  - Postpone Day-Ahead Market Submission Close Timeline

  - Postpone Day-Ahead Market Solutions Posting

  - Abort the Day-Ahead Market Clearing

| ### Postpone Day-Ahead SFT & MCFRI Allocation |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | Day-ahead SFT & MCFRI Allocation processes are normally completed by 0900 day-ahead. Any situations which are anticipated or have occurred to require ERCOT posting SFT & MCFRI Allocation results later than 0900, shall be notified of participants as soon as practical. Reference Nodal Protocols 4.1.2 Posting SFT & MCFRI Allocation shall be no later than 1100 (please refer TPTF document “Guidelines for ERCOT to follow in its DAM business”.) This Task include the following activities: - Study the identified Day-ahead application and computer issues - MCFRI Identify the conditions which requires extending posting timeline - Estimate new posting time or abort - DAM Desk management approve the delay - Notify QSE the delay - Corporate other Day-ahead processes for the new timeline |
| 1 | Study Day-ahead application and computer issues of - ERCOT by 0600 postings. (Please refer processes: “Review Network Conditions” & “Review Ancillary Services Requirement”) - External System Data Interface. (Please refer process: “Monitor / Review External System Data Interface”) - SFT & MCFRI allocation process. (Please refer process: “CRR SFT”) - Any application/database/computer issues |
| 2 | Communicate with ERCOT production support / EMMS develop about the issues. |
| 3 | Determine to delay the SFT and MCFRI Allocation process. |
| 4 | If delaying the process is needed, estimate how long shall be necessary for the delay of SFT and MCFRI Allocation solution. Note that solution posting time normally cannot be extended later than 1100. |
| 5 | Inform operations DAM Desk supervisor about the estimated delay. Operations DAM Desk management (supervisor/manager/director) will approve the delay. |
| 6 | Notify QSE the delay. - Go to “Participant Messages” of “Monitoring” in MOI. - Create an alert for SFT & MCFRI Allocation results posting extension. The message shall include: (a) Details of the affected timing and procedures; (b) Details of any interim requirements; (c) An estimate of the period for which the interim requirements apply; and (d) Reasons for the temporary variation. |
| 7 | Verify that the message has been sent to all QSEs. |
| 8 | Incorporate other Day-ahead processes for the new timeline. |

| ### Abort Day-Ahead SFT & MCFRI Allocation |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | Day-ahead SFT & MCFRI Allocation processes are normally completed by 0900 day-ahead. Posting SFT & MCFRI Allocation shall be no later than 1100 (please refer TPTF document “Guidelines for ERCOT to follow in its DAM business”.) ERCOT shall cancel SFT & MCFRI allocation if any situations which are anticipated or have occurred, impact ERCOT posting results no later than 1100. The cancellation shall be notified of participants as soon as practical. Reference Nodal Protocols 4.1.2 This Task include the following activities: - Study the identified Day-ahead application and computer issues - Identify the conditions which requires extending posting timeline - Estimate new posting time or abortion - Day-Ahead Market operations management approve the delay - Notify QSE the delay - Corporate other Day-ahead processes for the new timeline |
| 1 | Study Day-ahead application and computer issues of - ERCOT by 0600 postings. (Please refer processes: “Review Network Conditions” & “Review Ancillary Services Requirement”) - External System Data Interface. (Please refer process: “Monitor / Review External System Data Interface”) - SFT & MCFRIe allocation process. (Please refer process: “CRR SFT”) - Any application/database/computer issues |
| 2 | Communicate with ERCOT production support / EMMS develop about the issues. |
| 3 | Determine to cancell the SFT & MCFRI Allocation process. |
| 4 | Inform Day-Ahead Market operations supervisor about the estimated delay or abortion. Day-Ahead Market operations management (supervisor/manager/director) will approve the delay or abortion. |
| 5 | Notify QSE the abortion of SFT and MCFRI Allocation process. - Go to “Participant Messages” of “Monitoring” in MOI. - Create an alert for SFT & MCFRI Allocation results posting extension. The message shall include: (a) Details of the affected timing and procedures; (b) Details of any interim requirements; (c) An estimate of the period for which the interim requirements apply; and (d) Reasons for the temporary variation. |
| 6 | Verify that the message has been sent to all QSEs. |
| 7 | Corporate other Day-ahead processes for the new timeline. |

| ### Postpone Day-Ahead Market Submission Close Timeline |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | DAM offers/bids submissions are normally closed at 1000 day-ahead. Any situations which are anticipated or have occurred to require ERCOT extending DAM close time away from 1000, shall be notified of participants as soon as practical. Reference Nodal Protocols 4.1.2 The DAM close time shall be no later than 1200 (please refer TPTF document “Guidelines for ERCOT to follow in its DAM business”.) This Task include the following activities: - Study the identified Day-ahead application and computer issues - Identify the conditions which requires extending submission timeline - Estimate new DAM close time - DAM Desk supervisor approve the delay - Notify QSE the delay - Monitor / Review offers/bids submission under the new timeline |
| 1 | Study Day-ahead application and computer issues of - ERCOT by 0600 postings. (Please refer processes: “Review Network Conditions” & “Review Ancillary Services Requirement”) - External System Data Interface. (Please refer process: “Monitor / Review External System Data Interface”) - Phase II validations. (Please refer process: “Review Phase II validations”) - SFT & MCFRI allocation process. (Please refer process: “CRR SFT”) - DAM submissions. (Please refer process: “Monitor /Review DAM Submissions and Validations”) - Any application/database/computer issues |
| 2 | Communicate with ERCOT production support / EMMS developapplication developers about the issues. |
| 3 | Estimate how long shall be necessary for the submission extension. Note that DAM close time normally cannot be extended later than 1200. |
| 4 | Inform operations DAM Desk supervisor about the estimated delay. Operations DAM Desk supervisor will approve the delay. |
| 5 | Operations DAM Desk supervisor will get approval from DAM operation manager/director. Decision shall be made half an hour before current DAM close time. |
| 6 | Login to MI MOI. |
| 7 | Check the status of “DAM close” event at “Event Manager”. |
| 8 | Set “Start Time” of “DAM close” event to the extended time. |
| 9 | Go to “Participant Messages” of “Monitoring”. |
| 10 | Create an alert for DAM submission deadline extension. The message shall include: (a) Details of the affected timing and procedures; (b) Details of any interim requirements; (c) An estimate of the period for which the interim requirements apply; and (d) Reasons for the temporary variation. |
| 11 | Verify that DAM close time extendion message has been sent to all QSEs. |
| 12 | Monitor / Review offers/bids submission under the new timeline. (Please refer process: “Monitor /Review DAM Submissions and Validations”) |

| ### Postpone of Day-Ahead Market Solutions Posting |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | ERCOT shall post the DAM solutions by 1330 day-in the Day-Ahead. Any situations which are anticipated or have occurred to impact ERCOT solving DAM and posting DAM solutions later than 1300, shall be notified of participants as soon as practical. Reference Nodal Protocols 4.1.2 The DAM posting time shall be no later than 1400 (please refer TPTF document “Guidelines for ERCOT to follow in its DAM business”.) (Yongjun- the 1400 is subject to change based on TPTF decision ) This Task include the following activities: - Study the identified Day-ahead application and computer issues - Identify the conditions which requires extending posting DAM solution timeline - Estimate new DAM posting time - DAM Desk supervisor approve the delay - Notify QSE the delay - Incorporate with RUC Desk to delay DRUC |
| 1 | Study Day-ahead application and computer issues of - SFT & Flowgate allocation process. (Please refer process: “CRR SFT”) - POD process. (Please refer process: “Conduct PTP Option Offers Derating”) - DAM clearing process. (Please refer process: “Day-Ahead Market Clear”) - DAM solutions - DAM Result Posting. (Please refer process: “Verify DAM Result Posting”) - DAM Submissions Timeline Deviations. (Please refer process: “DAM Submissions Timeline Deviations”) - Any application/database/computer issues |
| 2 | Communicate with ERCOT production support for any software/hardware issue |
| 3 | Estimate how long shall be necessary to extend posting time |
| 4 | Inform operations DAM Desk supervisor about the estimated delay. Operations DAM Desk supervisor will approve/final the delay. |
| 5 | Notify QSE the delay. (Refer process - “Notify Participants of DAM Posting Timeline Deviations” ) |
| 6 | Login to MI MOI. |
| 7 | Go to “Participant Messages” of “Monitoring”. |
| 8 | Create DAM posting time extended alert. The message shall include: (a) Details of the affected timing and procedures; (b) Details of any interim requirements; (c) An estimate of the period for which the interim requirements apply; and (d) Reasons for the temporary variation. |
| 9 | Send alert to all QSEs. |
| 10 | Verify that the DAM posting time extended message has been sent out. |
| 11 | Corporate with shift system operation engineers to delay DRUC |

| ### Abort the Day-Ahead Market Clearing |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | Day-Ahead PTP Options Derating process may not be available due to any application / database / computer system problem. Once ERCOT believe that abortionthe DAM abort is unavoidable, participants shall be notified as soon as practical. Reference Nodal Protocols 4.1.2 This Task include the following activities: - Study ERCOT forecasted network conditions - Study External System Data Interface issues - Study Application issues - Study database issues - Study computer system issues - Study DAM data issues - Identify the conditions which requires aborting the DAM clearing - DAM Desk supervisor/manager/director approve the aborting of DAM abort - Notify QSE of the DAM cancellation |
| 1 | Study Day-ahead application and computer issues of - ERCOT by 0600 postings. (Please refer processes: “Review Network Conditions” & “Review Ancillary Services Requirement”) - External System Data Interface. (Please refer process: “Monitor / Review External System Data Interface”) - SFT & MCFRI allocation process. (Please refer process: “CRR SFT”) - POD process. (Please refer process: “Conduct PTP Option Offers Derating”) - DAM clearing process. (Please refer process: “Day-Ahead Market Clear”) - DAM solutions - DAM Submissions Timeline Deviations. (Please refer process: “DAM Submissions Timeline Deviations”) - Any application/database/computer issues |
| 2 | Communicate to product supports and EMMS develops. |
| 3 | Study DAM data issues. Identify the data problem which cause DAM stop. Try to fix the issues. (Please refer process: “Day-ahead Clear”) |
| 4 | Identify the conditions which may impact DAM execution before 1200. |
| 5 | Identify the conditions which may impact DAM solution posting before 1400. |
| 6 | Report to DAM Desk supervisor. |
| 7 | DAM Desk supervisor will inform corresponding manager and director. |
| 8 | If approved, notify QSE QSEs of the cancellation of DAMDAM abort (Refer process - “Notify Participants of DAM Aborts” ) |
| 9 | Login to MI MOI. |
| 10 | Go to “Participant Messages” of “Monitoring”. |
| 11 | ###### Create DAM alert 7 declare an Emergency Condition. The message shall include: ###### (a) Details of the affected timing and procedures; ###### (b) Details of any interim requirements; ###### (c) An estimate of the period for which the interim requirements apply; and (d) Reasons for the temporary variation. |
| 12 | Send alert to all QSEs. |
| 13 | Verify that the DAM abortion message has been sent out. |
| 14 | Corporate with shift system operation engineers to delay DRUC |

# Attachments/Appendices

## Attachment 1:  ERCOT Day Ahead Market Report (Typical)

This is left here for reference. Suggest creating DAM Report for each of the DAM Processes.

###### DAY-AHEAD Market REPORT

To:  Shift Supervisor

Transmission/Security Desk

Frequency Desk

Hour-Ahead Desk

For Operating Day:		mm/dd/yyyy

A/S Requirements:	DRS:	0000

URS:	0000

RRS:	0000

NSRS:	0

Capacity Shortage:  Note any RMR/Synchronous condenser or OOMC.

Example:  UNIT #2	0500-2400	OOMCd

See attached RPRS spreadsheet (if RPRS procured).

Operator on Duty		Operator Name

DATE:	mm/dd/yyyy

TIME:       hh/mm

RMR/Synchronous Condenser Delivery Plan Sent

BY 0900 (Preliminary), by 1630 (Final)

Confirmed Black Start Units:  List Units

Comments:  Confirmation for Units Procured In Replacement for Operating Day

Operator’s Company and Name

Approximate Peak Load at 2000 hrs:  xxxxxxMWs

## Appendix 1:  Methodology for Determining Non-Spin Requirement

Notes: Check the applicability/modifications of this Non-Spin Requirement to the Nodal DAM.

Appendix 2:  Methodology for Determining Non-Spin Procurement (cont’d)

Use the following in determining the amount of NSRS needed:

- If weather conditions for the next day are uncertain, procure Non-spin as needed.

- IF the current month is April, May or October, then purchase NSRS in amounts equal to the largest unit online for the hours projected within 85% of peak hour.

- For other months of the year,

- IF today’s and tomorrow’s ERCOT high temperature is projected above 95 degrees in Dallas/Ft. Worth or Houston, THEN PURCHASE NSRS in amounts equal to the largest unit online for the hours projected warmer than 95 degrees.

OR

- If tomorrow’s low temperature forecast is projected below 30 degrees in Dallas/Ft. Worth or Houston, THEN PURCHASE NSRS in amounts equal to the largest unit online for

  - the projected morning load pickup hours and

  - hours projected within 85% of peak hour.

OR

- After the Day Ahead RPRS study or market is complete, the Resource Plan appears to have been updated, and an accurate determination of the need for additional Non-Spin Reserves for the next day can be made, open a secondary NSRS market as needed for hours in which the Market Analyst Interface (MAI) “Capacity Impact” tab indicates less than 3300 MW of spinning reserve.

Reference:

www.ercot.com  “ERCOT Methodologies for Determining Ancillary Service Requirements – Current”