## Slide 1: PDCWG Report to ROS August 14, 2008
Bob Green
PDCWG Chair
Garland Power & Light

## Slide 2
NERC CPS1 for July 2008 =133.86
NERC Twelve Month rolling Average CPS1 = 121.87

## Slide 5
127.23
Notes: <number>

## Slide 6
133.86

## Slide 7
127.23

## Slide 8
90.76

## Slide 10
ERCOT’s Performance to the Proposed New Balancing Authority Alarm Limit Standard

## Slide 11: Comments
The PDCWG met on August 12 and 13.
The PDCWG continues to do some high level analysis of control performance during periods with low CPS1 scores.
The PDCWG continues analysis of Wind Generator inertia and governor response.
The PDCWG continues to discuss Nodal market expected control performance.
The next meeting is September 9 and 10.