| PRR Number | 768 | PRR Title | TDSP Energy Storage for Reliability |
| --- | --- | --- | --- |
| Date Posted |  | July 21, 2008 |  |
| Protocol Section Requiring Revision |  | 10.3.3.1, Data Responsibilities |  |
| Requested Resolution |  | Normal |  |
| Revision Description |  | This Protocol Revision Request (PRR) inserts new paragraph (6)(c) in Section 10.3.3.1 which clarifies that energy flows, from Transmission and/or Distribution Service Provider (TDSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement. This new paragraph will be limited to ERCOT Board endorsed TDSP reliability projects. |  |
| Reason for Revision |  | This PRR seeks to clarify that energy, associated with the charging and discharging of TDSP owned battery storage technology, will not be measured for the purposes of settlement. |  |
| Overall Market Benefit |  | Provides additional technology to address reliability needs. Provides near-term solutions to support to Loads, while permanent solutions can be put in place. |  |
| Overall Market Impact |  | See Quantitative Impacts and Benefits below. |  |
| Consumer Impact |  | Provides an additional tool to enhance reliability. |  |
| Credit Implications |  | No |  |
| Relevance to Nodal Market |  | No |  |
| Nodal Protocol Section Requiring Revision |  | Requires the addition of proposed PRR language as paragraph (f)(iii) of Section 10.3.3.1 of the Nodal Protocols. |  |

Quantitative Impacts and Benefits

| Assumptions | 1 | Assume a 4.8 MW battery at Presidio |  |
| --- | --- | --- | --- |
|  | 2 | Discharge hours per year due to outages – 15 hours |  |
|  | 3 | Load at Presido 3 MW |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Losses associated with operation of battery (15%) | Worst case cost for 6.75 MWh/year associated with battery losses @ the Market Clearing Price for Energy (MCPE) cap price of $2250 = $15,187.50 |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Avoid costs associated with Block Load Transfers and complete reliance on the Comision Federal de Electricidad (CFE) for backup power. | Savings of 3 MW times 15 hours @ 18000 heat rate compared to overnight charging when MCPE is at a minimum |
|  | 2 | Ordinarily charged over night when MCPE is at a minimum | Typical cost for 6.75 MWh/year associated with battery losses @ the MCPE minimum price of $20 = $135.00 |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | The installation and operation of a battery will allow for the performance of planned maintenance on radial transmission lines and minimize service interruption to end use Customers. |  |
|  | 2 | Enhanced grid reliability |  |
|  | 3 | Provide near-term solution to support loads, while permanent solutions can be put in place. |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Kip Fox |
| E-mail Address | kmfox@aep.com |
| Company | American Electric Power Company |
| Phone Number | 214-777-1063 |
| Cell Number | 972-400-1384 |
| Market Segment | Investor Owned Utility |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan M. Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Protocol Language Revision

10.3.3	TDSP Metered Entities

10.3.3.1	Data Responsibilities

TDSPs shall be responsible for the following:

(1)	Providing consumption data for each ESI ID and RID on a monthly basis according to the data timeliness and accuracy standards defined in this Section and in the SMOG;

(2)	Providing start date, stop date, ESI ID or RID, and consumption data in kWh as well as an identifier for “estimated” reads as applicable;

(3)	Submitting a single demand value for each non-IDR ESI ID that has a demand register to ERCOT if, and only if, a demand value is required for TDSP tariffs or for CR customer billing.  If the CR and TDSP do not require a demand value, then the TDSP shall not submit a demand value to ERCOT even if the meter has a demand register;

(4)	Validating, Editing, and Estimating (VEE) meter data according to the standards in this Section before submitting data to the settlement process;

(5)	Calculating consumption for any unmetered services by ESI ID and submitting such data monthly to ERCOT, subject to ERCOT audit.  These calculations must be made pursuant to TDSP approved tariffs; and

(6)	Metering all Loads, unless the Load meets the following criteria:

(a)	Energy consumption by substation Facilities and equipment for the purpose of transporting electricity (e.g., substation transformers, fans, etc.).

(b)	Unmetered energy consumption represented by an ERCOT-approved Load Profile.

(c) 	Energy flows and associated losses for storage devices installed as part of an ERCOT endorsed transmission reliability project are to be treated as transmission substation service, and will not require metering for settlement purposes.