| NPRR Number | 141 | NPRR Title | TSP and/or DSP Energy Storage for Reliability |
| --- | --- | --- | --- |

| Date | August 12, 2008 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Joel Mickey on behalf of the Transition Plan Task Force (TPTF) |
| E-mail Address | jmickey@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3925 |
| Market Segment | Not applicable |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

On August 12, 2008, TPTF reviewed Nodal Protocol Revision Request (NPRR) 141, TSP and/or DSP Energy Storage for Reliability.  TPTF recommended clarifying NPRR141 to indicate that the metering exemption identified for “storage devices installed as part of a transmission reliability project” applied specifically to the battery units included in the reliability improvements for Presidio approved by the ERCOT Board of Directors in July 2008.

TPTF recommended that PRS consider revising the title and body of NPRR141 to exclusively reference Transmission Service Providers (TSPs), not Distribution Service Providers (DSPs).

TPTF deferred assigning an essentiality status (Needed for “Go-Live”, Nodal Approved Post “Go-Live, or Deferred Projects) for NPRR141 until after it is reviewed by PRS.

TPTF endorsed forwarding these comments for consideration by PRS.  The endorsement carried by roll-call vote, with 100% in favor and eleven abstentions from the Investor Owned Utility (1), Independent Retail Electric Provider (7), and Independent Power Marketer (3) Market Segments.  All Market Segments were represented for the vote.  Please refer to the voting spreadsheet for details.

Proposed Cover Page Language Revision

| NPRR Title | TSP Energy Storage for Reliability |
| --- | --- |
| Revision Description | This Nodal Protocol Revision Request (NPRR) inserts new paragraph (f)(iii) in Section 10.3.3.1 which clarifies that energy flows, from Transmission Service Provider (TSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement. This new paragraph will be limited to ERCOT Board endorsed TSP reliability projects. |
| Reason for Revision | This NPRR seeks to clarify that energy, associated with the charging and discharging of TSP owned battery storage technology, will not be measured for the purposes of settlement. |

Proposed Protocol Language Revision

10.3.3	TSP or DSP Metered Entities

10.3.3.1	Data Responsibilities

Each TSP and DSP shall be responsible for the following:

(a)	Providing consumption data for each ESI ID and RID on a monthly basis according to the data timeliness and accuracy standards defined in this Section and in the SMOG;

(b)	Providing start date, stop date, ESI ID or RID, and consumption data in kWh as well as an identifier for “estimated” reads as applicable;

(c)	Submitting a single Demand value for each non-IDR ESI ID that has a demand register to ERCOT if, and only if, a Demand value is required for TSP or DSP tariffs or for CR Customer billing.  If the CR and TSP or DSP do not require a Demand value, then the TSP or DSP shall not submit a Demand value to ERCOT even if the meter has a demand register;

(d)	Validating, Editing, and Estimating (VEE) meter data according to the standards in this Section before submitting data to the settlement process;

(e)	Calculating consumption for any unmetered services by ESI ID and submitting such data monthly to ERCOT, subject to ERCOT audit.  These calculations must be made pursuant to TSP and DSP-approved tariffs; and,

(f)	Metering all Loads, unless the Load meets one of the following criteria:

(i)	Energy consumption by substation Facilities and equipment for the purpose of transporting electricity (e.g., substation transformers, fans, etc.);

(ii)	Unmetered energy consumption represented by an ERCOT-approved Load Profile; or

(iii)	Energy charge and discharge and associated losses for the Presidio substation Facilities, for the Board approved storage devices installed as part of a transmission reliability project.