Draft OWG Meeting Notes 07/16/08

9:30 Meeting opened with Antitrust Admonition

- Texas RE report from Mark Henry

  - Conference call in tomorrow morning at 10 AM, July 17th, to plan for the ERCOT Operations Seminar.  Seminar will be more in-line to the seminars prior to the Nodal-oriented Seminar.

  - NERC CIT 002 – 009 Standards, cyber and physical security – only fully applicable to the ERCOT ISO.  Market Participants in the future will be set up to receive alerts and other notifications.

  - NERC requirements – Ancillary Service Performance Metrics have not been developed yet for Nodal.  Scheduled Performance and Resource Plan Metrics are significant to Zonal.  97 was tabled and Texas RE would like to see it move forward.

  - Tipton question about CIP Standards on Sabotage Reporting – R4: National InfraGard Program and would like to see more information on this.  Many entities are looking to see how to interpret this requirement.  Reliability Standard Worksheets help gather information needed for these NERC standards.

  - BSTF brought up Critical Asset Identification – NERC did not feel like it was fully sufficient that all reporting was not done.  CIPAG have been discussing these assets.  Self certification is the results of analysis done by the Market participants.

  - Action Items: InfraGard, location of the RSAW documents, and the seminar information from Lynley Ellisor.

- ROS Meeting Notes

  - NOGRR020 – 198 on Firm Load Shed, NOGRR 019 – Modified responsive Reserve service passed.

  - Wind Generation Ramp Rate issues discussed at ROS.

  - Dynamic Line Ratings – not an OWG task, but has been passed to DWG.

  - Nodal LFC test results – and initial results deem successful.

  - OGRR208 – Low Voltage Ride Through was given a brief explanation and will be at ROS in August.

  - Wind Workshop date: Austin MET Center August 22nd.

- Meeting notes approved from June.

  - Relay misoperations – the documents will be from SPWG representative due to the analysis work needed for it.

- Naga Kota gave the highlights of the June Operations Report and the June 18th EECP report.

  - Estimated higher load frequency incidents gave a high frequency excursion because the balancing procured was more than the actual load.

  - June 1st deployed RRS was due to units coming off faster than expected – over the midnight hour.

  - Notification of the ERCOT termination of EECP was not done over the hotline and they actually received it 43 minutes (18:38 per ERCOT and 18:43 per Brazos) after the hour even though the termination was actually on 18:15.

- Operations Task Force update.

  - No additional information.

    - Black Start Task Force update

  - The black start study within ERCOT is still in progress.

- Colleen Frosch gave the new bulletins from System Operating Report

  - CSC Limit Calculator procedures updated.  Zonal congestion management has been changed that constraints activated for CSC/CRE pair.

  - ICCP data provided for each hour has not been completed yet but should be available next month for the next database load.

- John Jonte gave the Operating Guides Task Force update.

  - Impact Analysis of OGRR 211 Deletion of References to Back-to-Back Import Capacity. Will be sent to ROS.

  - Low Voltage Ride Through update.  LVRT was an issue in the Florida event in June.  There are many issues that are unresolved.  ERCOT has done a preliminary impact analysis.  The analysis excluded the results that were unresolved.

- EECP 022608 additional work

  - Ramp rates out of the OWG agenda.

  - PRR for EECP of media appeal is in review

- ERCOT Security alert from Colleen.

  - The Security Alert Plan 062007 is available for public viewing.  OTF will take a look and review and see if there are comments that are provided.

Meeting is at the Taylor Room TCC1 253 on August 20th, 2008.