## Sheet1
# | Raised By | Pg | Section | Question | Response | Comments
1 | CNP | 4 | 1 | Network Operations Model maintenance for both zonal and nodal, shall transition to nodal NMMS after SEM Go-Live. | Accepted
2 | CNP | 4 | 1 | Upon completion of Network Model Synchronization activities described in Section 5.0 below, the appropriate subsections of Nodal Protocol § 3 | Accepted
3 | CNP | 4 | 1 | (non-disruption of both existing Zonal and Nodal EDS during transition?) | Clarification | Successful transition includes the idea of minimal to non-disruption of Zonal and Nodal systems but the statement in general is meant to reflect the transitional maintenance of models and model data submissions
4 | CNP | 4 | 2 | Change title: Timeline to Sequence of Tasks | Accepted
5 | CNP | 5 | 2 | Which activity corresponds to SEM Go-Live? “NMMS App… deployed to Production..?” What does “ERCOT Model Baselined ..” mean for a TDSP? Would TDSPs know cut-off dates for S/Rs, that are included, would the CIM Schema be finalized? | Clarification | Yes. Baselined is the term used for a model that has had the zonal seed provided, additional nodal attributes provided, and the model has undergone necessary validation efforts by ERCOT. To the TDSP, this would be the model that is the start of its synchronization efforts with ERCOT. Yes, Service Requests cutoff notifications will be provided. The CIM schema will be in a state that all ERCOT systems recognize. To say that the schema is "finalized" would not be entirely correct. The current finalization effort has been underway for sometime by ERCOT and its major vendors.
6 | CNP | 5 | 2 | Prior to the start of the SEM Go-Live date, the Market Participant User Security Administrator (MP USA) shall enter/validate roles for Market Participant employees into the nodal Market Participant Identity Management system (MPIM) Comment: (I am not sure where this paragraph falls into the sequence of activities. Should this be identified in the sequence of Activities above as a line item? Otherwise should this paragraph be relocated to sections 3.2 and 3.3 - MP Responsibilities? ) | Clarification | The activity described is included in the tasks as "ERCOT opens NMMS integrated with MPIM for TSP testing"
7 | CNP | 5 | 3 | Does ERCOT need to also establish temporary business processes for the following activities? (a) Managing Zonal model update during the transition period. | Clarification | ERCOT has established activities related to providing Zonal model updates but will continue to follow the Zonal Business Processes associated with model updates
8 | ONCOR | 6 | 3.1.1 | What is the control process and Market Particpants review process for the CIM Schema once the SEM Go-Live process starts? | Clarification | CIM Schema changes will be handled internally at ERCOT due to the nature of the activity. Appropriate notice and information will be provided to the Market Participants via the NDSWG and TPTF committees
9 | ONCOR | 6 | 3.1.1 | What is the control process and Market Participants review process for the Validation Rules document once SEM starts | Clarification | Appropriate notice and information will be provided to the Market Participants via the NDSWG and TPTF before implementation of the validation rules in the NMMS application.
10 | CNP | 6 | 3.1.1 | What is MP involvement in future (post SEM Go-Live) changes to CIM Schema? | Clarification | MPs will be notifed of proposed changes via the NDSWG and TPTF. Any new application features driven by changes (MP or ERCOT proposed) to the Protocols will have to take into consideration efforts to update CIM schema.
11 | CNP | 6 | 3.1.1 | The objective of the Data Consistency Check is to jump-start the nodal model building process by leveraging as much of the zonal model as possible to pre-populate (seed) NMMS Comment: (You may need to reword or delete. The objective is also restated in the next sentence.) | Accepted
12 | CNP | 6 | 3.1.1 | In parallel to the data consistency check, ERCOT shall also design, implement and test manual and automated rules based validations in the NMMS system. Comment: (The process for creating validation rule is expected to be long. This activity should be independent of the data consistency checks.) | Clarification | The activity is independent but is relevant to discuss.
13 | CNP | 7 | 3.1.1 | Would ERCOT model validation activities include data input by TDSP? This will provide and an independent source for input data to NMMS that need to be addressed prior to SEM Go-Live? | Accepted | Yes, data provided by TSPs will be used for model validation activities
14 | CNP | 7 | 3.1.3 | Deleted: In addition, ERCOT will train MPs on CIM tool.. To avoid disclaimers | Accepted | Changed to ERCOT will demonstrate use of CIM tool
15 | CNP | 7 | 3.1.4 | The SEM Go_Live sequence is the sequence of activitites starting from “ERCOT Baseline …” till “NMMS ..in Production System.” | Accepted
16 | CNP | 7 | 3.1.4 | The First Notice shall be issued at least thirty (30) days prior to the SEM Go-Live date and the Second Notice shall be issues ten (10) days prior to the SEM Go-Live date. Comment: This description appears to contradict the table in 2.0. SEM GO-Live is an event that will happen prior to MP Model synchronization. TPTF and BOD certification is required. However, transition to Nodal protocol will happen post SEM and TSP validation (see the sequence of activities in 2.0,) The market notices are to happen following MP Model synchronization; and will serve as a notice for change in market protocol. | Accepted | Upon certification, ERCOT shall issue Notices alerting Market Participants of the remaining Nodal Protocol implementation dates relative to modeling.
17 | ONCOR | 7 | 3.1.5 | What is the control process and the MP’s review process for NMMS Modelling Guidelines document? | Clarification | Appropriate notice and information will be provided to the Market Participants via the NDSWG and TPTF before implementation of the validation rules in the NMMS application.
18 | ONCOR | 8 | 3.2 | • Sample NOMCR submissions: TSPs are encouraged to submit sample NOMCRs in CIM format to the EDS team (NetworkModelCoordinators@ercot.com)as this will assist ERCOT in its model validation activities Comment: this paragraph needs to be clarified that the purpose for MP data submittal is to validate that the Validation Rules and the alignment of the CIM Schema between ERCOT and the MP. This activity need to happen before the start of SEM.) | Accepted | TSPs are encouraged to submit sample NOMCRs in CIM format to the EDS team (NetworkModelCoordinators@ercot.com)as this will assist ERCOT in its model validation activities that include but are not limited to Validation Rule and CIM Schema verification efforts specifically related to Market Participants data submittals.
19 | CNP | 8 | 3.2 | (Do you need to add the MP USA – Security Administration activity here?) | Accepted
20 | CNP | 8 | 3.2 | Deleted: TSPs should review all topology data , equipment parameters and provide Service Requests as needed to correct any issues…. Comment: o (Is ERCOT Suggesting TDSPs validate the Zonal model prior to Nodal transition?) | Accepted | Text changed to: o TSPs should continue to review topology data, equipment parameters and provide Service Requests as needed to correct any issues, as Nodal Protocols place the responsibility for providing Transmission Element information with TSPs.
21 | CNP | 8 | 3.2 | o Prior to the ERCOT Network Model Validation tasks, outlined above in section 3.1.1, TSPs should submit Service Requests in advance of the zonal required timeline, when possible Comment: How much lead-time does ERCOT need? | Accepted | Text changed to: TSPs should submit Service Requests at least two (2) months in advance of the zonal required timeline, when possible.
22 | CNP | 9 | 3.3 | (Do you need to add the MP USA – Security Administration activity here?) | Not Accepted | REs do not access the NMMS tool. RARF process is already in place and is being followed by REs
23 | CNP | 9 | 5 | Comment: For new projects,timeline will be based on prevailing protocol at the time the project is submitted to NMMS. For synchronization changes ERCOT and TDSP need to reach a mutually agreeable time line for processing changes. | Accepted | Changed wording to " During this period, ERCOT and TSPs shall make best efforts to follow the timelines and business processes as outlined in Nodal Protocol § 3.10 for model change requests. All applicable reporting metrics during the transition period will be considered ‘test’ as the Nodal Protocols are not in effect.
24 | ONCOR | 9 | 5.1 | ERCOT shall make efforts every effort to process NOMCRs in an expedited fashion during the transition period. | Accepted
25 | ONCOR | 9 | 5.1 | ERCOT shall begin posting of all NOMCRs for all new projects submitted to ERCOT within five (5) Business Days of receipt, as required by Nodal Protocol § 3.10 (8). | Not Accepted | The comment provided excludes a large number of possible model changes as written. ERCOT does not support this proposal.
26 | ONCOR | 9 | 5.1 | Comment: Because the information that ERCOT would like to post to MIS is restricted information under the Zonal Protocol, till the time that Nodal Protocols become active ERCOT must insure that all NMMS postings are protected and QSEs and REs cannot access this information till after the transition to the Nodal Protocols have been completed.) | Not Accepted | The information is not restricted under Zonal Protocols. The comment appears to interject possible non-transparency of model data changes which does not appear to be in the best interest of all Market Participants.
27 | ONCOR | 9 | 5.1 | All NOMCRs that are indicated as part of Network Model Synchronization activities will not be posted. | Not Accepted | The comment provided excludes a large number of possible model changes as written. ERCOT does not support this proposal.
28 | ONCOR | 10 | 5.2 | TSPs should will submit NOMCRs to the NMMS tool to implement support the Nodal Protocols. | Accepted
29 | ONCOR | 10 | 5.2 | All change requests shall follow the timelines as outlined in the Nodal § 3.10 active Protocol at the time of submission. | Clarification | updated document to be consistent with 5.0
30 | ONCOR | 10 | 5.2 | Each TSP shall communicate to ERCOT once its model synchronization and verification activities are significantly complete to enable ERCOT to plan the transition to the Network Modeling Protocols identified Nodal Protocol Transition Plan. | Not Accepted | Each TSP shall communicate to ERCOT once the TSP believes that they have met the Nodal Protocols related to Network Model
31 | CNP | 10 | 5.2 | Deleted: TSPS shall submit NOMCRs to be compliant with the following Nodal Protocols Modified: During this time TSPs shall submit NOMCRs and perform activities as outlined in the Nodal Protocol § 3.10 and ERCOT Nodal Transition Plan § 5.4.1 (2) . | Accepted
32 | CNP | 10 | 5.2 | In addition, any topological or commercial aspects should be resolved by the TSPs. Comment: What is this? | Clarification | This is considered to be general model maintenance
33 | ONCOR | 10 | 5.3 | Any changes to the RARF data or new construction projects shall follow the timelines as outlined in the Nodal § 3.10 active Protocol at the time of submission. | Accepted
34 | CNP | 10 | 5.3 | Deleted: In support of the 168-Hour Test, REs should ensure that all near term construction projects are submitted to ERCOT within adequate timelines to be entered as NOMCR requests into the NMMS tool | Accepted
35 | ONCOR | 11 | 6.1 | Once all TSPs have communicated to ERCOT that they have significantly completed the activities listed in Section 5.2 of this procedure, ERCOT shall begin the approval sequence for transition to Network Modeling Protocols identified in Nodal Protocol Transition Plan | Not Accepted | Each TSP shall communicate to ERCOT once the TSP believes that they have met the Nodal Protocols related to Network Model
36 | CNP | 11 | 6.2 | Deleted: In support of the 168-Hour test, TSPs should ensure that all near-term construction projects are adequately represented in the model. | Accepted
37 | ONCOR | 12 | 8 | ERCOT shall post to the Quality Center on Nodal Readiness center, within a reasonable time two business days after receiving notice of an issue, a summary of all outstanding software and hardware issues related to SEM Go-Live | Clarification | changed to weekly