August 5, 2008

Jill Traffanstedt, LCRA

RE: 	SIG0006 Flowgate Modeling White Paper v2.0

General Comments:

# 1 - Problem Statement

This SIG Paper considers allocation, trading and settlements of FGRs within CRR and DAM systems.  The focus is on McCamey Area where FGRs are allocated to Wind Generation Resources (WGRs) that could be traded in annual and monthly CRR Auctions. These FGRs are settled at DAM clearing prices. In the event that ERCOT is unable to execute the DAM, ERCOT shall pay based on the time-weighted Shadow Price of each SCED interval.

- SIG0008 Non-Modeled Generation

On page 5, add the text in green:

| S&B | - Settled in Real-Time by Load Imbalance (Section 6.6.3.2, Real-Time Energy Imbalance Payment or Charge at a Load Zone) - S&B must be aware of which Load Zone each “non-modeled” generation belongs to. - TSP and DSP is responsible for supplying ERCOT with meter data, meter data is not required from: - Generation owned by a NOIE and used for NOIE’s self-use (not serving Customer Load); and - Renewable generation with a design capacity less than 50 kW interconnected to a DSP and not registered as a Generation Resource |
| --- | --- |