2705 West Lake Drive

Taylor, Texas 76574

(512) 248-6800

HTTP://WWW.ERCOT.COM

SIG0011 Net Generation

Version 4.0

Sai Moorty

08/21/2008

Revision History

| Revision | Comments | Date | Author |
| --- | --- | --- | --- |
| V1.0 | Initial Version | 04/15/2008 | Sai Moorty |
| V2.0 | Updated to include implementation plan. Solution design complete. | 05/20/2008 | Sai Moorty |
| V3.0 | Removed implementation verification | 06/11/2008 | Tobi Brenner |
| V4.0 | Incorporated comments from Market Participants received after the 7-21-08 release. | 08/21/08 | Kenneth Ragsdale |

Table of Contents

1 - Problem Statement	4

2 - Solution Design	5

3 – Implementation Activities	6

4 – Comments	6

# 1 - Problem Statement

The definition of Net Generation from a generation resource and its use by ERCOT systems needs clarity. The need for clarity is mainly for PUN facilities with PUN load and generation facilities serving associated loads (i.e. station auxiliary loads) from a common switchyard that meets the  400 yard rule defined in Protocol 10.3.2.3 (3).

The two definitions of Net Generation from a generation resource are listed below:

Definition 1: This definition is being used for Go-Live by All Nodal Systems: Net Generation for a Generation Resource is defined as:

Net Generation from a generation resource = MAX (0, Gross Generation Unit Output – (Generation Unit Auxiliary Load+ the amount of station auxiliary load assigned to the Generation Unit, as determined by the QSE/Resource Entity) – (the amount of PUN -load assigned to the Generation Unit, as determined by the QSE/Resource Entity in accordance with the guidelines described in SIG0002, Private Use Networks)).

- When the sum of TSP telemetry (if available) that represents injection into ERCOT at the point(s) of interconnection with the ERCOT Transmission Grid is positive (import into ERCOT from Generation facility) then the sum of Net Generation from generation resources in a facility MUST match the sum of TSP telemetry at the point(s) of interconnection with the ERCOT Transmission Grid.  The generation resource telemetered LSL, HSL, AS responsibility/schedule and Net Generation MWs should be consistent with each other.  In real time when the injection into ERCOT is positive i.e. ERCOT is importing from the generation facility then the Generation Facility must be completely serving its load (Unit Auxiliary, Station Auxiliary, PUN loads).

- When the sum of TSP telemetry that represents injection into ERCOT at the point(s) of interconnection with the ERCOT Transmission Grid is negative (export from ERCOT into Generation facility) then NET Generation MUST be zero. The telemetered LSL and Net Generation MWs should be equal to zero if online. The telemetered HSL should be consistent with telemetered upward AS Responsibility/schedules.

- If Generation Resource has obligation to provide Regulation Down Ancillary service then it is the responsibility of QSE to operate their Generation Resources such that in Real-Time, the difference of their telemetered Net MW and telemetered LSL at least covers their Regulation Down obligation. This could imply that the Generating facility may not be able to operate under Net Import from ERCOT.

Definition 2: This is an alternative definition that is NOT going to be implemented for Go-Live: Net Generation for a generator is defined as:

Net Generation = Gross – (Unit Auxiliary Load) – (amount of station auxiliary load as assigned to the Generation Unit by the QSE/Resource Entity).

The protocol sections that provide related information are:

- Section 2: Net Generation: “Gross generation less station auxiliary Load or other internal unit power requirements metered or adjusted to the point of interconnection with the ERCOT Transmission Grid at the common switchyard”.

- Section 3.10.7.2 (8):Modeling of Resources and Transmission Loads: “Loads associated with a Generation Resource in a common switchyard as defined in Section 10.3.2.3, Generation Netting for ERCOT Polled Settlement Meters, and served through a transformer owned by the Generation Entity is treated as an auxiliary Load and must be netted first against any generation meeting the requirements under Section 10.3.2.3, Generation Netting for ERCOT Polled Settlement Meters.”

- Section 3.10,7.3 (4): Modeling of Private use Networks: “ERCOT shall ensure the Network Operations Model properly models the physical effect of the loss of generators and transmission elements on the ERCOT Transmission Grid equipment loading, voltage, and stability.”

- Section 6.5.5.2 (a): Operational Data Requirements:” Net real power (in MW) as measured by installed power metering or as calculated in accordance with ERCOT Operating Guides based on metered gross real power and conversion constants determined by the Resource Entity and provided to ERCOT as a result of Section 3.7, Resource Parameters. Net real power represents the actual generation of a Resource for all real power dispatch purposes, including use in SCED, determination of HASL, HDL, LDL and LASL, and is consistent with telemetered HSL and LSL; “

- Section 10.3.2.3: Generation Netting for EPS Meters:

Definition 1 is consistent with Nodal protocols except for item 3) above for RUC.

# 2 - Solution Design

Definition 1 for Net Generation will be implemented by ALL Nodal systems for Go-Live.

The sum of the Net Generation that is used in the nodal system must be on the same basis as the total metered retail load that is used for retail meter settlement.  The relationship between sum Net Generation must be equal to ERCOT Load from a Load Forecasting perspective and the Load in the Load Forecasting system is equal to the retail metered load plus transmission and distribution losses. Care must be exercised to not introduce any generation into the sum of the Net Generation that not on the same basis as settled as retail loads.

Key Driving Points:

- Definition 1 for Net Generation will be implemented by ALL Nodal systems for Go-Live.

- Net Generation represents the output of Generation Resources injected  into the ERCOT Grid and NOT the physical Net Output of the Generation Resource.

- Definition 1 requires that the QSE or Resource Entity that is responsible for a facility utilizing a net metering arrangement or a PUN, with PUN Load, manage the provisioning of data for these Generation Resources as net injections (Surplus >0) into the ERCOT Grid for:

- Telemetry to ERCOT of Net Generation.

- Receipt of Base points from ERCOT and translating them to appropriate controls signals to control generation resource output.

- Submission of resource specific data to represent ONLY the net injection (surplus>0) into the ERCOT grid for COP, Three-Part-Offers, Energy Only Offers, AS Offers.

Design:

Refer to SIG PUN paper (SIG0002) for additional details on PUN.

# 3 – Implementation Activities

Refer to Implementation Activities of SIG PUN paper (SIG0002) and apply same logic to Self Serve Load facilities as for PUN.

# 4 – Comments

Please note that all implementation details will be maintained in the integrated schedule.