## Slide 1: Protocol Considerations for Developing CSC
1. If a transmission line is repeatedly the limiting (overloaded) element
2. Actual congestion cost
3. Projected congestion cost
4. Changes in generation or transmission
5. ERCOT operational experience

## Slide 2: Congestion Management Working Group Agreed
4 Zones – Houston, West, South,North
5 CSC’s
  North to Houston
  North to South
  South to North
  There should be a West to North
  There should be a North to West

## Slide 5: Why Pick Graham-Long Creek/ Graham-Cook Field Road
Most money spent (>$47 million)
ERCOT says it is easier (most likely to be active)
Better CRE’s available
More TCR’s available
It is the right one (What the protocols intended)