## Slide 1: QSE Managers Working Group
Meetings
23 July, 2008
30 July, 2008 (Web Ex)
Report to WMS
20 August, 2008

## Slide 2: QSE Managers Working Group WebEx
NERC audit of ERCOT scheduled for September 8-11, 2008
Balancing Authority tasks delegated to QSE’s
Three NERC Standards provided by ERCOT
QMWG reviewed and provided response back to ERCOT

## Slide 3: Standard EOP-001-0 — Emergency Operations Planning
R3.4. - Develop, maintain, and implement a set of plans for system restoration.
R7.3. - The Transmission Operator and Balancing Authority shall coordinate transmission and generator maintenance schedules to maximize capacity or conserve the fuel in short supply. (This includes water for hydro generators.)
R7.4. - The Transmission Operator and Balancing Authority shall arrange deliveries of electrical energy or fuel from remote systems through normal operating channels.

## Slide 4: Compliance/Performance Measures: LSL as % of HSL
Reviewed Draft PRR
Submitted to Revision Request
PRR773 Setting the LSL Requirement for WGRs

## Slide 5: ERCOT Operations Issues
WGRPP Forecast issues
MOS Public Reports – Policy on Query Rates Terms of Use Document
TML Availability – Solera servers will be replaced
Outage Scheduler issues with black start units and alternates.
ERCOT audit by TRE/NERC/FERC

## Slide 6: QMWG – Future Agenda Items
Wind QSE Resource Plan Update Timing
  Review ERCOT timeline and requirements
  Metrics for WGR only QSE’s
Next Meeting: Not set.