## Sheet1
EXAMPLE
Forward Looking Weekly Zonal Reserves
Zone x | Week x | Week y
Installed capacity (MW) | 10000 | 10000
Planned Generation Outage (MW) | -2000 | -2500
Generation EFOR (5%) | -500 | -500
Available generation | 7500 | 7000
Normal N-1 Import capability (MW) | 3000 | 3000
N-1 Import capability with planned TSP outage | 2000 | 1500
Total Available Generation and N-1 import capability | 9500 | 8500
Projected Peak Load | 8000 | 8500
Projected Zonal Reserve | 18.75% | 0%
Obviously, in week y there appears to be a reserve deficiency in Zone x and either the planned generation or planned transmission can be modified to yield a
more reliable scenario. Note that a production cost does not to be run and that these projections can be made way in to the future.