2705 West Lake Drive

Taylor, Texas 76574

(512) 248-6800

HTTP://WWW.ERCOT.COM

SIG 0009 Resource Node Location

Version 3.0

Kenneth Ragsdale

08/21/08

Revision History

| Revision | Comments | Date | Author |
| --- | --- | --- | --- |
| V1.00 | Initial Release Solution Design and Implementation Schedule are complete | 05/27/2008 | Kenneth Ragsdale |
| V 2.00 | *Added changes identified last week and when developing procedure. *Removed implantation schedule and verification | 06/06/08 06/11/08 | Kenneth Ragsdale Tobi Brenner |
| V 3.00 | Incorporated comments from Market Participants received after the 7-21-08 release. | 08/21/08 | Kenneth Ragsdale |

Table of Contents

1 - Problem Statement	4

2 - Solution Design	4

3 – Implementation Activities	11

4 – Comments	11

# 1 - Problem Statement

In the summer of 2007, it became apparent that the definition for “Resource Node” in the Nodal Protocols was at a very high level and did not provide all the information required by ERCOT and the Market Participants to identify the locations for the Resource Nodes.  Furthermore, many of the complexities associated with the Resource Nodes for Combined Cycle Plants and Private Use Networks (PUN) were not addressed in the protocols.

# 2 - Solution Design

A WMS task force was created in order to resolve the ambiguity with Resource Nodes in the Nodal Protocols.

Subsequently, NPRR 124 and a document titled “Procedure for Identifying Resource Nodes” have been written.  The document “Procedure for Identifying Resource Nodes was approved by WMS on 8-20-08.  These two documents should be used as a reference.

In addition to the Procedure for Identifying Resource Nodes, there is an effort (frequently referred to as MP 10) in which the Resource Entities “sign off” on the metering configuration and Resource Node location for each of its Resources.  It is expected that “MP 10” is an activity that will continue to be performed and should capture any changes that are made to the system.

Note that Resource Specific offers (3PO and AS offers) are made for the Resource and the submittal does NOT specify a Resource Node.

Design:

| Function Name | Design Decisions |
| --- | --- |
| Registration | Complete MP 10 with Market Participants and the Settlement Metering group. |
| NMMS | - Identify the location of the Resource Nodes as outlined in the document titled “Procedure for Identifying Resource Nodes”. - Provide a flag or information in the Data Dictionary so that MMS can differentiate the CCU and PUN Resource Nodes. - First locate the Resource Nodes for the single units and the units that make up the Combined Cycle Plants. Next, locate the PUN Resource Nodes. If there is a Resource Node already located at a location one would want to place a PUN Resource Node, do not place a PUN Resource Node. - Do not identify the DC-ties as Resource Nodes. (The DC-ties are Load Zones) - Do not identify the Block Load Transfer buses as Resource Nodes. - Do not identify Resource Nodes for “non-modeled” generators unless the Resource Entity has the correct EPS meters installed and has requested to have a Resource Node. |
| MMS | Execute price calculations as outlined in the Protocols and in the Procedure for Identifying Resource Nodes document. |
| CRR | - CCU Resource Nodes could be used as CRR sinks and sources. - PUN Resource Nodes could be used as CRR sinks and sources. - Resource Nodes within a PUN (or not within a PUN) could also be used as CRR sinks and sources. - CCU Resource Nodes within a PUN (or not within a PUN) could also be used as CRR sinks and sources. - Logical CCP Resource Nodes within a PUN (or not within a PUN) can not be used as CRR sinks and sources. |
| S&B | - The Settlements and Billing system should have all Resource Nodes including the Logical Resource Nodes and PUN Resource Nodes. |

# 3 – Implementation Activities

| MS | Milestone Description | Assigned to | Pred’r MS |
| --- | --- | --- | --- |
| 1 | Registration Complete MP 10 registration activities. | Raj Chudgar | N/A |
| 2 | NMMS Locate and name all Resource Nodes and provide one line diagram. | Linda Clarke | 1 |
| 3 | EMS None other than what has been outlined in the Combined Cycle SIG paper. | Dave Hackett | 2 |
| 4 | MMS Confirm MMS approach for Resource Node price calculations. | Murray Nixon | 2 |
| 5 | CRR Confirm the CRR system can recognize and adequately process the Resource Nodes | Beth Garza | N/A |
| 6 | S&B Confirm S&B system performs settlement as described above. | Raj Chudgar | N/A |

# 4 – Comments

Please note that all implementation details will be maintained in the integrated schedule.