Date: 	August 28, 2008

To:	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:	Consideration of Protocol Revision Requests and Nodal Protocol Revision Requests

The Protocol Revision Subcommittee (PRS) met and discussed several revision requests and presents the following Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs) to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR743, TCR Transition to CRR.  Proposed effective date: October 1, 2008.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR inserts provisions for Settlement during the transition from Transmission Congestion Rights (TCRs) to Congestion Revenue Rights (CRRs) based on the current nodal implementation timeline.  On 10/29/07, PRR743 and its Impact Analysis were posted.  On 12/13/07, PRS unanimously voted to table PRR743.  On 1/17/08, PRS unanimously voted to recommend approval of PRR743 as revised by ERCOT comments.  On 2/21/08, PRS reviewed the Impact Analysis and unanimously voted to forward PRR743 to TAC.  On 3/6/08, TAC unanimously voted to recommend approval of PRR743 as recommended by PRS.  On 4/15/08, the ERCOT Board Chairman instructed TAC to address how to handle refunds if the nodal market is not implemented on December 1, 2008.  On 8/21/08, PRS voted to recommend approval of PRR743 as amended by COPS comments.  There was one abstention from the Independent Generator Market Segment.

- PRR765, Time of Use Revisions [Profiling Working Group (PWG)].  Proposed effective date: November 1, 2008.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR revises existing Protocol language to comply with item (l) of P.U.C. Subst. R. 25.130, Advanced Metering.  PRR765 was posted on 6/10/08.  On 7/17/08, PRS unanimously voted to recommend approval of PRR765 as submitted.  On 8/21/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC.

- PRR772, Description of MCPE Cap and Shadow Price Cap Methodology - URGENT [ERCOT].  Proposed effective date: October 1, 2008.  Minor cost impact, managed under Operations and Management (O&M) budget; no additional full-time equivalents needed; minor system modifications to Scheduling, Pricing, and Dispatch (SPD) system; required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR clarifies ERCOT’s authority to take action to ensure that the Market Clearing Price of Energy (MCPE) does not exceed the system-wide offer cap established by the Public Utility Commission of Texas (PUCT) in P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region.  This PRR also proposes that the methodology to make the price adjustments be described in a separate document and that Market Participants be notified of any changes in the Shadow Price caps.  In addition, this PRR proposes to change the section title in Section 6.11.1, Balancing Energy Offer Cap Floor, to Balancing Energy Offer Floor, to avoid confusion.  A similar change is proposed for Section 6.11.2.  PRR772 was posted on 7/25/08.  On 7/30/08, PRS granted PRR772 Urgent status via email vote.  On 8/21/08, PRS recommend approval of PRR772 as amended by Austin Energy comments and as revised by PRS.  Credit review is pending.

NPRRs Recommended for Approval

- NPRR126, Section 19, Synchronization of Zonal Protocols [ERCOT].  Proposed effective date: upon Texas Nodal Market Implementation.  No incremental cost to ERCOT is anticipated; staffing impacts, if any, will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business functions, or grid operations and practices are anticipated.  This NPRR synchronizes zonal Protocol Section 19 with the current Nodal Protocols.  NPRR126 was posted on 4/14/08.  On 5/22/08, PRS unanimously voted to refer NPRR126 to the Transition Plan Task Force (TPTF) for review.  On 7/17/08, PRS unanimously voted to recommend approval of NPRR126 as amended by the Retail Market Subcommittee (RMS) comments dated 6/12/08.  On 8/21/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC.

Revision Requests Rejected

- PRR767, Issuance of Alerts for Certain Uses of Balancing Energy [ERCOT].    This PRR proposes a revision that allows ERCOT to issue an Alert pursuant to Section 5.6.5, Alert, instead of declaring an Emergency Condition when using zonal Balancing Energy to resolve flow limit violations for base case or post-contingency limiting elements that are not Commercially Significant Constraints (CSCs) or Closely Related Elements (CREs).  PRR767 was posted on 7/14/08.  On 7/16/08, the motion to grant PRR767 Urgent status failed via email vote.  On 8/21/08, PRS rejected PRR767 with five abstentions from the Consumer (1), Cooperative (1), Investor Owned Utility (IOU) (1) and Municipal (2) Market Segments.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the September 18th PRS Meeting

- PRR769, EECP Media Appeal Change [Operations Working Group].  Impact Analysis is pending.  This PRR removes the required energy conservation media appeal from Emergency Electric Curtailment Plan (EECP) Step 2 and allows ERCOT management to issue a media appeal for energy conservation at management’s discretion, without requiring ERCOT CEO authorization.  PRR769 was posted on 7/22/08.  On 8/21/08, PRS unanimously voted to recommend approval of PRR769 as submitted.  Credit review is pending.

- NPRR102, Implementation of PUC SUBST. R. 25.505(f), Publication of Resource and Load Information [TPTF].  Impact Analysis is pending.  This NPRR incorporates the disclosure requirements pursuant to paragraph (f) of P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region.  NPRR102 was posted on 2/12/08.  On 2/21/08, PRS unanimously voted to recommend approval of NPRR102 as revised by ERCOT comments.  On 3/20/08, PRS unanimously voted to table NPRR102 pending the development of the final Impact Analysis.  On 5/22/08, PRS unanimously voted to table NPRR102 pending development of the final Impact Analysis.

  - NPRR113, Load Resource Type Indicator for Ancillary Service (AS) Trades and Self-Arranged AS [ERCOT].  Impact Analysis pending.   This NPRR adds an indicator to Self-Arranged Ancillary Services and Ancillary Service Trades to reflect if Responsive Reserve (RRS) services are being provided from a Generation Resource, Controllable Load Resource, or non-controllable Load Resource.  NPRR113 was posted on 3/11/08.  On 3/20/08, PRS unanimously voted to refer NPRR113 to TPTF for review.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR113 as revised by TPTF comments.  On 5/22/08, PRS unanimously voted to table NPRR113 until the 6/19/08 PRS meeting pending the development of the final Impact Analysis.  Credit review is pending.

  - NPRR124, Resource Node Updated Definitions [ERCOT].  Impact Analysis pending.  This NPRR clarifies the definition of Resource Node and specifies the different Resource Node types that meet the Nodal Protocol requirements.  NPRR124 was posted on 4/10/08.  On 4/18/08, PRS unanimously voted to refer NPRR124 to TPTF for review.  On 6/19/08, PRS unanimously voted to again refer NPRR124 to TPTF for further clarification.  On 7/17/08, PRS unanimously voted to recommend approval of NPRR124 as amended by TPTF comments and as revised by PRS.

  - NPRR128, Combined Cycle Power Blocks with Multiple Voltage Interconnections [Calpine]. Impact Analysis pending. This NPRR eliminates the unnecessary restriction that requires all Generation Resources in a combined cycle power block to be connected to the bulk electric system at the same voltage level.  This change must be made for similarly-situated combined cycle units to effectively participate in the very important nodal 168-hour test.  Re-done Resource Asset Registration Forms (RARFs) must also be constructed and validated prior to implementing these changes.  NPRR128 was posted on 4/25/08.  On 5/22/08, PRS unanimously voted to refer NPRR128 to TPTF for review.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR128 as submitted.  On 7/17/08, PRS unanimously voted to table NPRR128 pending development of an Impact Analysis.

- NPRR129, Section 15, Synchronization of Zonal Protocols [ERCOT].  Impact Analysis pending.  This NPRR synchronizes zonal Protocol Section 15 with the current Nodal Protocols and moves Section specific definitions and acronyms to Nodal Protocol Section 2, Definitions and Acronyms.  NPRR129 was posted on 5/1/08.  On 5/22/08, PRS unanimously voted to refer NPRR129 to TPTF for review.  On 8/21/08, PRS voted to recommend approval of NPRR129 as amended by ERCOT comments with one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].  Impact Analysis pending.  This NPRR allows all QSEs, whether they represent Resources, Loads, or both, to procure Ancillary Services in the Day-Ahead Market (DAM).  NPRR131 was posted on 5/15/08.  On 5/22/08, PRS unanimously voted to refer NPRR131 to TPTF for review.  On 6/19/08, PRS voted to recommend approval of NPRR131 as amended by TPTF comments.  There were two abstentions from the IREP and Consumer Market Segments.  On 7/17/08, PRS unanimously voted to table NPRR131 pending development of an Impact Analysis.  Credit review is pending.

  - NPRR134, Section 7 Cleanup [TPTF].  Impact Analysis pending.  This NPRR adds clarifications to the variables that are used in setting McCamey flowgates and proposes corrections to flowgate formulae and clarifying variables and subscripts.  This NPRR also proposes revisions that streamline the OBLRACT and OPTRACT calculations, but maintain the intent of the original calculations.  NPRR134 was posted on 6/5/08.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR134 as submitted.  On 7/17/08, PRS unanimously voted to table NPRR134 pending development of an Impact Analysis.

  - NPRR138, Credit Monitoring and Management Reports [Credit WG].  Impact Analysis pending.  This NPRR will require ERCOT to post on the Market Information System (MIS) Certified Area, each active Counter-Party’s Credit Monitoring and Management related reports twice a day (by noon and end of day) on Business Days.  NPRR138 was posted on 7/11/08.  On 8/21/08, PRS voted to recommend approval of NPRR138 as amended by TPTF comments with one abstention from the Consumer Market Segment.  Credit Review is pending.

- NPRR144, Five RUC Deployments Needed Before Requiring Verifiable Costs [Verifiable Costs Working Group (VCWG)].  Impact Analysis pending.  This Nodal Protocol Revision Request (NPRR) will increase the time Qualified Scheduling Entities (QSEs) and Resources have to prepare verifiable cost submissions for units that are unlikely to be struck in the Reliability Unit Commitment (RUC) process.  NPRR144 was posted on 7/25/08.  On 8/21/08, PRS voted to recommend approval of NPRR144 as amended by TPTF comments with one abstention from the Consumer Market Segment.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR754, Resource Settlement Due To Forced Transmission Outage [FPL Energy].  Impact Analysis is pending.  This PRR clarifies that Qualified Scheduling Entities (QSEs) scheduling Generation Resources will receive Out of Merit Energy (OOME) Down to zero Verbal Dispatch Instructions (VDIs) when a Transmission Facility Forced Outage trips a Generation Resource Off-line. PRR754 was posted on 2/4/08.  On 3/20/08, PRS voted to refer PRR754 to the Wholesale Market Subcommittee (WMS).  There was one abstention from the Consumer Market Segment.  On 5/22/08, PRS unanimously voted to table PRR754 until the 6/19/08 PRS meeting.  On 7/17/08, PRS discussed PRR754 and continued to table the PRR pending comments to be provided for the 8/21/08 PRS meeting.  On 8/21/08, PRS unanimously vote to table PRR754 until the September 18th PRS meeting.  Credit review is pending.

- PRR768, TDSP Energy Storage for Reliability [AEP].  Impact Analysis is pending.  This PRR inserts new paragraph (6)(c) in Section 10.3.3.1 which clarifies that energy flows, from Transmission and/or Distribution Service Provider (TDSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement.  This new paragraph will be limited to ERCOT Board endorsed TDSP reliability projects.  PRR768 was posted on 7/21/08.  On 8/21/08, PRS voted to table PRR768 until the PUCT issues a decision regarding the AEP filing.  There was one opposing vote from the IOU Market Segment and two abstentions from the IOU and Municipal Market Segments.  Credit review is pending.

- PRR771, Ramp Rate Limitation of 10% per minute of On-Line Installed Capacity for Wind-powered Generation Resources [Reliability and Operations Subcommittee (ROS)].  Impact Analysis is pending.  This PRR proposes a requirement for Wind-powered Generation Resources (WGRs) to limit the ramp rate to 10% per minute of On-Line installed capability.  PRR771 was posted on 7/25/08.  On 8/21/08, PRS unanimously voted to table PRR771.  Credit Review is pending.

- NPRR135, Deletion of UFE Analysis Zone Language [ERCOT].  Impact Analysis pending.  This NPRR deletes an outdated section pertaining to Unaccounted for Energy (UFE) analysis.  NPRR135 was posted on 6/20/08.  On 7/17/08, PRS unanimously voted to table NPRR135 pending development and approval of a corresponding PRR.  Credit review is pending.

- NPRR136, Interim Solution for 15-Minute Settlement of Advanced Meters [AEP Texas].  Impact Analysis pending.   This NPRR will support the interim settlement of all provisioned Advanced Meters using actual fifteen minute data, the same way IDR meters are settled today, until the long-term solution developed by Project 34610, Implementation Project Relating to Advanced Metering, or future rulemakings is implemented.  NPRR136 was posted on 6/20/08.  On 7/17/08, PRS unanimously voted to table NPRR136 pending approval of PRR766.   Credit review is pending.

- NPRR141, TDSP Energy Storage for Reliability [AEP].  Impact Analysis pending.  This NPRR inserts new paragraph (f)(iii) in Section 10.3.3.1 which clarifies that energy flows, from Transmission and/or Distribution Service Provider (TDSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement.  This new paragraph will be limited to ERCOT Board endorsed TDSP reliability projects.  NPRR141 was posted on 7/11/08.  On 8/21/08, PRS voted to table NPRR141 until the PUCT issues a decision regarding the AEP filing.  There was one opposing vote from the IOU Market Segment and two abstentions from the IOU and Municipal Market Segments. Credit review is pending.

- NPRR145, PPAs as Resource-Specific Verifiable Costs Documentation [Verifiable Costs Working Group (VCWG)].  Impact Analysis pending.  This NPRR allows Power Purchase and Tolling Agreements (PPAs) to be used as Resource-specific verifiable costs documentation.  NPRR145 was posted on 7/25/08.  On 8/21/08, PRS voted to table NPRR145 until the September 18th PRS meeting with two abstentions from the IOU and Independent Power Marketer (IPM) Market Segments.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

- NPRR137, Synchronization and Update of Section 21 [ERCOT].  Impact Analysis pending.  This NPRR synchronizes the Zonal Protocol Section 21 with the Nodal Protocols, revises the title of this Section to properly reflect its scope to include System Change Requests (SCRs), and updates the process to reflect current practice.  This NPRR also incorporates PRR753, PRR Appeals Process.  NPRR137 was posted on 6/24/08.  On 7/17/08, PRS voted to refer NPRR137 to the TPTF for review.  Credit review is pending.

- NPRR139, ACL, EAL, FCE Calculation Updates [ERCOT].  Impact Analysis pending.  This NPRR excludes Congestion Revenue Right (CRR) activity from Daily Liability Extrapolated (DALE) and Average Daily Transaction Extrapolated (ADTE) calculations, eliminates “two day” requirement for prepays, and also ERCOT to use appropriate auction clearing prices if the DAM is executed but specific DAM Settlement Point Prices are not available.  This NPRR also removes 90% from the Available Credit Limit (ACL) definition.  NPRR139 was posted on 7/11/08.  On 8/21/08, PRS unanimously voted to refer NPRR139 to the TPTF for review.  Credit review is pending.

- NPRR140, Revision to CRR Obligation Margin Adder [J. Aron].  Impact Analysis pending.  This NPRR revises the margin adder for Point-to-Point (PTP) Obligations to a value “X” to be determined by the Subcommittee process.  NPRR140 was posted on 7/14/08.  On 8/21/08, PRS unanimously voted to refer NPRR140 to the TPTF for review.  Credit review is pending.

- NPRR142, EECP Media Appeal Change [Operations Working Group (OWG)].  Impact Analysis pending.  This NPRR removes the required energy conservation media appeal from EECP Step 2 and allows ERCOT management to issue a media appeal for energy conservation at management’s discretion, without requiring ERCOT CEO authorization.  NPRR142 was posted on 7/22/08.  On 8/21/08, PRS unanimously voted to refer NPRR142 to the TPTF for review. Credit review is pending.

- NPRR143, Section 9.9.1, Invoice Recipient Payment to ERCOT for the CRR Auction  [ERCOT].  Impact Analysis pending.  This NPRR corrects conflicting language in Section 9.9.1 and Section 16.11.6.1.5, Declaration of Forfeit of CRRs, by removing language regarding forfeiture of Congestion Revenue Rights (CRRs) from Section 9.9.1.  NPRR143 was posted on 7/25/08.  On 8/21/08, PRS unanimously voted to refer NPRR143 to the TPTF for review.  Credit review is pending.

- NPRR146, ICCP Telemetry Information Submittals [AEP].  Impact Analysis is pending.  This NPRR changes the ICCP telemetry information submittal from 90 days to 7 days.  NPRR146 was posted on 7/31/08.  On 8/21/08, PRS unanimously voted to refer NPRR146 to the TPTF for review.  Credit review is pending.

- NPRR147, DAM Short Pay Charges [Wholesale Market Subcommittee (WMS)].  Impact Analysis is pending.  This NPRR changes the way short pays to the Day-Ahead Market (DAM) are handled.  This NPRR reallocates short payments using a procedure that draws from the Congestion Revenue Right (CRR) Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the TPTF for review.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the September 18, 2008 PRS Meeting

- NPRR148, Treatment of Financial Information as Confidential [J. Aron].  Impact Analysis is pending.  This Nodal Protocol Revision (NPRR) clarifies that non-public financial information provided to ERCOT is to be treated as Protected Information.  NPRR148 was posted on 8/15/08.  Credit review is pending.

- NPRR149, Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA) [ERCOT].    Impact Analysis is pending.  This Protocol Revision Request (PRR) changes the name of the Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA).  NPRR149 was posted on 8/22/08.  Credit review is pending.

- PRR770, Deletion of UFE Analysis Zone Language [ERCOT[.  Impact Analysis is pending.  This PRR deletes an outdated Section pertaining to Unaccounted for Energy (UFE) analysis.  PRR770 was posted on 7/24/08.  Credit review is pending.

- PRR773, Setting the LSL Requirement for WGRs [QSE Managers Working Group (QMWG)].  Impact Analysis is pending.    This Protocol Revision Request (PRR) requires that a Wind-powered Generation Resource (WGR) Low Sustainable Limit (LSL) to be set at 10% of the name plate rating of the WGR.  PRR773 was posted on 7/28/08.  Credit review is pending.

- PRR774, Treatment of Financial Information as Confidential [J. Aron].  Impact Analysis is pending.   This Nodal Protocol Revision Request (NPRR) clarifies that non-public financial information provided to ERCOT is to be treated as Protected Information.  PRR774 was posted on 8/15/08.  Credit review is pending.

- PRR775, Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA) [ERCOT].  Impact Analysis is pending.  This Protocol Revision Request (PRR) changes the name of the Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA).  PRR775 was posted on 8/22/08.  Credit review is pending.