## Slide 1: ROS Report for September 4, 2008 TAC Meeting
Paul Rocha
ROS Chair
Notes: <number>

## Slide 2: TAC Voting Items (approved at ROS August meeting)
OGRR211
  “Deletion of References to Back-to-Back Import Capacity”
Notes: <number>

## Slide 3: Other ROS Meeting Highlights
OGRR208, “Voltage Ride-Through (VRT) Requirement”
  Addresses Wind Generation Resources, which are exempt from existing requirements
  Remanded back to OWG for additional work on grandfathering provisions
Black Start Analysis
  Discussed thoroughness of black start plan simulations
  Additional simulation ability expected in 2010
  Voted to sponsor PRR proposing to extend Black Start selection cycle to two years to enable additional simulation and training of plan
Reserve Discount Factor (RDF) Revision
  Reviewed and approved reductions in RDF proposed by ERCOT
Single Entry Model (SEM) Approach Draft Document
  Endorsed by ROS
Notes: <number>

## Slide 4: DWG Update: Study of LaaR Capability for Current RRS Level
Major effort to tune dynamic governor models
  Inherently labor-intensive
  New combined cycle governor models required considerable data tuning to match performance observed in historical events
Remaining Tasks
  Finalize simulation details
  Do the simulations, iterate as necessary – ERCOT Staff
  Interpret results, write draft report, finalize report after review
Recommendations to TAC expected 1Q 2009
Notes: <number>

## Slide 5
Questions
Notes: <number>