## Slide 1: 2009 CSC Background Information
September 4, 2008
TAC
Beth Garza

## Slide 2: 2009 CSC proposals
CSC | Scenario 3b | Scenario 3g | Scenario 3h | Scenario 3i
N_H* | Singleton-Obrien/ Singleton-TH Wharton 345-kV double circuit | Singleton-Obrien/ Singleton-TH Wharton 345-kV double circuit | Singleton-Obrien/ Singleton-TH Wharton 345-kV double circuit | Singleton-Obrien/ Singleton-TH Wharton 345-kV double circuit
N_S & S_N | Lake Creek-Temple/ Tradinghouse-Temple Pecan Creek 345-kV double circuit | Lake Creek-Temple/ Tradinghouse-Temple Pecan Creek 345-kV double circuit | Lake Creek-Temple/ Tradinghouse-Temple Pecan Creek 345-kV double circuit | Lake Creek-Temple/ Tradinghouse-Temple Pecan Creek 345-kV double circuit
W_N & N_W | Graham-Benbrook/ Graham-Parker 345-kV double circuit | Graham-Long Creek/ Graham-Cook Field Road 345-kV double circuit | Sweetwater-Long Creek/ Abilene Mulberry Creek-Long Creek 345-kV double circuit | Sweetwater-Long Creek/ Abilene Mulberry Creek-Long Creek 345-kV double circuit Clustered using post-contingency (Oklaunion-Fisher Road/Fisher Road-Bowman 345-kV) shift factors

## Slide 3: Summary of 2009 Base Case Info
 | Load MW | Installed Generation MW
Houston2008 | 21,931 | 21,246
North2008 | 28,276 | 32,595
South2008 | 18,733 | 20,239
West2008 | 3,981 | 11,123
--New-- | 552 | 4,811

## Slide 4: CSC Analysis – load moving zones
 | Scenario 3b | Scenario 3g | Scenario 3h | Scenario 3i
North to South | 1137.39 | 1156.4 | 1150.38 | 1150.38
South to Houston | 107.54 | 53.41 | 53.41 | 53.41
West to North | 4.97 | 762.08 | 780.98 | 761.63
West to South | 3.8 | 3.8 | 3.8 | 3.8
North to West | 7.63 | 0 | 0 | 0
total | 1261.33 | 1975.69 | 1988.57 | 1969.22

## Slide 5: CSC Analysis – generation moving zones
 | Scenario 3b | Scenario 3g | Scenario 3h | Scenario 3i
North to South | 0 | 0 | 0 | 0
South to Houston | 0 | 0 | 0 | 0
West to North | 0 | 832 | 2117.67 | 1468
West to South | 0 | 0 | 0 | 0
North to West | 0 | 0 | 0 | 0
total | 0 | 832 | 2117.67 | 1468

## Slide 6: Selected 345kV lines