## Slide 1: Voltage Ride Through For Wind Generation Resources

## Slide 2: THE SYSTEM NEEDS MUST BE MET
NEW TECHNOLOGY WIND GENERATORS MEET THE NEW STANDARD AT A REASONABLE COST AND SHOULD BE REQUIRED
THE EXISTING AND FUTURE SYSTEM MUST BE ANALYZED BY COMPREHENSIVE STUDIES TO INSURE PLANNING AND OPERATING CRITERIA ARE MET

## Slide 3: NO DOCUMENTED NEED FOR RETROACTIVE REQUIREMENT
COST FOR COMPLIANCE IS SUBSTANTIAL
NO STUDY PUT FOREWORD DEMONSTRATING THAT THE EXPENDITURE SOLVES ANY KNOWN PROBLEM

## Slide 4: GRANDFATHERING IS STANDARD PRACTICE
ERCOT -- CONVENTIONAL GENERATION REACTIVE REQUIREMENTS
ERCOT -- WIND GENERATION REACTIVE REQUIREMENTS
ERCOT – POWER SYSTEM STABILIZERS
FERC -- WIND GENERATION VRT REQUIREMENTS
NERC – ALL GENERATION VRT REQUIREMENTS (NOT YET APPROVED)