## Slide 1: PDCWG Report to ROS September 11, 2008
Bob Green
PDCWG Chair
Garland Power & Light

## Slide 2
NERC CPS1 for August 2008 =133.03
NERC Twelve Month rolling Average CPS1 = 121.66

## Slide 6
133.03

## Slide 7
133.86

## Slide 8
88.98

## Slide 9
90.76

## Slide 11
ERCOT’s Performance to the Proposed New Balancing Authority ACE Limit Standard
Based on 1 minute averages of frequency
For ERCOT: FreqTrigLow=59.932 Hz FreqTrigHigh=60.068Hz
first minute: Event 5 minutes in a row: Alarm 30 min in a row: Violation

## Slide 12
Frequency Trigger Limit High = 60.068 Hz (Clock minute average frequency)
Above limit for 11 minutes. Violation = 30 minutes.

## Slide 13
Aug 11, 2008

## Slide 14: Comments
The PDCWG met on September 9 and 10.
The PDCWG has been working with the TRE to develop SAR-003, the CPS2 Waiver (BAL-001 Regional Variance).
The PDCWG continues analysis of Wind Generator inertia and governor response.
The PDCWG continues to discuss Nodal market expected control performance.
The next meeting is October 14 and 15.