## Slide 1
Texas Regional Entity Compliance Report
Larry Grimm
September 4, 2008
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 2: Texas RE Monthly Summary
TRE PUBLIC ROS September 4, 2008
For July……….
  Protocol & Operating Guides violations
    3 new violations
      1 UFLS violation involving 4 entities
      1 SCE violation
      1 Block Load Transfer violation
  NERC Standards violations
    No new alleged violations
  Reportable events
    2 new events reported
Notes: Texas RE TAC Report
<number>

## Slide 3: Texas RE Monthly Summary (cont.)
TRE PUBLIC ROS September 4, 2008
  Audits
    1 entity audited
    4 entities issued audit reports
    Audits are on schedule 100%
    Audit Reports are on schedule 100%
  Mitigation Plans in progress for NERC Standards
    1 resulting from self-reporting violations
    6 resulting from self-certification violations
  2 protocol mitigation plans completed
  Settlements
    4 settlements in progress
Notes: Texas RE TAC Report
<number>

## Slide 4: Performance Highlights
TRE PUBLIC ROS September 4, 2008
ERCOT’s Control Performance Standard (NERC CPS1) score for July = 133.86
Initial scores for July indicate 35 non-wind-only QSEs passed and 1 failed the SCPS2 measure
All 13 active wind-only QSEs or sub-QSEs failed the SCPS2 measure but currently have an exemption from this Protocol requirement
Notes: Texas RE TAC Report
<number>

## Slide 5: Texas Regional Entity
Report Details
Notes: Texas RE TAC Report
<number>

## Slide 6: NERC CPS1 Performance
TRE PUBLIC ROS September 4, 2008
ERCOT’s CPS1 Performance
  July Performance
    Monthly comparison
      2008: 133.86
      2007: 136.78
    12 month rolling average comparison
      August 2007 July 2008: 121.87
      August 2006 July 2007: 133.92
PRR 525 Performance
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores
Notes: Texas RE TAC Report
<number>

## Slide 7: ERCOT CPS1 Performance Comparison
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 8: ERCOT’s CPS1 Monthly Performance
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 9: ERCOT CPS1 by Time Interval
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 10: QSE PRR 525 10-Minute Interval Scoring
TRE PUBLIC ROS September 4, 2008
*Wind-only QSEs have an exemption from this Protocol requirement.
Notes: Texas RE TAC Report
<number>

## Slide 11: July 2008 – SCPS2 Scores
TRE PUBLIC ROS September 4, 2008
*Wind-only QSEs have an exemption from this Protocol requirement.
Notes: Texas RE TAC Report
<number>

## Slide 12: Six Month Average Wind-Only SCPS2 Scores
TRE PUBLIC ROS September 4, 2008
*Wind-only QSEs have an exemption from this Protocol requirement.
Notes: Texas RE TAC Report
<number>

## Slide 13: Total Number of Wind-Only QSEs
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 14: July 2008 Resource Plan Performance Metrics
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 15: Analysis of June 2008 Resource Plan Performance Metrics
TRE PUBLIC ROS September 4, 2008
Six entity ID’s had their first consecutive failing score (less than 90%)
* Indicates entity failed in more than one area
Two entity ID’s had their second consecutive failing score
AP Zonal | LSL as % of HSL
BT 88%* | CQ 89%
DA Zonal | Down Bid and Obligation
BT 87%* GS 86% HS 89% EU 86% JC 66% | DF 79% EU 86%
Total Up AS Scheduled | 
IN 84% | 
Notes: Texas RE TAC Report
<number>

## Slide 16: Registration Activities
TRE PUBLIC ROS September 4, 2008
NERC Entity Registration issues continue to be addressed and are being resolved
Load-Serving Entity (LSE) registration issues being addressed
  NERC made modifications to the registry criteria and posted for 30 days for public comment (the commenting period ended May 30th)
    NERC has received all comments for review.
  NERC BOTCC made a decision on changing the registry criteria and sent final analysis to FERC for their approval.
    NERC’s decision was to register all DP’s as LSE’s.
Appeals
  One entity appealing to FERC a NERC BOTCC decision upholding Texas RE’s decision to register the entity.
Notes: Texas RE TAC Report
<number>

## Slide 17: Registration Activities (continued)
TRE PUBLIC ROS September 4, 2008
Joint Registration Organization (JRO) of some entities remains likely
  JRO agreement forms and applications are available online at the Texas RE website.
ERCOT ISO, as a Transmission Operator (TOP) is in the process of negotiating with NERC registered Transmission Owners (TOs) to reach a TOP JRO agreement
  Up to 28 additional TOPs
  What this means to Texas RE – more and longer compliance audits and self-certifications
  There could be some DP JRO’s
Notes: Texas RE TAC Report
<number>

## Slide 18
TRE PUBLIC ROS September 4, 2008
2008 Audits by Registered Function
Notes: Texas RE TAC Report
<number>

## Slide 19: 2008 Compliance Audits Scheduled by Entity
TRE PUBLIC ROS September 4, 2008
The 2008 Texas RE Audit Schedule and completed NERC reports are available on the NERC Website.
Notes: Texas RE TAC Report
<number>

## Slide 20: Compliance Reviews of Events by Month
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>
NERC Expectations for Events are changing;
Not enough staff/resources
Events are more complicated, do not want to rush into a violation

## Slide 21: Analysis of the Compliance Reviews of Events by Month
TRE PUBLIC ROS September 4, 2008
Event Date | Event Name | Potential Violations | Needed
11/29/2007 | EECP Step 1 | IRO-005, R4 | Final Report - Draft Written
12/12/2007 | Possible DCS Event | Protocol 6.5.4 | Final Report - Draft Written
1/4/2008 | SPS Misoperation | PRC-016; PRC-017 | Under TRE Review
1/15/2008 | SPS Misoperation | Under TRE Review | Under TRE Review
1/21/2008 | SPS Misoperation | PRC-016; PRC-017 | Under TRE Review
2/19/2008 | Loss of Multiple Elements | Under TRE Review | Under TRE Review
2/24/2008 | SPS Misoperation | Protocol 7.2.3.3 | Under TRE Review
2/26/2008 | EECP Step 2 | TOP-002; Bal-002; BAL-005 Com-002; IRO-005 | Under TRE Review
2/28/2008 | SPS Misoperation | Protocol 7.2.3.3 | Under TRE Review
3/10/2008 | SPS Misoperation | Protocol 7.2.3.3 | Under TRE Review
3/13/2008 | SPS Misoperation | Protocol 7.2.3.3 | Under TRE Review
3/16/2008 | Under Freq Relay Ops | Under TRE Review | Under TRE Review
3/18/2008 | Possible DCS Event | Under TRE Review | Under TRE Review
3/21/2008 | SPS Misoperation | Protocol 7.2.3.3 | Under TRE Review
5/1/2008 | Volt Dev >5% on 345KV Sys | Under TRE Review | Under TRE Review
6/11/2008 | Comp Sys Fail: Loss of Primary and Backup | Protocol 12.4.4.1 | Under TRE Review
6/18/2008 | EECP Step 1 | Under TRE Review | Under TRE Review
7/27/2008 | SPS Misoperation | Under TRE Review | Under TRE Review
Notes: Texas RE TAC Report
<number>

## Slide 22: Violations of ERCOT Protocols
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>
What are the reasons for the drop off in ERCOT protocols starting in August 2007? CPS Performance has improved. Nine violations are the result of data gathering from pre August. In 2008, there are 2 violations from periodic measurements. Some of the pre-August Protocol Violations are the result of audits (4); most of our audits were performed before the 4th quarter of 2007. There were no violations found in audits after August 2007 (2007 or so far in 2008). No 2007 audits were conducted after September.
Are we focusing too much time on NERC standards and not enough on ERCOT protocols? Whenever there is an event, complaint, audit or self report, Texas RE looks at potential ERCOT Protocol violations as well as NERC Standard violations. Periodic data submittals are also performed once a month to asses ERCOT protocols.
Did ERCOT ISO stop reporting potential incidents to us in response to the go-live date for fines? ERCOT still reports incidents/complaints to Texas RE. Most of the incidents reported (12), within the last year, have dealt with LAAR violations that corresponded to events.
Is there any reason to believe we are not being provided the same level of information from the ISO as we did in the past? Yes. We have noted a reduction in incidents reported by the 24-hour desk. The last 24- hour desk incident related report was 07-02-2007. In review of the Nov 29, 2007 event, the ISO indicated an issue with performance of several QSEs but did not report this to Texas RE. Texas RE had to make specific requests to ERCOT ISO to obtain this information. LaaR incidents are being effectively reported and after August 2007 LaaR incidents made up the majority of the matters reported by the ERCOT ISO for review by Texas RE.
Reasons for Confirmed Not-Mitigated Violations in July and January- July has 2 LaaR violations and we are following up with completion of mitigation plans and January has 1 LaaR violations and we are following up with completion of mitigation plans

## Slide 23: Analysis of the Violations of ERCOT Protocols
TRE PUBLIC ROS September 4, 2008
There were 3 alleged violations of protocols in July 2008
July 2007 has 1 LaaR violation open
  Entity is currently in the process of completing their mitigation plan
Notes: Texas RE TAC Report
<number>

## Slide 24: Violations of NERC Standards Reported by Month
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>
Spike in October Explanation: Annual Self Certification performed, after self-certification reviewed by Texas RE, some resulted in violations
Spike in February Explanation: 2007 Self-Certification received from an entity (11), entity did not submit correctly filled out self certification in 2007; 2 from on-site audit

## Slide 25: Analysis of the Violations of NERC Standards Reported by Month
TRE PUBLIC ROS September 4, 2008
There were no violations of NERC standards reported in July.
16 Violations are in settlement negotiations.
6 Mitigation plans under review at NERC- pending NERC approval.
Notes: Texas RE TAC Report
<number>

## Slide 26: 2007 NERC Standards Self-Certification
TRE PUBLIC ROS September 4, 2008
NERC Registered Entities not audited in 2007 required to self-certify for the actively monitored Reliability Standards applicable to their Registration(s)
  279 Total Registered Functions
  25 violations identified
    9 FAC-008 – lack documented process (3 GOs)
    6 FAC-009 – lack documented process (3 GOs)
    4 CIP-001 – lack documented process (1 GOP)
    3 IRO-004 – lack documented process (2 GOs; 1 GOP)
    3 PRC-005 – relay maintenance delinquent (1 TO; 2 GOs)
Notes: Texas RE TAC Report
<number>

## Slide 27: 2007 NERC Standards Self-Certification Violation Status
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 28: 2007 NERC Standards Self-Certification Violation Details
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 29: NERC Standards Self-Reported Violations Pre-June 18th 2007
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 30: Risk Factors for Self-Reported NERC Standards Violations Pre-June 18th 2007
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>

## Slide 31: NERC Standards Self-Reported Violation Categorization Pre-June 18th 2007
TRE PUBLIC ROS September 4, 2008
Notes: Texas RE TAC Report
<number>