## Prelim Rec
2009 Closely Related Elements - Preliminary
(CSC Scenario 3i)
CSC_1 & 5: West to North & North to West
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE or CSC? | CRE Selection Reason | PTDF w/Oklaunion & Bowman | PTDF w/o Oklaunion & Bowman
W-N Stability Interface |  |  |  | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria.
1048 | TONKAWAWI_5 | 1430 | GRHAMSES1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | 14.71 | 15.64
1371 | MURRY_P8 | 1431 | GRHAMSES1_8 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | 3.38 | 3.87
1422 | BOWMAN_5 | 1425 | FISHRDSS1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | -5.89 | 0
1425 | FISHRDSS1_5 | 6100 | OKLA7A | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | -7.35 | 0
1430 | GRHAMSES1_5 | 1873 | BENBRK_5 | CSC_1 | Existing | Improved Operational control. | 7.22 | 7.24
1430 | GRHAMSES1_5 | 1436 | PARKER_5 | CSC_1 | Existing | Improved Operational control. | 8.19 | 8.32
1435 | LONGCREK_5 | 1430 | GRHAMSES1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | -7.46 | -9.61
1439 | LONCREK2_5 | 1442 | COKFIELD_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | 13.37 | 15.52
1440 | COMCHESS1_5 | 1900 | COMCHPKW_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | 11.33 | 12.14
1442 | COKFIELD_5 | 1430 | GRHAMSES1_5 | CSC_1 | Existing | Passed Protocols Section 7.2.3 criteria. | -5.62 | -7.77
6235 | ABMULCW7 | 71050 | L_BITTCR5_1N | CSC_1 | New | Improved Operational control. | -18.84 | -17.78
6444 | SARC7A | 1440 | COMCHESS1_5 | CSC_1 | New | Passed Protocols Section 7.2.3 criteria. | -12.51 | -13.32
60040 | BLF_CRK7A | 6230 | ABMULCE7 | CSC_1 | Existing | Improved Operational control. | -16.16 | -15.26
For CSC West to North Stability
the sum of flows for these six lines
LONG CREEK SWITCHING STATION – GRAHAM SES (345KV double circuit)
TONKAWA SWITCH – GRAHAM SES (345KV)
BOWMAN SWITCH – GRAHAM SES (345KV)
BOWMAN SWITCH – JACKSBORO SWITCHING (345KV)
SAN ANGELO CREEK – COMANCHE SWITCH TU (345KV)
CSC_2: South to North & North to South
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE or CSC? | CRE Selection Reason | PTDF w/Oklaunion & Bowman | PTDF w/o Oklaunion & Bowman
1907 | VENUS_N5 | 3405 | THOUSE__5 | CSC_2 | new | Improved Operational control. | -14.96 | -14.94
3402 | LAKE_CRK2_5 | 3405 | THOUSE__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | 9.52 | 9.52
3409 | LAKE_CRK1_5 | 3405 | THOUSE__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | -8.11 | -8.1
3413 | TEMPSSLT__5 | 3429 | SANDOW__5 | CSC_2 | new | Passed Protocols Section 7.2.3 criteria. | -17.57 | -17.56
3414 | TEMP_SS__5 | 3429 | SANDOW__5 | CSC_2 | new | Passed Protocols Section 7.2.3 criteria. | -17.67 | -17.66
3414 | TEMP_SS__5 | 3412 | TEMP_PEC__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | -16.92 | -16.91
3415 | TEMP_SS__8 | 3420 | TEMP_PEC__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | 2.58 | 2.58
3420 | TEMP_PEC__8 | 3410 | LAKE_CRK1_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | -2.64 | -2.64
3591 | WACOWOOD1_8 | 13591 | COTTONB_T_8 | CSC_2 | new | Passed Protocols Section 7.2.3 criteria. | -1.9 | -1.9
3675 | ROGERS1A_8 | 3415 | TEMP_SS__8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | -2.33 | -2.33
7040 | L_AUSTRO5_1Y | 3429 | SANDOW__5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | -17.47 | -17.45
7040 | L_AUSTRO5_1Y | 13429 | SAND_TXU_5 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | 17.36 | 17.35
7066 | L_ADAMSV8_1Y | 7068 | L_EVANT_8_1Y | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | 3.29 | 3.3
7068 | L_EVANT_8_1Y | 7070 | L_GOLDTH8_1Y | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | 3.29 | 3.3
7070 | L_GOLDTH8_1Y | 1655 | BRNWDSW_8 | CSC_2 | Existing | Passed Protocols Section 7.2.3 criteria. | -3.79 | -3.81
CSC_4: North to Houston
To Bus | To Bus Name | From Bus | From Bus Namd | CRE Id | Existing/New CRE or CSC? | CRE Selection Reason | PTDF w/Oklaunion & Bowman | PTDF w/o Oklaunion & Bowman
967 | GIBN_CREK_5 | 44500 | OBRIEN__345A | CSC_4 | Existing | Passed Protocols Section 7.2.3 criteria. | 15.24 | 15.23
3390 | JEWETT_S5 | 45500 | T_H_W___345B | CSC_4 | Existing | Passed Protocols Section 7.2.3 criteria. | 16.71 | 16.7
3391 | JEWETT_N5 | 46500 | TOMBAL__345B | CSC_4 | Existing | Passed Protocols Section 7.2.3 criteria. | 17.08 | 17.07
40600 | ROANS___345C | 45972 | KUYDAL755010 | CSC_4 | Existing | Improved Operational control. | 14.26 | 14.25
45971 | KUYDAL745005 | 40900 | KING____345A | CSC_4 | Existing | Improved Operational control. | -10.8 | -10.8
45972 | KUYDAL755010 | 40900 | KING____345A | CSC_4 | Existing | Improved Operational control. | -14.26 | -14.25
46500 | TOMBAL__345B | 45971 | KUYDAL745005 | CSC_4 | Existing | Improved Operational control. | -10.8 | -10.8
For Houston Voltage Stability
the sum of flows for these four lines
Jewett to TH Wharton
Jewett to Tomball
Gibbons Creek to O’Brien
Roans Prairie to Kuykendahl

## All Data
2009 CRE Results (CSC Scenario 3i) |  |  |  |  | Oklaunion-Bowman Closed |  | Oklaunion-Bowman Open
Bus Number | Bus Name | Bus Number | Bus Name | CRE_Candidate_CSC | Gen_Changed_Zone | Max_b | Gen_Changed_Zone | Max_b | PTDF w/Oklaunion & Bowman | PTDF w/o Oklaunion & Bowman
W-N Stability Interface |  |  |  | CSC_1 | 1527.67 | 0.015948 | 878 | 0.006024
1030 | MRGNCRK_5 | 1420 | SWEETWTR_5 | CSC_1 | 2008.2 | 0.0066211 | 2657.87 | 0.006394 | 18.2 | 18.44
1030 | MRGNCRK_5 | 71050 | L_BITTCR5_1N | CSC_1 | 2532.2 | 0.012141 | 3331.87 | 0.012194 | 11.99 | 10.93
1048 | TONKAWAWI_5 | 1430 | GRHAMSES1_5 | CSC_1 | 165.5 | 0.0034026 | 0 | 0.0023516 | 14.71 | 15.64
1318 | CHINAGRV_8 | 1398 | RADIUMMT_8 | CSC_1 | 24628 | 0.0014631 | 25781.67 | 0.0014431 | 1.99 | 1.91
1371 | MURRY_P8 | 1431 | GRHAMSES1_8 | CSC_1 | 23588.97 | 0.0016749 | 636 | 0.00074074 | 3.38 | 3.87
1421 | WILLOWCK_5 | 1429 | JACKSBRO_5 | CSC_1 | 2279.67 | 0.0097815 | 1630 | 0.007798 | -6.03 | -5.33
1421 | WILLOWCK_5 | 1436 | PARKER_5 | CSC_1 | 2929.67 | 0.013035 | 2280 | 0.0099341 | 6.03 | 5.33
1422 | BOWMAN_5 | 1425 | FISHRDSS1_5 | CSC_1 | 1551.67 | 0.0046053 |  |  | -5.89 | 0
1422 | BOWMAN_5 | 1429 | JACKSBRO_5 | CSC_1 | 3034.17 | 0.0024983 | 2458.5 | 0.00041204 | 4.36 | 1.91
1422 | BOWMAN_5 | 1430 | GRHAMSES1_5 | CSC_1 | 11966.72 | 0.0020961 | 23935.8 | 0.0044798 | -0.02 | -3.54
1425 | FISHRDSS1_5 | 6100 | OKLA7A | CSC_1 | 1450.67 | 0.0054646 |  |  | -7.35 | 0
1429 | JACKSBRO_5 | 988 | W_DENT_5 | CSC_1 | 2989.67 | 0.004388 | 2340 | 0.0061738 | -5.63 | -5.25
1430 | GRHAMSES1_5 | 1873 | BENBRK_5 | CSC_1 | 2929.67 | 0.010037 | 2280 | 0.0076748 | 7.22 | 7.24
1430 | GRHAMSES1_5 | 1436 | PARKER_5 | CSC_1 | 2279.67 | 0.0043625 | 1630 | 0.0028188 | 8.19 | 8.32
1430 | GRHAMSES1_5 | 1429 | JACKSBRO_5 | CSC_1 | 2178.67 | 0.0016248 | 1529 | 0.002604 | -7.3 | -8.67
1431 | GRHAMSES1_8 | 1601 | GRAHAME_8 | CSC_1 | 26638.47 | 0.0020612 | 25385.8001 | 0.0018421 | 4.82 | 4.84
1435 | LONGCREK_5 | 1430 | GRHAMSES1_5 | CSC_1 | 1450.67 | 0.0016139 | 801 | 0.00037748 | -7.46 | -9.61
1436 | PARKER_5 | 1869 | BENBRK_A_T5 | CSC_1 | 3825.17 | 0.026189 | 3175.5 | 0.024461 | 3.66 | 3.36
1439 | LONCREK2_5 | 1442 | COKFIELD_5 | CSC_1 | 636 | 0.00033153 | 636 | 0.00030992 | 13.37 | 15.52
1440 | COMCHESS1_5 | 1900 | COMCHPKW_5 | CSC_1 | 1510.67 | 0.021117 | 861 | 0.022568 | 11.33 | 12.14
1442 | COKFIELD_5 | 1430 | GRHAMSES1_5 | CSC_1 | 801 | 0.00044859 | 801 | 0.00041547 | -5.62 | -7.77
1468 | LKAROWHD_8 | 1470 | NEWPRT_P8 | CSC_1 | 2785.67 | 0.0022825 | 2196 | 0.0018916 | 1.83 | 1.57
1596 | GRAHAMSW_8 | 1599 | BARTON_8 | CSC_1 | 2195.67 | 0.0028057 | 2196 | 0.0027391 | 5.12 | 5.11
1599 | BARTON_8 | 1571 | ORAN1_8 | CSC_1 | 2315.67 | 0.0026161 | 2316 | 0.002534 | 0.51 | 0.52
1601 | GRAHAME_8 | 1596 | GRAHAMSW_8 | CSC_1 | 26035.47 | 0.0020792 | 1486 | 0.0023369 | -4.82 | -4.84
1624 | LEONSW_8 | 1642 | FLATCRK_T8 | CSC_1 | 2339.67 | 0.0066193 | 1690 | 0.0062822 | 3.07 | 3.14
1640 | LINGLVLL_P8 | 1641 | STPHNVIL_8 | CSC_1 | 2339.67 | 0.0065755 | 1690 | 0.0062306 | 0.26 | 0.33
1642 | FLATCRK_T8 | 1640 | LINGLVLL_P8 | CSC_1 | 2339.67 | 0.0065755 | 1690 | 0.0062306 | -0.26 | -0.33
6169 | PAIP4B | 1371 | MURRY_P8 | CSC_1 | 24110.97 | 0.001694 | 636 | 0.00074074 | -3.38 | -3.87
6235 | ABMULCW7 | 71050 | L_BITTCR5_1N | CSC_1 | 2028.2 | 0.012661 | 2827.87 | 0.012701 | -18.84 | -17.78
6235 | ABMULCW7 | 6100 | OKLA7A | CSC_1 | 1176.5 | 0.0081559 | 10864.55 | 0.065932 | -5.72 | 0.54
6444 | SARC7A | 1440 | COMCHESS1_5 | CSC_1 | 1450.67 | 0.0058607 | 801 | 0.0043883 | -12.51 | -13.32
60040 | BLF_CRK7A | 6230 | ABMULCE7 | CSC_1 | 9271.85 | 0.019117 | 33700.3501 | 0.040352 | -16.16 | -15.26
1906 | VENUS_S5 | 3405 | THOUSE__5 | CSC_2 | 3136.67 | 0.027715 | 2487 | 0.025997 | -13.85 | -13.83
1907 | VENUS_N5 | 3405 | THOUSE__5 | CSC_2 | 3136.67 | 0.013766 | 2487 | 0.013886 | -14.96 | -14.94
3402 | LAKE_CRK2_5 | 3405 | THOUSE__5 | CSC_2 | 946.67 | 0.0040851 | 297 | 0.0038645 | 9.52 | 9.52
3409 | LAKE_CRK1_5 | 3405 | THOUSE__5 | CSC_2 | 946.67 | 0.003378 | 297 | 0.0031914 | -8.11 | -8.1
3413 | TEMPSSLT__5 | 3429 | SANDOW__5 | CSC_2 | 0 | 0.0043162 | 0 | 0.0044796 | -17.57 | -17.56
3414 | TEMP_SS__5 | 3429 | SANDOW__5 | CSC_2 | 0 | 0.0043106 | 0 | 0.0044743 | -17.67 | -17.66
3414 | TEMP_SS__5 | 3412 | TEMP_PEC__5 | CSC_2 | 649.67 | 0.0007901 | 0 | 0.00047682 | -16.92 | -16.91
3415 | TEMP_SS__8 | 3420 | TEMP_PEC__8 | CSC_2 | 0 | 0.0010115 | 0 | 0.0010191 | 2.58 | 2.58
3420 | TEMP_PEC__8 | 3410 | LAKE_CRK1_8 | CSC_2 | 649.67 | 0.0010948 | 0 | 0.0011553 | -2.64 | -2.64
3591 | WACOWOOD1_8 | 13591 | COTTONB_T_8 | CSC_2 | 0 | 0.00072423 | 0 | 0.0007268 | -1.9 | -1.9
3675 | ROGERS1A_8 | 3415 | TEMP_SS__8 | CSC_2 | 0 | 0.0019829 | 0 | 0.0019928 | -2.33 | -2.33
7040 | L_AUSTRO5_1Y | 3429 | SANDOW__5 | CSC_2 | 1161 | 0.0059217 | 1161 | 0.0059899 | -17.47 | -17.45
7040 | L_AUSTRO5_1Y | 7045 | L_ZORN__5_2Y | CSC_2 | 7413.15 | 0.05053 | 6763.48 | 0.050809 | -12.51 | -12.51
7040 | L_AUSTRO5_1Y | 13429 | SAND_TXU_5 | CSC_2 | 1161 | 0.0059782 | 1161 | 0.0060479 | 17.36 | 17.35
7048 | L_GARFIE5_1Y | 7040 | L_AUSTRO5_1Y | CSC_2 | 4108 | 0.015355 | 4108 | 0.015463 | -12.67 | -12.66
7066 | L_ADAMSV8_1Y | 7068 | L_EVANT_8_1Y | CSC_2 | 649.67 | 0.01729 | 0 | 0.016646 | 3.29 | 3.3
7068 | L_EVANT_8_1Y | 7070 | L_GOLDTH8_1Y | CSC_2 | 0 | 0.015948 | 0 | 0.016646 | 3.29 | 3.3
7070 | L_GOLDTH8_1Y | 1655 | BRNWDSW_8 | CSC_2 | 0 | 0.018376 | 0 | 0.01918 | -3.79 | -3.81
967 | GIBN_CREK_5 | 44500 | OBRIEN__345A | CSC_4 | 649.67 | 0.0066416 | 0 | 0.0064231 | 15.24 | 15.23
3390 | JEWETT_S5 | 45500 | T_H_W___345B | CSC_4 | 851.2 | 0.0041438 | 851.2 | 0.0042291 | 16.71 | 16.7
3391 | JEWETT_N5 | 46500 | TOMBAL__345B | CSC_4 | 851.2 | 0.0040942 | 851.2 | 0.0041383 | 17.08 | 17.07
40600 | ROANS___345C | 45972 | KUYDAL755010 | CSC_4 | 2665 | 0.013287 | 3178.9999 | 0.011734 | 14.26 | 14.25
45971 | KUYDAL745005 | 40900 | KING____345A | CSC_4 | 4920.3999 | 0.012955 | 4920.3999 | 0.012876 | -10.8 | -10.8
45972 | KUYDAL755010 | 40900 | KING____345A | CSC_4 | 3248.1999 | 0.011456 | 3178.9999 | 0.011734 | -14.26 | -14.25
46500 | TOMBAL__345B | 45971 | KUYDAL745005 | CSC_4 | 4721.3999 | 0.01312 | 4721.3999 | 0.013039 | -10.8 | -10.8