## Slide 1: AS Procurement Results using Proposed Methodology

## Slide 2: Non-Spin for June
 |  |  |  |  |  | NSRS Procurement
Hour Ending | 95th Percentile of Net Load Error combining On- and Off- Peak | 95th Percentile of MTLF Error | 95th Percentile of WGRPP Error | Reg. Up Requirement for Upcoming Month | Average Reg. Up On- and Off- Peak | 95th Percentile of all On- and Off Peak Hour Separately
1 | 1443 | 882 | 1080 | 1105 | 847 | 596
2 | 1443 | 945 | 1153 | 835 | 847 | 596
3 | 1443 | 1135 | 818 | 735 | 847 | 596
4 | 1443 | 1077 | 894 | 610 | 847 | 596
5 | 1443 | 906 | 1008 | 615 | 847 | 596
6 | 1443 | 916 | 1004 | 895 | 847 | 596
7 | 2014 | 942 | 1296 | 735 | 853 | 1161
8 | 2014 | 998 | 1242 | 985 | 853 | 1161
9 | 2014 | 1194 | 1062 | 845 | 853 | 1161
10 | 2014 | 1313 | 1097 | 760 | 853 | 1161
11 | 2014 | 1593 | 1014 | 1065 | 853 | 1161
12 | 2014 | 1894 | 956 | 725 | 853 | 1161
13 | 2014 | 2108 | 1033 | 870 | 853 | 1161
14 | 2014 | 2285 | 944 | 680 | 853 | 1161
15 | 2014 | 2255 | 910 | 770 | 853 | 1161
16 | 2014 | 2272 | 897 | 735 | 853 | 1161
17 | 2014 | 1959 | 741 | 1175 | 853 | 1161
18 | 2014 | 1923 | 894 | 720 | 853 | 1161
19 | 2014 | 1671 | 533 | 705 | 853 | 1161
20 | 2014 | 1209 | 472 | 960 | 853 | 1161
21 | 2014 | 1201 | 1053 | 1115 | 853 | 1161
22 | 2014 | 1035 | 1002 | 810 | 853 | 1161
23 | 1443 | 1088 | 942 | 975 | 847 | 596
24 | 1443 | 1187 | 1128 | 1005 | 847 | 596

## Slide 3
Non-Spin for July
 |  |  |  |  |  | NSRS Procurement
Hour Ending | 95th Percentile of Net Load Error combining On- and Off- Peak | 95th Percentile of MTLF Error | 95th Percentile of WGRPP Error | Reg. Up Requirement for Upcoming Month | Average Reg. Up On- and Off- Peak | 95th Percentile of all On- and Off Peak Hour Separately
1 | 1968 | 1371 | 1064 | 1020 | 759 | 1209
2 | 1968 | 1351 | 808 | 635 | 759 | 1209
3 | 1968 | 1300 | 866 | 705 | 759 | 1209
4 | 1968 | 1297 | 1111 | 525 | 759 | 1209
5 | 1968 | 1489 | 1046 | 630 | 759 | 1209
6 | 1968 | 1623 | 1002 | 625 | 759 | 1209
7 | 2118 | 1628 | 1272 | 865 | 871 | 1247
8 | 2118 | 1858 | 983 | 930 | 871 | 1247
9 | 2118 | 1835 | 924 | 1325 | 871 | 1247
10 | 2118 | 1610 | 898 | 760 | 871 | 1247
11 | 2118 | 1920 | 976 | 795 | 871 | 1247
12 | 2118 | 2190 | 944 | 800 | 871 | 1247
13 | 2118 | 2526 | 885 | 1045 | 871 | 1247
14 | 2118 | 2532 | 739 | 790 | 871 | 1247
15 | 2118 | 2426 | 922 | 805 | 871 | 1247
16 | 2118 | 2305 | 884 | 850 | 871 | 1247
17 | 2118 | 1961 | 743 | 1165 | 871 | 1247
18 | 2118 | 2136 | 722 | 640 | 871 | 1247
19 | 2118 | 1682 | 533 | 545 | 871 | 1247
20 | 2118 | 1557 | 475 | 855 | 871 | 1247
21 | 2118 | 1504 | 521 | 1075 | 871 | 1247
22 | 2118 | 1384 | 819 | 695 | 871 | 1247
23 | 1968 | 1331 | 1002 | 1140 | 759 | 1209
24 | 1968 | 1528 | 1156 | 790 | 759 | 1209

## Slide 4
Non-Spin for August
 |  |  |  |  |  | NSRS Procurement
Hour Ending | 95th Percentile of Net Load Error combining On- and Off- Peak | 95th Percentile of MTLF Error | 95th Percentile of WGRPP Error | Reg. Up Requirement for Upcoming Month | Average Reg. Up On- and Off- Peak | 95th Percentile of all On- and Off Peak Hour Separately
1 | 2379 | 1584 | 1267 | 1000 | 844 | 1536
2 | 2379 | 1703 | 1110 | 730 | 844 | 1536
3 | 2379 | 1554 | 1279 | 800 | 844 | 1536
4 | 2379 | 1587 | 1200 | 665 | 844 | 1536
5 | 2379 | 1746 | 1145 | 695 | 844 | 1536
6 | 2379 | 1767 | 1255 | 905 | 844 | 1536
7 | 2197 | 2128 | 1316 | 635 | 818 | 1379
8 | 2197 | 2160 | 1177 | 910 | 818 | 1379
9 | 2197 | 1929 | 911 | 990 | 818 | 1379
10 | 2197 | 1731 | 1085 | 650 | 818 | 1379
11 | 2197 | 1686 | 1012 | 625 | 818 | 1379
12 | 2197 | 2053 | 935 | 725 | 818 | 1379
13 | 2197 | 2494 | 729 | 1050 | 818 | 1379
14 | 2197 | 2507 | 594 | 745 | 818 | 1379
15 | 2197 | 2375 | 676 | 805 | 818 | 1379
16 | 2197 | 2277 | 837 | 825 | 818 | 1379
17 | 2197 | 1955 | 710 | 1090 | 818 | 1379
18 | 2197 | 2108 | 451 | 760 | 818 | 1379
19 | 2197 | 1665 | 449 | 735 | 818 | 1379
20 | 2197 | 1539 | 436 | 785 | 818 | 1379
21 | 2197 | 1500 | 465 | 1010 | 818 | 1379
22 | 2197 | 1475 | 808 | 745 | 818 | 1379
23 | 2379 | 1500 | 1239 | 830 | 844 | 1536
24 | 2379 | 1756 | 1495 | 1125 | 844 | 1536

## Slide 5
Non-Spin for September
 |  |  |  |  |  | NSRS Procurement
Hour Ending | 95th Percentile of Net Load Error combining On- and Off- Peak | 95th Percentile of MTLF Error | 95th Percentile of WGRPP Error | Reg. Up Requirement for Upcoming Month | Average Reg. Up On- and Off- Peak | 95th Percentile of all On- and Off Peak Hour Separately
1 | 2390 | 1515 | 1548 | 840 | 731 | 1658
2 | 2390 | 1648 | 1322 | 875 | 731 | 1658
3 | 2390 | 1633 | 1584 | 600 | 731 | 1658
4 | 2390 | 1752 | 1460 | 600 | 731 | 1658
5 | 2390 | 1834 | 1244 | 605 | 731 | 1658
6 | 2390 | 1954 | 1335 | 625 | 731 | 1658
7 | 2069 | 2184 | 1414 | 1065 | 840 | 1229
8 | 2069 | 2154 | 1139 | 630 | 840 | 1229
9 | 2069 | 1924 | 732 | 950 | 840 | 1229
10 | 2069 | 1727 | 706 | 835 | 840 | 1229
11 | 2069 | 1758 | 772 | 935 | 840 | 1229
12 | 2069 | 2034 | 754 | 960 | 840 | 1229
13 | 2069 | 2287 | 569 | 810 | 840 | 1229
14 | 2069 | 2092 | 501 | 795 | 840 | 1229
15 | 2069 | 2113 | 656 | 880 | 840 | 1229
16 | 2069 | 2009 | 967 | 780 | 840 | 1229
17 | 2069 | 1624 | 789 | 765 | 840 | 1229
18 | 2069 | 1609 | 533 | 615 | 840 | 1229
19 | 2069 | 1264 | 699 | 885 | 840 | 1229
20 | 2069 | 1020 | 682 | 955 | 840 | 1229
21 | 2069 | 1433 | 809 | 1010 | 840 | 1229
22 | 2069 | 1484 | 1108 | 565 | 840 | 1229
23 | 2390 | 1514 | 1374 | 815 | 731 | 1658
24 | 2390 | 1768 | 1869 | 890 | 731 | 1658

## Slide 6
Regulation for August
IE | Up | Down
1 | 1000 | 985
2 | 730 | 750
3 | 800 | 820
4 | 665 | 770
5 | 695 | 665
6 | 905 | 730
7 | 635 | 985
8 | 910 | 855
9 | 990 | 625
10 | 650 | 715
11 | 625 | 850
12 | 725 | 820
13 | 1050 | 1005
14 | 745 | 790
15 | 805 | 680
16 | 825 | 790
17 | 1090 | 685
18 | 760 | 850
19 | 735 | 1010
20 | 785 | 765
21 | 1010 | 730
22 | 745 | 1205
23 | 830 | 1190
24 | 1125 | 1010
IE | Up | Down
1 | 1000 | 985
2 | 730 | 750
3 | 800 | 820
4 | 665 | 770
5 | 695 | 665
6 | 905 | 730
7 | 650 | 985
8 | 910 | 855
9 | 990 | 625
10 | 660 | 715
11 | 635 | 850
12 | 725 | 820
13 | 1050 | 1005
14 | 745 | 795
15 | 805 | 685
16 | 830 | 800
17 | 1090 | 695
18 | 760 | 850
19 | 735 | 1010
20 | 785 | 765
21 | 1010 | 730
22 | 745 | 1210
23 | 830 | 1190
24 | 1125 | 1010
Current Methodology
Proposed Methodology (Changed Values in Yellow)

## Slide 7
Regulation for September
IE | Up | Down
1 | 840 | 915
2 | 875 | 470
3 | 600 | 730
4 | 600 | 655
5 | 605 | 735
6 | 625 | 675
7 | 1065 | 825
8 | 630 | 1035
9 | 950 | 1080
10 | 835 | 745
11 | 935 | 695
12 | 960 | 895
13 | 810 | 765
14 | 795 | 730
15 | 880 | 720
16 | 780 | 790
17 | 765 | 825
18 | 615 | 690
19 | 885 | 1225
20 | 955 | 845
21 | 1010 | 1010
22 | 565 | 1445
23 | 815 | 1090
24 | 890 | 775
IE | Up | Down
1 | 850 | 915
2 | 875 | 470
3 | 600 | 730
4 | 600 | 655
5 | 605 | 735
6 | 630 | 675
7 | 1075 | 825
8 | 630 | 1035
9 | 965 | 1075
10 | 845 | 750
11 | 945 | 695
12 | 970 | 895
13 | 810 | 765
14 | 795 | 730
15 | 885 | 720
16 | 785 | 790
17 | 770 | 825
18 | 625 | 705
19 | 885 | 1225
20 | 955 | 845
21 | 1010 | 1020
22 | 565 | 1445
23 | 815 | 1090
24 | 890 | 785
Current Methodology
Proposed Methodology (Changed Values in Yellow)