## Slide 1: Congestion Management Work Group Update
Presented to WMS September 2008
Marguerite Wagner, PSEG

## Slide 2: July/Aug Work Summary
Progress Report
Met 8/27, (9/15 mtg cancelled –Hurricane Ike)
Discussed
  SP Cap Issues for Nodal
  West – North Stability Limit
  Outage Scheduling
  Competitive Constraint Test

## Slide 3: 2009 CSC/CREs
August TAC approved Scenario 3i
ERCOT developed/sent out preliminary CREs
BOD 9/16/08 Remand of CSC Decision to TAC
  Re-evaluate 3b, 3h, 3i
  Develop recommendation of CSC & CRE for next BOD meeting
To meet timeline, ERCOT will forward information to WMS & CMWG
  CMWG will not hold separate meetings for evaluation of updated information CSC/CRE
  All review will be conducted by WMS and TAC

## Slide 4: WN Stability Limit
WN Transfer Study Request from CMWG 8/27 to WMS
We have questions as to the validity and commercial impact of the WN Stability Limits. Recommend to WMS that ERCOT begin studies to refine/validate the existing limits recognizing that transient and voltage stability are also issues. We support ERCOT in producing an “optimal” interface for measure and then determine how best to implement it.
ERCOT PSS Survey

## Slide 5: Nodal SP Cap Recommendation
IMM SP Cap Recommendations discussed 8/27
No comments received to date on this issue
  Likely CMWG will recommend these values to WMS
Constraints:
  Base Case/Voltage/Cascading: $5,000/MW
  N-1
    345 kV: $4,500/MW
    138 kV: $3,500/MW
    69 kV: $2,800/MW
Power Balance:
  $3,001/MWh
  ERCOT has indicated that the ability to specify the power balance penalty factor as a curve is being developed

## Slide 6: Outage Evaluation Concepts Discussed 8/27/08
Luminant Proposal
  No change in outage scheduling process, timing, or reporting by TSPs or Resources
  A three sentence change to the protocols that would fit in both the Zonal and Nodal Protocols
  ERCOT would perform an economic analysis only on outages that they believe might be very “expensive” to the market. They could look for a more coordinated way to schedule the outages if there was time and discuss timing change with the TSP similar to the way they do today for reliability issues. This study would not be grounds for ERCOT to reject an outage.
  If a transmission outage were coordinated with a generation outage the generator would be informed. This would not restrict a generator from changing the outage.
  ERCOT would post on the MIS all outages that exceeded a preset economic value.
Along with TOs submitting 345 kV outages two months ahead of month in which it is scheduled to occur
Comments from Centerpoint (urging review of PURA requirements and noting that eco evaluation is a “major market policy change” & Horizon

## Slide 7: Comments on Outage Scheduling—not yet discussed by CMWG
Centerpoint
  generally supportive of more coordination of 345 outage submission timelines to assist TCR/CRR auctions
  Regarding economic outage evaluation
    urge review of PURA requirements
    note that economic outage evaluation is a “major market policy change”
    Recommending discussion of issue at TAC or PUC
Horizon
  Suggests ERCOT consideration of market participant comments in outage scheduling process along with some level of economic evaluation
    market participants would submit comments to ERCOT
    comments would not be grounds for rejecting an outage.
    comments could provide a more comprehensive view of the impact of a proposed outage. ERCOT could use insight to coordinate with TSPs

## Slide 8: Other
Nodal Competitive Constraint Test
  No Update
Upcoming Meetings
  Not yet scheduled