## Slide 1: Congestion Report
Isabel Flores

## Slide 2: Background
Provide trend of local congestion costs and deployments
Costs shown in millions with values provided for June and July
  OOMC
  OOM Down
  LBE Down
  OOM Up
  LBE Up
  RPRS
MCPE trend
Inter-zonal costs

## Slide 3: OOMC 2007 vs. 2008 - $M
Million$ | South | North | Houston | West
June / July 2007 | 1.41 / 0.64 | 0.54 / 0.15 | 0.35 / 0.02 | 0.08 / 0.05
June / July 2008 | 0.23 / 0.23 | 0.94 / 3.20 | 0.24 / 0.54 | 2.72 / 0.07

## Slide 4: OOMC 2007 vs. 2008 – deployments

## Slide 5: OOM Down 2007 vs. 2008 - $M
Million$ | South | North | Houston | West
June / July 2007 | 0.01 / 0.00 | 0.03 / 0.00 | 0.00 / 0.00 | 0.34 / 0.00
June / July 2008 | 0.05 / 0.20 | 0.34 / 0.15 | 0.00 / 0.02 | 2.53 / 2.71

## Slide 6: OOM Down 2007 vs. 2008 - deployments

## Slide 7: Balancing Energy Down 2007 vs. 2008 - $M
Million$ | South | North | Houston | West
June / July 2007 | 1.01 / 0.71 | 1.73 / 0.17 | 0.01 / 0.00 | 0.02 / 0.35
June / July 2008 | 1.19 / 0.27 | 0.40 / 0.23 | 0.00 / 0.03 | 0.86 / 0.20

## Slide 8: Balancing Energy Down 2007 vs. 2008 - deployments

## Slide 9: OOM Up 2007 vs. 2008 - $M
Million$ | South | North | Houston | West
June / July 2007 | 1.24 / 0.60 | 0.11 / 0.04 | 0.08 / 0.04 | 0.34 / 0.15
June / July 2008 | 0.67 / 0.47 | 0.14 / 0.18 | 0.04 / 0.01 | 0.31 / 0.01

## Slide 10: OOM Up 2007 vs. 2008 - deployments

## Slide 11: Balancing Energy Up 2007 vs. 2008 - $M
Million$ | South | North | Houston | West
June / July 2007 | 0.40 / 0.21 | 0.06 / 0.03 | 0.01 / 0.00 | 0.00 / 0.00
June / July 2008 | 0.59 / 0.62 | 0.10 / 0.10 | 0.00 / 0.03 | 0.14 / 0.00

## Slide 12: Balancing Energy Up 2007 vs. 2008 - deployments

## Slide 13: Local Congestion Costs 2001-2008
Million$ | OOMC | LBEDN | LBEUP | OOM Down | OOM Up
2007 | 44.35 | 18.80 | 5.65 | 30.31 | 30.27
2007 thru July | 29.33 | 11.75 | 4.10 | 15.20 | 23.40
2008 thru July | 26.45 | 6.33 | 3.64 | 28.41 | 6.53

## Slide 14: Replacement Reserve

## Slide 15: Replacement Reserve
thousand$ | Jan | Feb | Mar | Apr | May | Jun | Jul
2008 thru July | 17.6 | 91.14 | 490.13 | 252.12 | 988.64 | 2325.21 | 1876.60

## Slide 16: MCPE 2003-2008

## Slide 17: Inter-zonal Congestion Costs 2007-2008
Million$ | N_S | N_W | W_N | S_N | N_H
2007 | 0 | 5.1 | 4.4 | (1.5) | 39.8
2007 thru July | 0 | 2.4 | 0.3 | (0.2) | 19.8
2008 thru July | 138.3 | 11.5 | 98.8 | (18.3) | 92.0