| PRR Number | 771 | PRR Title | Ramp Rate Limitation of 10% per minute of On-Line Installed Capability for Wind-powered Generation Resources |
| --- | --- | --- | --- |
| Date |  | September 16, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Paul Rocha on behalf of the Reliability and Operations Subcommittee (ROS) |  |
| E-mail Address |  | paul.rocha@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Phone Number |  | 713-207-2768 |  |
| Cell Number |  | 281-732-5341 |  |
| Market Segment |  | Investor Owned Utility |  |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

On September 11, 2008, ROS reviewed PRR771.  Following discussion, ROS unanimously voted to approve a motion that no further changes be made to PRR771 with no further comment in regard to natural wind increase ramp rates, and with the caution that this action does not address large ramps due to wind increases.

Revised Proposed Protocol Language

None.