| NPRR Number | 146 | NPRR Title | ICCP Telemetry Information Submittals |
| --- | --- | --- | --- |
| Date |  | September 2, 2008 |  |
| Submitter’s Information |  |  |  |
| Name |  | Stacy Bridges on behalf of the Transition Plan Task Force (TPTF) |  |
| E-mail Address |  | sbridges@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512.248.6709 |  |
| Cell Number |  | 512.923.6311 |  |
| Market Segment |  | n/a |  |

Comments

On August 12, 2008, TPTF assigned Nodal Protocol Revision Request (NPRR) 146 to its Quick Response Working Group (QRWG) to address ERCOT comments dated August 8, 2008, which indicated that the seven-day timeline for submitting ICCP telemetry as proposed by NPRR146 would adversely affect ERCOT business processes as well as the design of the Network Model Management System (NMMS). On August 20, 2008, the QRWG met with ERCOT Staff to discuss the comments and to revise the NPRR language to address the timeline issue by expanding the proposed seven-day submission window to fifteen days.

On August 26, 2008 TPTF reviewed the revised NPRR language and made additional edits as indicated by the redlines below.  TPTF endorsed submitting these comments to PRS.  The endorsement carried by roll-call vote with 100% in favor and two abstentions from the Consumer Market Segment.  The Independent Generator Market Segment was not represented for the vote.  At the time of this vote, TPTF did not assign an essentiality status to NPRR146.  An essentiality status will be assigned during a future meeting.  Please refer to the voting spreadsheet for details.

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Proposed Cover Page Language Revision

| Revision Description | This Nodal Protocol Revision Request (NPRR) changes the ICCP data object names submittal to 15 days. |
| --- | --- |
| Reason for Revision | In many instances, the RTU configuration and point list is not available three months ahead of equipment change implementation. This change will require Transmission Service Providers (TSPs) and Qualified Scheduling Entities (QSEs) to provide only the real-time ICCP data object names 15 days prior to change and will allow ERCOT adequate opportunity to test the Network Operations Model prior to moving to production. |
| Overall Market Benefit | Improve the quality of information ERCOT receives on ICCP data object names. |
| Overall Market Impact | Reduced burden on TSPs and QSEs to provide needed information in a timely and correct manner. Will also prevent TSPs and ERCOT from modeling ICCP data object names that may not ever exist and then removing them at a later date. |

Revised Proposed Protocol Language

3.10.1	Time Line for Network Operations Model Change Requests

(1)	ERCOT shall perform periodic updates to the ERCOT Network Operations Model.  Market Participants may provide Network Operations Model updates to ERCOT to implement planned transmission and Resource construction one year before the required submittal date below.  TSPs and Resource Entities must timely submit Network Operations Model changes pursuant to the schedule in this Section to be included in the updates.

(2)	For a facility addition, revision, or deletion to be included in any Network Operations Model update, all technical modeling information must be submitted to ERCOT pursuant to the ERCOT NOMCR process.

(3)	TSPs and Resource Entities shall submit Network Operations Model updates at least three months prior to the physical equipment change.  ERCOT shall update the Network Operations Model according to the following table:

| Deadline to Submit Information to ERCOT Note 1 | Model Complete and Available for Test Note 2 | Updated Network Operations Model Testing Complete Note 3 | Update Network Operations Model Production Environment | Target Physical Equipment In-Service Date Note 4 |
| --- | --- | --- | --- | --- |
| Jan 1 | Feb 15 | March 15 | April 1 | Month of April |
| Feb 1 | March 15 | April 15 | May 1 | Month of May |
| March 1 | April 15 | May 15 | June 1 | Months of June–August SUMMER MODEL |
| June 1 | July 15 | August 15 | September 1 | Month of September |
| July 1 | August 15 | September 15 | October 1 | Month of October |
| August 1 | September 15 | October 15 | November 1 | Month of November |
| September 1 | October 15 | November 15 | December 1 | Month of December |
| October 1 | November 15 | December 15 | January 1 | Month of January (the next year) |
| November 1 | December 15 | January 15 | February 1 | Month of February (the next year) |
| December 1 | January 15 | February 15 | March 1 | Month of March (the next year) |

Notes:

1.	Transmission and Resource data submissions complete per ERCOT Network Operations Model Change Request process for inclusion in next update period.

2.	Network Operations Model data changes and preliminary fidelity test complete by using the Network Operations Model test facility described in Section 3.10.4(3).  The test version of the Network Operations Model will be available for market review and further testing by Market Participants.

3.	Testing of the Network Operations Model by Market Participants is complete and ERCOT begins the Energy Management System testing prior to placing the new model into the production environment.

4.	Updates include changes starting at this date and ending within the same month.

(4) 	ERCOT shall only approve energization requests when the Transmission Element is satisfactorily modeled in the Network Operations Model.

(5)	In order to allow for construction schedules, TSPs may use pseudo-breakers and switches to designate future facilities configurations such that the Network Operations Model topology may be correctly implemented as construction of new facilities is accomplished.

(6)	NOMCR submittals containing only ICCP data object names shall be provided no later than fifteen (15) days prior to the proposed Energize Date for Transmission Elements represented by the ICCP data object names and shall not be subject to IMM and PUC reporting (reference 3.10.4 ERCOT Responsibilities (5)).