- Summary of Operating Guide Revisions

- Effective:  October 1, 2008

- Section 4:

OGRR211 – Deletion of References to Back-to-Back Import Capacity

This Operating Guide Revision Request (OGRR) deletes obsolete references to Back-to-Back (BtB) import capacity from the list of tasks ERCOT is responsible for under Emergency Electric Curtailment Plan (EECP) Step 1.  It also replaces references to a “unit” in the EECP Steps with the defined term “Resource,” and makes minor language corrections consistent with previous revisions to the ERCOT Protocols made pursuant to Protocol Revision Request (PRR) 726, DC Tie Scheduling Clarifications, which became effective on October 1, 2007.

Revised Subsection: 4.5.3.3