| NPRR Number | 113 | NPRR Title | Load Resource Type Indicator for Ancillary Service (AS) Trades and Self-Arranged AS |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Date of Decision |  | September 24, 2008 |  |  |
| Protocol Sections Requiring Revision |  | 4.4.7.1, Self-Arranged Ancillary Service Quantities 4.4.7.3.1, Ancillary Service Trade Criteria |  |  |
| Proposed Effective Date |  | Upon the Nodal Protocol Transition Plan’s Texas Nodal Market Implementation Date, as prescribed by zonal Protocol Section 21.12, Process for Transition to Nodal Market Protocol Sections. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds an indicator to self-arranged Ancillary Services and Ancillary Service Trades to reflect if Responsive Reserve (RRS) service is being provided from a Generation Resource, Controllable Load Resource, or Load Resource controlled by high-set under-frequency relays. |  |  |
| Overall Market Benefit |  | This NPRR increases the transparency of which RRS type is being self-arranged and traded. |  |  |
| Overall Market Impact |  | This NPRR may impact the Qualified Scheduling Entity (QSE) business functions and systems for submission of self-arranged Ancillary Service and Ancillary Service Trades. |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR113 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 3/11/08, NPRR113 was posted. - On 3/20/08, PRS referred NPRR113 to the Transition Plan Task Force (TPTF). - On 3/27/08, TPTF comments were posted. - On 4/18/08, PRS considered NPRR113. - On 5/2/08, a Preliminary Impact Analysis was posted. - On 5/22/08, PRS considered the PRS Recommendation Report and Preliminary Impact Analysis for NPRR113. - On 9/11/08, ERCOT comments were posted. - On 9/24/08, an Impact Analysis was posted. - On 9/24/08, PRS considered the PRS Recommendation Report and Impact Analysis for NPRR113. |  |  |
| PRS Decision |  | On 3/20/08, PRS unanimously voted to refer NPRR113 to the TPTF for review. All Market Segments were present for the vote. On 4/18/08, PRS unanimously voted to recommend approval of NPRR113 as revised by TPTF comments. All Market Segments were present for the vote. On 5/22/08, PRS unanimously voted to table NPRR113 pending development of the final Impact Analysis. All Market Segments were present for the vote. On 9/24/08, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR113 to TAC. There was one abstention from the Consumers Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 3/20/08, PRS noted that TPTF had not reviewed NPRR113. On 4/18/08, PRS noted that TPTF submitted comments to NPRR113. On 5/22/08, ERCOT Staff reported that a final Impact Analysis is still under development and should be available at the June 2008 PRS meeting. On 9/24/08, ERCOT Staff reported that the Impact Analysis indicated an incremental cost to the nodal project of between $500,000 and $1,000,000. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Changes needed to ERCOT and QSE systems to properly track provisioning of Ancillary Services in maintaining 50% limit of RRS from non-controllable Load Resources. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown | Unknown |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| TPTF 032708 | Suggested revisions to the submission form and the proposed Protocol language. |
| ERCOT 091108 | The development of an Impact Analysis for NPRR113 will be deferred until the 10/23/08 PRS meeting. |

| Original Sponsor |  |
| --- | --- |
| Name | Matt Mereness |
| Company | ERCOT |
| Market Segment | Not applicable. |

Proposed Protocol Language Revision

4.4.7.1	Self-Arranged Ancillary Service Quantities

(1)	A QSE may self-arrange all or a portion thereof, but not to exceed, the Ancillary Service Obligation allocated to it by ERCOT.  If a QSE elects to self-arrange Ancillary Service capacity, then ERCOT shall not pay the QSE for the Self-Arranged Ancillary Service Quantities for the portion that meets its Ancillary Service Obligation.

(2)	The QSE must indicate before 1000 in the Day-Ahead the Self-Arranged Ancillary Service Quantities, by service, so ERCOT can determine how much Ancillary Service capacity, by service, needs to be obtained through the DAM.

(3)	At or after 1000 in the Day-Ahead, a QSE may not change its Self-Arranged Ancillary Service Quantities unless ERCOT opens a Supplemental Ancillary Service Market.

(4)	Before 1430 in the Day-Ahead, all Self-Arranged Ancillary Service Quantities must be represented by physical capacity, either by Generation Resources or Load Resources, or backed by Ancillary Service Trades.

(5)	When a QSE chooses to self-arrange all or a portion of its Ancillary Service Obligations, it commits to the following conditions:

(a)	The QSE may self-arrange Regulation Up Service (Reg-Up), Regulation Down Service (Reg-Down), Responsive Reserve Service (RRS), and Non-Spin;

(b)	The QSE may provide all or part of its Self-Arranged Ancillary Service Quantity from one or more Resources it represents;

(c)	The QSE may provide all or a part of its Self-Arranged Ancillary Service Quantity through an Ancillary Service Trade;

(d)	The additional Self-Arranged Ancillary Service Quantity specified by the QSE in response to a Supplemental Ancillary Service Market notice by ERCOT to obtain additional Ancillary Services in the Adjustment Period cannot be more than the additional Ancillary Service amount allocated by ERCOT to that QSE, as stated in the SASM notice, and cannot be changed once committed to ERCOT;

(e)	If a QSE does not self-arrange all of its Ancillary Service Obligation, ERCOT shall procure the remaining amount of the Ancillary Service Obligation for the QSE; and

(f)	For self-arranged Responsive Reserve Service, the QSE shall indicate the quantity of the service that is provided from:

- (i)	Generation Resources,

- Controllable Load Resources (CLR) , and

- Load Resources controlled by high-set under-frequency relays.

4.4.7.3.1	Ancillary Service Trade Criteria

(1)	Each Ancillary Service Trade must be reported by a QSE and must include the following information:

(a)	The buying QSE;

(b)	The selling QSE;

(c)	The type of Ancillary Service;

(d)	The quantity in MW;

(e)	The first and last hours of the trade; and

(f)	For Responsive Reserve Service, the QSE shall indicate the quantity of the service that is provided from:

- (i)	Generation Resources,

- Controllable Load Resources (CLR), and

- Load Resources controlled by high-set under-frequency relays.

(2)	An Ancillary Service Trade must be confirmed by both the buying QSE and selling QSE to be considered valid and to be used in an ERCOT process.