Verifiable Costs Issues associated with Duct Firing:

- Adversely affects incremental heat rate by 15-30%.

- Increases HSL by 10-15%.

- Treatment may be affected by how often duct firing is utilized.

- Offer Caps for Startup and Minimum Energy Operation would not be affected.

- Affects Real Time Mitigation

- Is there a concern that we should evaluate?