| OGRR Number | 208 | OGRR Title | Voltage Ride-Through (VRT) Requirement |
| --- | --- | --- | --- |

| Date | September 30, 2008 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | John Moore |
| E-mail Address | john.moore@eon.com |
| Company | E.ON |
| Phone Number | 512 482 4059 |
| Cell Number | 512 415 1832 |
| Market Segment | Independent Generators |

Comments

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

- E.ON supports the new Voltage Ride-Through (VRT) requirements going forward

- E.ON does not support the retroactive application of the requirement

  - Retroactive application is bad policy

  - Retroactive application that will require expenditure of many millions of dollars is very bad policy

  - Retroactive application that will require expenditure of many millions of dollars without supporting analysis and study is extremely bad policy

  - Retroactive application should only occur for dire and urgent situations

  - There is no dire or urgent situation since OGRR208 will not apply until 2015

  - Retroactive application adds a troublesome element of business risk that has never been present in ERCOT.

  - If retroactive application is to be done, it should be applied to all wind generators, with no exclusions for signed IAs before Jan 1, 2003

- FERC 661-A was not applied retroactively

- Study will show that there is some level of VRT for many of the wind turbines now operating or recently procured

- VRT requirements should only apply going forward from a future date

- ERCOT should study the problem and wind generators should make any fix supported by the study by 2012

Revised Proposed Guide Language

None.