## Slide 1: OGRR208-VOLTAGE RIDE THROUGH REQUIREMENT

## Slide 2
  Wind generators support the new VRT requirement
  Wind generators do not support the retroactive application of the requirement

## Slide 3
  Retroactive application is bad policy
  Retroactive application that will require expenditure of many millions of dollars is very bad policy
  Retroactive application that will require expenditure of many millions of dollars without supporting analysis and study is extremely bad policy

## Slide 4
  Retroactive application should only occur for dire and urgent situations
  There is no dire or urgent situation since OGRR208 will not apply until 2015
  Retroactive application adds a troublesome element of business risk that has never been present in ERCOT

## Slide 5
  If retroactive application is to be done, it should be applied to all wind generators, with no exclusions for signed IAs before Jan I, 2003
FERC 661-A was not applied retroactively
  There is some level of VRT for many of the wind turbines now operating or recently procured