## Slide 1: ROS Report for October 2, 2008 TAC Meeting
Paul Rocha
ROS Chair

## Slide 2: TAC Voting Items (approved at ROS September meeting)
OGRR208
  Voltage Ride-Through (VRT) Requirement

## Slide 3: OGRR208 - Background
The Operations Working Group (OWG) could not come to consensus on several issues regarding OGRR208. These issues were brought to the August 18th ROS meeting for consideration. ROS resolved the majority issues with the exception of compliance and grandfathering of Wind-power Generation Resources (WGRs).
ROS remanded OGRR208 to OWG for further vetting of this issue.
OWG brought their recommendation back to the September 11th ROS meeting.

## Slide 4: 9/11/08 ROS Vote:
ROS voted to recommend approval of OGRR208 as recommended by OWG and as revised by ROS. The motion passed unanimously.

## Slide 5: Other ROS Meeting Highlights
PRR 771 (Wind Ramp Rate)
  ROS-sponsored PRR, did not address ramp rate when responding to changes in wind speed
  WOTF had been directed to study this matter further; WOTF recommended PRR 771 proceed as written – ROS agreed
  WOTF identified various other ways to address changes in wind speed, which WOTF will explore further
Approved PRR language to change Black Start selection cycle from one year to two years
Endorsed ERCOT proposed Ancillary Service Methodology
Endorsed EECP Event Investigation Procedure
PDCWG completed Wind Workshop Assignment relating to Inertia
LAAR Study Update – Refer to DWG presentation