Date: 	September 25, 2008

To:	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:	Consideration of Protocol Revision Requests and Nodal Protocol Revision Requests

The Protocol Revision Subcommittee (PRS) met and discussed several revision requests and presents the following Protocol Revision Requests (PRRs) and Nodal Protocol Revision Requests (NPRRs) to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

# PRRs Recommended for Approval:

- PRR769, EECP Media Appeal Change [Operations Working Group].  Proposed effective date: November 1, 2008.  No budgetary impact; no additional full-time equivalents (FTEs) needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.  This PRR removes the required energy conservation media appeal from Emergency Electric Curtailment Plan (EECP) Step 2 and allows ERCOT management to issue a media appeal for energy conservation at management’s discretion, without requiring ERCOT CEO authorization.  PRR769 was posted on 7/22/08.  On 8/21/08, PRS unanimously voted to recommend approval of PRR769 as submitted.  On 9/24/08, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.  There was one abstention from the Independent Power Marketer (IPM) Market Segment.  Credit review is pending.

NPRRs Recommended for Approval

  - NPRR102, Implementation of PUC SUBST. R. 25.505(f), Publication of Resource and Load Information [Transition Plan Task Force (TPTF)].  Proposed effective date: November 1, 2008.  Incremental cost to Nodal project ($1.5M - $2M); 1/4 FTE impact to Enterprise Information Services (EIS) area; impacts to ERCOT Systems include the Energy Management System (EMS), Market Management System (MMS), Commercial Systems (COMS), EIS, and the Market Information System (MIS); ERCOT will publish Load and Resource information pursuant to the disclosure requirements in P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, paragraph (f), adopted under P.U.C. Project No. 33490, Rulemaking Proceeding to Address Pricing Safeguards in the Markets Operated by the Electric Reliability Council of Texas; no impact to grid operations;   This NPRR incorporates the disclosure requirements pursuant to paragraph (f) of P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region.  NPRR102 was posted on 2/12/08.  On 2/21/08, PRS unanimously voted to recommend approval of NPRR102 as revised by ERCOT comments.  On 3/20/08, PRS unanimously voted to table NPRR102 pending the development of the final Impact Analysis.  On 5/22/08, PRS unanimously voted to table NPRR102 pending development of the final Impact Analysis.  On 9/24/08, PRS voted to endorse and forward the PRS Recommendation Report as revised by TPTF comments and the Impact Analysis to TAC for approval.  There was one abstention from the Consumer Market Segment.

  - NPRR113, Load Resource Type Indicator for Ancillary Service (AS) Trades and Self-Arranged AS [ERCOT].  Proposed effective date: upon Texas Nodal Implementation.  Incremental cost to Nodal project ($500K - $1M);  no ERCOT staffing impacts; impact to ERCOT Systems including MMS, EIS, and EMS; no impacts to business functions; increases reliability of overall grid operations;   This NPRR adds an indicator to Self-Arranged Ancillary Services and Ancillary Service Trades to reflect if Responsive Reserve (RRS) services are being provided from a Generation Resource, Controllable Load Resource, or non-controllable Load Resource.  NPRR113 was posted on 3/11/08.  On 3/20/08, PRS unanimously voted to refer NPRR113 to TPTF for review.  On 4/18/08, PRS unanimously voted to recommend approval of NPRR113 as revised by TPTF comments.  On 5/22/08, PRS unanimously voted to table NPRR113 until the 6/19/08 PRS meeting pending the development of the final Impact Analysis.  On 9/24/08, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis to TAC for approval.  There was one abstention from the Consumer Market Segment.

- NPRR124, Resource Node Updated Definitions [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation.   Incremental cost to the Nodal project ($100K - $150K); no ERCOT staffing impacts; impact to ERCOT Systems include MMS; no impacts to business functions; no impacts to grid operations and practices. This NPRR clarifies the definition of Resource Node and specifies the different Resource Node types that meet the Nodal Protocol requirements.  NPRR124 was posted on 4/10/08.  On 4/18/08, PRS unanimously voted to refer NPRR124 to the TPTF for review.  On 6/19/08, PRS unanimously voted to again refer NPRR124 to TPTF for further clarification.  On 7/17/08, PRS unanimously voted to recommend approval of NPRR124 as amended by TPTF comments and as revised by PRS.  On 9/24/08, PRS voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR124 to TAC for approval.  There was one abstention from the Consumer Market Segment.

- NPRR129, Section 15, Synchronization of Zonal Protocols [ERCOT].  Proposed effective date:  upon Texas Nodal Market Implementation.  No incremental cost to ERCOT; no impact to ERCOT staffing; No impact to computer systems; no impact to business functions; no impact to grid operations and practices.   This NPRR synchronizes zonal Protocol Section 15, Customer Registration, with the current Nodal Protocols and moves Section specific definitions and acronyms to Nodal Protocol Section 2, Definitions and Acronyms.  NPRR129 was posted on 5/1/08.  On 5/22/08, PRS unanimously voted to refer NPRR129 to TPTF for review.  On 8/21/08, PRS voted to recommend approval of NPRR129 as amended by ERCOT comments with one abstention from the Consumer Market Segment.  On 9/24/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR129 to TAC for approval.  Credit review is pending.

- NPRR144, Five RUC Deployments Needed Before Requiring Verifiable Costs [Verifiable Costs Working Group (VCWG)]. Proposed effective date:  upon Texas Nodal Market Implementation.   No incremental cost to ERCOT; no impact to ERCOT staffing; No impact to computer systems; no impact to business functions; no impact to grid operations and practices.  This NPRR will increase the time Qualified Scheduling Entities (QSEs) and Resources have to prepare verifiable cost submissions for units that are unlikely to be struck in the Reliability Unit Commitment (RUC) process.  NPRR144 was posted on 7/25/08.  On 8/21/08, PRS voted to recommend approval of NPRR144 as amended by TPTF comments with one abstention from the Consumer Market Segment.  On 9/24/08, PRS unanimously voted to endorse and forward the PRS Recommendation Report and Impact Analysis for NPRR144 to TAC for approval.  Credit review is pending.

Revision Requests Rejected and Failed Motions

  - PRR754, Resource Settlement Due To Forced Transmission Outage [FPL Energy].    This PRR clarifies that QSEs scheduling Generation Resources will receive Out of Merit Energy (OOME) Down to zero Verbal Dispatch Instructions (VDIs) when a Transmission Facility Forced Outage trips a Generation Resource Off-line. PRR754 was posted on 2/4/08.  On 3/20/08, PRS voted to refer PRR754 to the Wholesale Market Subcommittee (WMS).  There was one abstention from the Consumer Market Segment.  On 5/22/08, PRS unanimously voted to table PRR754 until the 6/19/08 PRS meeting.  On 7/17/08, PRS discussed PRR754 and continued to table the PRR pending comments to be provided for the 8/21/08 PRS meeting.  On 8/21/08, PRS unanimously vote to table PRR754 until the September 18th PRS meeting.  On 9/24/08, the motion to recommend approval of PRR754 as amended by ERCOT comments and as revised by PRS, failed by roll call vote.  There were six affirmative votes from the Municipal, Investor Owned Utility, Independent Generator (2), and IPM (2) Market Segments; seven opposing votes from the Cooperative (2), Municipal, Consumer (2), Independent Retail Electric Provider (IREP), and IPM Market Segments; and five abstentions from the Municipal, IOU (2), Independent Generator, and Consumer Market Segments.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review at the October 23, 2008 PRS Meeting

  - PRR770, Deletion of UFE Analysis Zone Language [ERCOT[.  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.    This PRR deletes an outdated Section pertaining to Unaccounted for Energy (UFE) analysis.  PRR770 and its corresponding Impact Analysis were posted on 7/24/08.  On 9/24/08, PRS unanimously voted to recommend approval of PRR770 as submitted.  Credit review is pending.

  - PRR771, Ramp Rate Limitation of 10% per minute of On-Line Installed Capacity for Wind-powered Generation Resources [Reliability and Operations Subcommittee (ROS)].  Impact Analysis is pending.  This PRR proposes a requirement for Wind-powered Generation Resources (WGRs) to limit the ramp rate to 10% per minute of On-Line installed capability.  PRR771 was posted on 7/25/08.  On 8/21/08, PRS unanimously voted to table PRR771.  On 9/24/08, PRS voted to recommend approval as amended by ERCOT comments.  There were two opposing votes from the Generator and IOU Market Segments and one abstention from the IPM Market Segment.  Credit Review is pending.

- PRR773, Setting the LSL Requirement for WGRs [QSE Managers Working Group (QMWG)].  Impact Analysis is pending.    This PRR requires that a WGR Low Sustainable Limit (LSL) to be set at 10% of the name plate rating of the WGR.  PRR773 was posted on 7/28/08.  On 9/24/08, PRS voted to recommend approval of PRR773 as submitted.  There were two opposing votes from the Generator and IOU Market Segments and three abstentions from the IOU, Consumer and IPM Market Segments.  Credit review is pending.

- PRR774, Treatment of Financial Information as Confidential [J. Aron].  Impact Analysis is pending.   This PRR clarifies that non-public financial information provided to ERCOT is to be treated as Protected Information.  PRR774 was posted on 8/15/08.  On 9/24/08, PRS unanimously voted to recommend approval of PRR774 as revised by PRS.    Credit review is pending.

  - PRR775, Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA) [ERCOT].  Impact Analysis is pending.  This PRR changes the name of the Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA).  PRR775 and its corresponding Impact Analysis were posted on 8/22/08.  On 9/24/08, PRS unanimously voted to recommend approval of PRR775 as amended by ERCOT comments.  Credit review is pending.

- NPRR128, Combined Cycle Power Blocks with Multiple Voltage Interconnections [Calpine].  Proposed effective date:  upon Texas Nodal Market Implementation.   Impact Analysis pending. This NPRR eliminates the unnecessary restriction that requires all Generation Resources in a combined cycle power block to be connected to the bulk electric system at the same voltage level.  This change must be made for similarly-situated combined cycle units to effectively participate in the very important nodal 168-hour test.  Re-done Resource Asset Registration Forms (RARFs) must also be constructed and validated prior to implementing these changes.  NPRR128 was posted on 4/25/08.  On 5/22/08, PRS unanimously voted to refer NPRR128 to TPTF for review.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR128 as submitted.  On 7/17/08, PRS unanimously voted to table NPRR128 pending development of an Impact Analysis.  On 9/24/08, PRS unanimously voted to recommend approval of the PRS Recommendation Report as revised by ERCOT comments.

  - NPRR134, Section 7 Cleanup [TPTF].  Impact Analysis pending.  This NPRR adds clarifications to the variables that are used in setting McCamey flowgates and proposes corrections to flowgate formulae and clarifying variables and subscripts.  This NPRR also proposes revisions that streamline the OBLRACT and OPTRACT calculations, but maintain the intent of the original calculations.  NPRR134 was posted on 6/5/08.  On 6/19/08, PRS unanimously voted to recommend approval of NPRR134 as submitted.  On 7/17/08, PRS unanimously voted to table NPRR134 pending development of an Impact Analysis.  On 9/24/08, PRS continued to table NPRR134 until the October 23rd PRS meeting pending development of an Impact Analysis.

  - NPRR136, Interim Solution for 15-Minute Settlement of Advanced Meters [AEP Texas].  Impact Analysis pending.   This NPRR will support the interim settlement of all provisioned Advanced Meters using actual fifteen minute data, the same way Interval Data Recorder (IDR) meters are settled today, until the long-term solution developed by Project 34610, Implementation Project Relating to Advanced Metering, or future rulemakings is implemented.  NPRR136 was posted on 6/20/08.  On 7/17/08, PRS unanimously voted to table NPRR136 pending approval of PRR766.   On 9/24/08, PRS unanimously voted to recommend approval of NPRR136 as amended by ERCOT comments and change the status to “Needed for Go-Live”.  Credit review is pending.

  - NPRR138, Credit Monitoring and Management Reports [Credit WG].  Impact Analysis pending.  This NPRR will require ERCOT to post on the Market Information System (MIS) Certified Area, each active Counter-Party’s Credit Monitoring and Management related reports twice a day (by noon and end of day) on Business Days.  NPRR138 was posted on 7/11/08.  On 8/21/08, PRS voted to recommend approval of NPRR138 as amended by TPTF comments with one abstention from the Consumer Market Segment.  On 9/24/08, PRS tabled NPRR138 until the October 23rd PRS meeting pending development of an Impact Analysis.    Credit Review is pending.

  - NPRR139, ACL, EAL, FCE Calculation Updates [ERCOT].  Impact Analysis pending.  This NPRR excludes Congestion Revenue Right (CRR) activity from Daily Liability Extrapolated (DALE) and Average Daily Transaction Extrapolated (ADTE) calculations, eliminates “two day” requirement for prepays, and also ERCOT to use appropriate auction clearing prices if the Day-Ahead Market (DAM) is executed but specific DAM Settlement Point Prices are not available.  This NPRR also removes 90% from the Available Credit Limit (ACL) definition.  NPRR139 was posted on 7/11/08.  On 8/21/08, PRS unanimously voted to refer NPRR139 to the TPTF for review.  On 9/24/08, PRS unanimously voted to recommend approval of NPRR139 as amended by TPTF comments.  Credit review is pending.

- NPRR142, EECP Media Appeal Change [Operations Working Group (OWG)].  Impact Analysis pending.  This NPRR removes the required energy conservation media appeal from EECP Step 2 and allows ERCOT management to issue a media appeal for energy conservation at management’s discretion, without requiring ERCOT CEO authorization.  NPRR142 was posted on 7/22/08.  On 8/21/08, PRS unanimously voted to refer NPRR142 to the TPTF for review.  On 9/24/08, PRS unanimously voted to recommend approval of NPRR142 as submitted.  Credit review is pending.

  - NPRR143, Section 9.9.1, Invoice Recipient Payment to ERCOT for the CRR Auction  [ERCOT].  Impact Analysis pending.  This NPRR corrects conflicting language in Section 9.9.1 and Section 16.11.6.1.5, Declaration of Forfeit of CRRs, by removing language regarding forfeiture of Congestion Revenue Rights (CRRs) from Section 9.9.1.  NPRR143 was posted on 7/25/08.  On 8/21/08, PRS unanimously voted to refer NPRR143 to the TPTF for review.  On 9/24/08, PRS unanimously voted to recommend approval of NPRR143 as submitted.  Credit review is pending.

  - NPRR145, PPAs as Resource-Specific Verifiable Costs Documentation [Verifiable Costs Working Group (VCWG)].  Impact Analysis pending.  This NPRR allows Power Purchase and Tolling Agreements (PPAs) to be used as Resource-specific verifiable costs documentation.  NPRR145 was posted on 7/25/08.  On 8/21/08, PRS voted to table NPRR145 until the September 18th PRS meeting with two abstentions from the Investor-Owned Utility (IOU) and Independent Power Marketer (IPM) Market Segments.  On 9/24/08 PRS voted to recommend approval of NPRR145 as amended by WMS comments and as revised by PRS.  There were three opposing votes from the IPM, IOU, and Consumer Market Segments and one abstention from the IOU Market Segment. Credit review is pending.

- NPRR146, ICCP Telemetry Information Submittals [AEP].  Impact Analysis is pending.  This NPRR changes the ICCP telemetry information submittal from 90 days to 7 days.  NPRR146 was posted on 7/31/08.  On 8/21/08, PRS unanimously voted to refer NPRR146 to the TPTF for review.  On 9/24/08, PRS unanimously voted to recommend approval of NPRR146 as amended by TPTF comments.  Credit review is pending.

- NPRR148, Treatment of Financial Information as Confidential [J. Aron].  Impact Analysis is pending.  This Nodal Protocol Revision (NPRR) clarifies that non-public financial information provided to ERCOT is to be treated as Protected Information.  NPRR148 was posted on 8/15/08.  On 9/24/08, PRS unanimously voted to recommend approval of NPRR148 as amended by TPTF comments.  Credit review is pending.

  - NPRR150, Responsive Reserve Service Offer Floor [WMS].  Impact Analysis is pending.  This NPRR continues the zonal Protocol provision which prohibits negative offers to provide RRS, thus avoiding substantial credit risk.  NPRR150 was posted on 8/28/08.  On 9/24/08, PRS voted to recommend approval of NPRR150 as submitted.  There were four abstentions from the Generator, IPM, and IOU (2) Market Segments.  Credit review is pending.

Revision Requests Deferred or Tabled

- PRR768, TDSP Energy Storage for Reliability [AEP].  Impact Analysis is pending.  This PRR inserts new paragraph (6)(c) in Section 10.3.3.1 which clarifies that energy flows, from Transmission and/or Distribution Service Provider (TDSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement.  This new paragraph will be limited to ERCOT Board endorsed TDSP reliability projects.  PRR768 was posted on 7/21/08.  On 8/21/08, PRS voted to table PRR768 until the PUCT issues a decision regarding the AEP filing.  There was one opposing vote from the IOU Market Segment and two abstentions from the IOU and Municipal Market Segments.  Credit review is pending.

  - NPRR131, Ancillary Service Trades with ERCOT [NRG Texas].  Impact Analysis pending.  This NPRR allows all QSEs, whether they represent Resources, Loads, or both, to procure Ancillary Services in the Day-Ahead Market (DAM).  NPRR131 was posted on 5/15/08.  On 5/22/08, PRS unanimously voted to refer NPRR131 to TPTF for review.  On 6/19/08, PRS voted to recommend approval of NPRR131 as amended by TPTF comments.  There were two abstentions from the IREP and Consumer Market Segments.  On 7/17/08, PRS unanimously voted to table NPRR131 pending development of an Impact Analysis.  On 9/24/08, PRS unanimously voted to table NPRR131 in accordance with ERCOT comments.  Credit review is pending.

- NPRR135, Deletion of UFE Analysis Zone Language [ERCOT].  Impact Analysis pending.  This NPRR deletes an outdated section pertaining to Unaccounted for Energy (UFE) analysis.  NPRR135 was posted on 6/20/08.  On 7/17/08, PRS unanimously voted to table NPRR135 pending development and approval of a corresponding PRR.  Credit review is pending.

- NPRR141, TDSP Energy Storage for Reliability [AEP].  Impact Analysis pending.  This NPRR inserts new paragraph (f)(iii) in Section 10.3.3.1 which clarifies that energy flows, from Transmission and/or Distribution Service Provider (TDSP) owned battery storage technology, will be treated similarly as substation equipment and therefore the measurement of such flows are not required for settlement.  This new paragraph will be limited to ERCOT Board endorsed TDSP reliability projects.  NPRR141 was posted on 7/11/08.  On 8/21/08, PRS voted to table NPRR141 until the PUCT issues a decision regarding the AEP filing.  There was one opposing vote from the IOU Market Segment and two abstentions from the IOU and Municipal Market Segments. Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

- NPRR137, Synchronization and Update of Section 21 [ERCOT].  Impact Analysis pending.  This NPRR synchronizes the Zonal Protocol Section 21 with the Nodal Protocols, revises the title of this Section to properly reflect its scope to include System Change Requests (SCRs), and updates the process to reflect current practice.  This NPRR also incorporates PRR753, PRR Appeals Process.  NPRR137 was posted on 6/24/08.  On 7/17/08, PRS voted to refer NPRR137 to the TPTF for review.  Credit review is pending.

- NPRR140, Revision to CRR Obligation Margin Adder [J. Aron].  Impact Analysis pending.  This NPRR revises the margin adder for Point-to-Point (PTP) Obligations to a value “X” to be determined by the Subcommittee process.  NPRR140 was posted on 7/14/08.  On 8/21/08, PRS unanimously voted to refer NPRR140 to the TPTF for review.  Credit review is pending.

  - NPRR147, DAM Short Pay Charges [Wholesale Market Subcommittee (WMS)].  Impact Analysis is pending.  This NPRR changes the way short pays to the Day-Ahead Market (DAM) are handled.  This NPRR reallocates short payments using a procedure that draws from the Congestion Revenue Right (CRR) Auction revenue account first and then draws any additional shortfalls from the CRR Balancing Account.  NPRR147 was posted on 8/13/08.  On 8/21/08, PRS unanimously voted to refer NPRR147 to the TPTF for review.  On 9/24/08, PRS voted to refer NPRR147 to WMS to consider Reliant’s comments made at TPTF as well as subsequent comments made in response to NPRR147.  There was one opposing vote from the IPM Market Segment.    Credit review is pending.

  - NPRR149, Change the Name of Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA) [ERCOT].    Impact Analysis is pending.  This NPRR changes the name of the Emergency Electric Curtailment Plan (EECP) to Energy Emergency Alert (EEA).  NPRR149 was posted on 8/22/08.  On 9/24/08, PRS unanimously voted to refer NPRR149 to the Nodal Protocol/Reliability Standards Alignment Task Force (NPRSA) for consideration.  Credit review is pending.

  - NPRR151, Clarification of a Generator Output Breaker in the Outage Scheduler [CenterPoint Energy].  Impact Analysis is pending.  This NPRR clarifies the definition of which “generator output breakers” are exempt in the Outage Scheduler.  NPRR151 was posted on 9/8/08.  On 9/24/08, PRS unanimously voted to refer NPRR151 to TPTF for further consideration.  Credit review is pending.

- NPRR152, References to Section 22 Attachments [ERCOT].  Impact Analysis is pending.  This NPRR corrects references in the Nodal Protocols to certain attachments to Section 22, Agreements, and re-letters Attachment K, Standard Form Emergency Interruptible Load Service (EILS) Agreement, as Attachment G.  NPRR152 was posted on 9/10/08.  On 9/24/08, PRS unanimously voted to refer NPRR152 to TPTF for consideration.   Credit review is pending.

New Revision Requests Scheduled for Consideration at the October 23, 2008 PRS Meeting

- PRR776, Automatic MCPE Adjustment During Intervals of Non-Spinning Reserve Service Deployment [TIEC].  Impact Analysis pending.  This PRR adjusts the Market Clearing Price of Energy (MCPE) when the deployment of Non-Spinning Reserve Service (NSRS) occurs to provide accurate prices in Real Time through an automatic $100/MWh upward adjustment. The $100 MCPE adjustment would replace the current PRR650, Balancing Energy Price Adjustment Due to Non-Spinning Reserve Service Energy Deployment, method of removing NSRS deployments and manually re-running Scheduling, Pricing, and Dispatching (SPD).  The $100 adjustment is based on the average MCPE adjustment during NSRS deployments since 01/01/07.  PRR776 was posted on 8/25/08.  On 8/27/08, Urgent status was not granted by PRS via email vote.  Credit review is pending.

- PRR777, WGR QSE Metric [J. Aron].  Impact Analysis pending.  This PRR exempts WGR QSEs from the Resource Plan metric that compares Day Ahead and Adjustment Period Schedules to Resource Plans.  PRR777 was posted on 9/18/08.  Credit review is pending.

- PRR778, Clarification of Authorized Representative [ERCOT].  No budgetary impact; no additional full-time equivalents needed; no system changes required; existing business processes can accommodate this PRR; no impact to grid operations.    This PRR codifies the definition of “Authorized Representative” in Section 2, Definitions and Acronyms, and clarifies the need to designate “Authorized Representatives” for registration for all registered Entities.  PRR778 and its corresponding Impact Analysis were posted on 9/19/08.  Credit review is pending.

- PRR779, Transparency for PSS and Full Interconnection Studies [PSEG Texas].  Impact Analysis pending.  This PRR updates Sections 1 and 12 to provide transparency to status of Power System Stabilizer Equipment and interconnection requests.  NPRR156 was posted on 9/19/08.  Credit review is pending.

- PRR780, Extending Black Start Service Bid Timeline [ROS].  Impact Analysis pending.  This PRR changes the Black Start Service bids from a one (1) year period to a two (2) year period.  PRR780 was posted on 9/23/08.  Credit review is pending.

- PRR781, EILS Self-Provision Formula Correction and Clarifications [ERCOT].  This PRR proposes to correct terms contained in the settlement equations related to EILS Self-Provision to make the formulas consistent with the verbal description of EILS Self-Provision settlement and the author’s stated original intent.  This PRR also makes clarifications in language contained in paragraph (3)(d) of Section 6.5.12 related to Qualified Scheduling Entities’ (QSEs’) EILS Self-Provision options in cases where less than 1,000 MW of EILS has been offered, and adds copies of definitions that are applicable to both equations in this Section.  PRR781 and its corresponding Impact Analysis were posted on 9/23/08.  Credit review is pending.

- NPRR153, Generation Resource Fixed Quantity Block [TPTF].  Impact Analysis pending.  This NPRR revises existing Ancillary Service Offer criteria to provide for offers of Non-Spin in fixed quantity and time blocks from off-line Generation Resources similar to that for Load Resources.  NPRR153 was posted on 9/12/08. Credit review is pending.

- NPRR154, Corrections of Entities Able to Bid for Point-To-Point Obligations in the Day-Ahead Market [TPTF].  Impact Analysis pending.  This NPRR provides clarifying language to indicate that only QSE may bid for Point-To-Point (PTP) Obligations in the DAM.  NPRR154 was posted on 9/15/08.  Credit review is pending.

- NPRR155, Clarification of Authorized Representative [ERCOT].  Impact Analysis pending.  This NPRR clarifies the need to designate Authorized Representatives for registration for all registered Entities.  NPRR155 was posted on 9/19/08.  Credit review is pending.

- NPRR156, Transparency for PSS and Full Interconnection Studies [PSEG Texas].  Impact Analysis pending.  This NPRR updates Section 1 to provide transparency to status of Power System Stabilizer Equipment and interconnection requests.  NPRR156 was posted on 9/19/08.  Credit review is pending.

- NPRR157, Extending Black Start Service Bid Timeline [ROS].  Impact Analysis pending.  This NPRR changes the Black Start Service bids from a one year period to a two year period.  NPRR157 was posted on 9/23/08.  Credit review is pending.

- NPRR158, EILS Self-Provision Formula Correction and Clarifications [ERCOT].  Impact Analysis pending. This Nodal Protocol Revision Request (NPRR) proposes to correct terms contained in the Settlement equations related to EILS Self-Provision to make the formulas consistent with the verbal description of EILS Self-Provision Settlement and the author’s stated original intent.  This NPRR also makes clarifications in language contained in paragraph (8)(d) of Section 3.14.3 related to Qualified Scheduling Entities’ (QSEs’) EILS Self-Provision options in cases where less than 1,000 MW of EILS has been offered, and adds copies of definitions that are applicable to both equations in this Section.  NPRR158 was posted on 9/23/08.  Credit review is pending.