Advanced Metering Interim Solution Use Cases

| Use Case Number: 01 | Related Business Requirements: BR-001 BR-001.02 BR-001.03 |  | Date: 9/5/2008 | Version: .02 |
| --- | --- | --- | --- | --- |
| High Level Description |  | TDSP can send and ERCOT can receive the ERCOT specified file format using the NAESB protocol. ERCOT can send and TDSP can receive a NAESB acknowledgement confirming receipt by ERCOT. |  |  |
| Requirement |  | BR-001: Ability for TDSPs to send an ERCOT specified LodeStar Enhanced (LSE) file format with settlement quality 15 minute usage data for ERCOT settlement BR-001.02: Ability for the TDSP to send and ERCOT to receive the file using the NAESB protocol. BR-001.03: Ability for the TDSP to receive a NAESB acknowledgement after files have been sent to ERCOT confirming receipt by ERCOT |  |  |
| Pre-Conditions/Trigger |  | TDSP submits a file to ERCOT using the NAESB protocol. |  |  |
| Scenario 1: File received; acknowledgement sent. |  | - ERCOT receives the file from the TDSP. - ERCOT sends a NAESB acknowledgement of receipt. - TDSP receives acknowledgement of receipt. |  |  |
| Scenario 2: File not received; file resent. |  | - ERCOT’s NAESB system is down and no acknowledgement is sent. - TDSP resends file. - ERCOT sends an acknowledgement - TDSP receives the acknowledgement. |  |  |
| Scenario 3: Acknowledgement not sent; file resent. |  | - ERCOT receives file but does not send acknowledgement. - TDSP resends file. - ERCOT receives the second file from the TDSP. - ERCOT sends an acknowledgement - TDSP receives the acknowledgement. |  |  |