| Load Forecast vs Actual |  |  |
| --- | --- | --- |
| A graphical display (see Figure 1) showing: - Forecast from the day ahead. Use data after DRUC is run the previous day. - Current Day Load Forecast. This is the forecast that is updated every 1-4 hours. Also display the value that represents the forecast peak. - Actual Load. Must be no more than 60 seconds old. Display as a number for current load and a line graph for historical. - Online Generation – Actual. This is calculated once an hour. - Online Generation –Planned. This is used for future data. - Last Updated – shows date, hours, minutes, seconds, zone Default view is today. Users may also view data for yesterday and tomorrow. View is 24 hour period.. View is system-wide. No personalization required. Cross reference: This is Portlet #3. Must be updated within 60 seconds. | Figure 1 (Original) | Figure 1A (Revised) |

| Weather |  |
| --- | --- |
| A graphical display (see Figure 2) showing: - The four Resource Zones (formerly CSC zones) Note: Figure 2 does not accurately display the 4 zones. - Cities distributed across the state with forecasted high and low temperatures. Note: Cities shown in Figure 2 may not be the cities ERCOT gets data for. - Last Updated – shows date, hours, minutes, seconds, zone No personalization required. Cross reference: This is Portlet #4. Must be updated every hour. Cannot build this portlet. ERCOT does not have rights to distribute weather information it subscribes to. | Figure 2 (deleted) |

| Day-Ahead and Real-Time LMPs |  |  |
| --- | --- | --- |
| A graphical display (see Figure 3) showing: - Up to four user-selected LMPs. The current value for each LMP displays in number form. - User may select to display line graphs for day-ahead and/or real-time values for any or all of the selected LMPs. - Default view is today, user may also view LMPs for yesterday. - Default view is 4 hours, user may also view 2, 8, 12, 16 and 24 hour scale. - User may also view additional details about a selected LMP, such as, minimum, maximum values. Still researching: what other detailed info, what exact time frame? Personalization is required: Users must be able to select LMPs at a settlement point. Still verifying how they filter for settlement points—i.e. hub, zone, etc. Cross reference: This is Portletl #5. Must be updated every 5 minutes. | Figure 3 (Original) | Figure 3A (Revised) |

| DC Ties |  |  |
| --- | --- | --- |
| A graphical display (see Figure 4) showing - Inbound and outbound DC Tie Flows – Scheduled - Net Flow – Actual - Default view is today, user can select yesterday. - Default view is today, user can select past six hours, if today. Not personalizable Cross reference: This is Portlet #6. Must be updated within 60 seconds. Need to show each DC Tie separately. | Figure 4 (Original) | Figure 4A (Revised) |

| LMP Ticker |  |  |
| --- | --- | --- |
| A graphical display (see Figure 5) showing - Up to 50 user-selected LMPs - Displays LMP name, current day-ahead price, current real-time price - Clicking on an LMP expands the ticker to reveal detail about the LMP. This is the same information as in FR3. Not personalizable Cross reference: This is Portlet #6. Must be updated within 5 minutes. | Figure 5 | Figure 5A (Revised) |

| ERCOT ACE |  |
| --- | --- |
| A graphical display (see Figure 6) showing: - ERCOT ACE - Default display is today, user may select past seven days - Default display is current hour ending, user may select any hour ending for any selected day - Still evaluating whether to display processed ACE Not personalizable Cross reference: This is Portlet #9. Must be updated within 10 seconds. Deleted | Figure 6 (Deleted) |

| Operating and ??? Load Forecast |  |
| --- | --- |
| A graphical display (see Figure 7) showing: - Operating Load Forecast (the one calculated every hour and done for the next seven days - ??? Load Forecast (don’t know whether this is LT or ST) - Actual Load - Default view is today. User may select up to seven days in future - Default view is system wide. User may select 4 resource zones. - Default view is 24 hour scale. User may select current 2-hour scale. Not personalizable Cross reference: This is Portlet #11. Must be updated within 10 seconds. Deleted: Data covered by FR #1 | Figure 7 (deleted) |

| Undeployed Responsive Reserve |  |
| --- | --- |
| A graphical display (see Figure 8) showing: - Undeployed generation resources - Undeployed Load Resources, excluding controllable load resources - Default view is today. User may select up to three days in past - Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #17. Must be updated within 10 seconds. Deleted | Figure 8 (Deleted) |

| Non-Spinning Reserve |  |
| --- | --- |
| A graphical display (see Figure 9) showing: - Non-spinning reserve available from online generation resources with energy curves - Non-spinning reserve available from undeployed load resources - Non-spinning reserve available from off-line generation resources - Non-spinning reserve available from resource with output schedules - Default view is today. User may select up to three days in past - Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #18. Must be updated within 10 seconds. Deleted | Figure 9 (Deleted) |

| Undeployed Reg-Up and Reg-Down |  |
| --- | --- |
| A graphical display (see Figure 10) showing: - Undeployed Reg-Up and undeployed Reg-Down - Default view is today. User may select up to three days in past - Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #19. Must be updated within 10 seconds. Deleted: Covered by System Parameters table. | Figure 10 (Deleted) |

| Capacity for Inc/Dec Base Points in SCED |  |
| --- | --- |
| A graphical display (see Figure 11) showing: - Available capacity with Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED; - Available capacity with Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED; - Available capacity without Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED; and - Available capacity without Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED. - Default view is today. User may select up to three days in past - Default view is 4 hour scale. If previous day is selected, display 24-hour scale. Not personalizable Cross reference: This is Portlet #20. Must be updated within 30 seconds. | see Figure 11 |

| Frequency |  |  |
| --- | --- | --- |
| A graphical display (see Figure 12) showing: - Frequency for last 15 minutes. - Default view is today. User may select yesterday - Default view is last 15 minutes. Users may select any 15-minute interval. Not personalizable Cross reference: This is Portlet #13. Must be updated within 10 seconds, 30 seconds max. | Figure 12 (Original) | Figure 12A (Revised) |

| Adjusted Responsive Reserve and Spinning Reserve |  |
| --- | --- |
| A graphical display (see Figure 13) showing: - Adjusted Responsive Reserve - Spinning Reserve Default view is today. User may select yesterday - Default view is last ??? Not personalizable Cross reference: This is Portlet #13. Must be updated within 30 seconds. New | Figure 13 (new) |